Republic of Latvia

Cabinet

Regulation No. 138

Adopted 12 March 2013

Regulations Regarding Industrial Energy Audit

Issued pursuant to

Section 15, Paragraph three

of the Energy End-use Efficiency Law and Section 7, Paragraph one

of the Law On Conformity Assessment

I. General Provisions

1. This Regulation prescribes:

1.1. the procedures for the performance of an industrial energy audit – a procedure which is carried out in large enterprises of industrial sectors (hereinafter – enterprise) in order to obtain information regarding all energy consumption structures of the enterprise, for which profitable energy saving possibilities are determined in figures, and the results of which are aggregated in a report prepared and issued by an industrial energy auditor (hereinafter – energy auditor) (hereinafter – report);

1.2. the requirements to be put forward for legal persons for the performance of industrial energy audits;

1.3. the essential requirements for the conformity assessment of an energy auditor and the procedures by which the supervision of conformity with such requirements shall be implemented;

1.4. the liability of an energy auditor.

2. This Regulation shall be applicable to enterprises, industrial activities of which according to the statistical classification of economic activities (NACE Rev. 2) include:

2.1. mining and quarrying (NACE Rev. 2, type of activity B);

2.2. manufacturing (NACE Rev. 2, type of activity C);

2.3. electricity, gas, steam and air conditioning supply (NACE Rev. 2, type of activity D);

2.4. water supply; sewerage; waste management and remediation activities (NACE Rev. 2, type of activity E);

2.5. construction (NACE Rev. 2, type of activity F).

3. A merchant shall authorise a representative of an enterprise who is well acquainted with the technological processes of the enterprise, to participate in performance of an industrial energy audit together with an energy auditor.

4. An energy auditor has a duty to involve a specialist of the relevant sector in the performance of an industrial energy audit.

II. Requirements for an Energy Auditor

5. An energy auditor is a legal person which ensures the fulfilment of the following requirements:

5.1. creates, introduces and documents a quality management system on the basis of the standard LVS EN ISO 9001:2009 “Quality management systems – Requirements”. A quality management system shall include the performance of an industrial energy audit;

5.2. controls whether any of its staff is not the designer, manufacturer, supplier or installer of the enterprise to be audited or its individual equipment, as well as does not represent an organisation which carries out any of the referred-to activities;

5.3. has a staff having technical competence at the disposal thereof and a relevant equipment for the performance of technical and administrative tasks, which are related to the preparation of industrial energy audits and a report. The competence of the staff shall be determined by the readiness and ability to carry out professional duties with methodological accuracy and to solve problems on the basis of technical knowledge and skills acquired, as well as the ability to perform an independent assessment of the result;

5.4. employees of the energy auditor who perform an industrial energy audit:

5.4.1. have acquired a master’s degree or a professional master’s degree in any field of engineering (energy, thermal energy, thermal technology, environmental sciences);

5.4.2. have a good knowledge of the energy audit procedures;

5.4.3. have a good knowledge of the technological processes of such enterprise in which an energy audit is performed;

5.4.4. know how to create technical notes containing information regarding the progress of the audit and the conclusions drawn during the audit (hereinafter – technical notes);

5.4.5. perform an energy audit of the buildings owned or used by the relevant enterprise and conform to the requirements laid down in the laws and regulations regarding certified energy auditors;

5.4.6. ensure the civil and professional liability insurance thereof in relation to activities which they are authorised to perform;

5.4.7. observe confidentiality in relation to information obtained in performing energy audits, except information to be provided to State supervision and control authorities, which in accordance with laws and regulations perform monitoring of energy efficiency.

III. Industrial Energy Audit and Report

6. A merchant shall enter into a contract with an industrial energy auditor regarding performance of an energy audit in accordance with the requirements referred to in this Chapter.

7. The energy balance of the enterprise shall be the basis for the industrial energy audit.

8. Absolute units of energy – megawatt hours (MWh) or kilowatt hours (kWh) shall be used in the industrial energy audit.

9. The following energy sources and volumes of energy obtained therefrom shall be indicated in the industrial energy audit:

9.1. electricity purchased from another supplier;

9.2. thermal energy purchased from a district heating system;

9.3. thermal energy purchased from another supplier;

9.4. energy produced at the enterprise (the volume of energy produced from each type of fuel shall indicated individually, separating thermal energy and electricity).

10. The following energy consumers and energy volumes shall be indicated in the industrial energy audit:

10.1. the energy consumed for heating buildings owned or used by the enterprise;

10.2. the energy consumed for the preparation of hot water necessary for household needs;

10.3. the energy consumed for lighting;

10.4. the energy consumed for operation of ventilation systems;

10.5. the energy consumed for cooling premises;

10.6. the following consumed in industrial processes:

10.6.1. electricity;

10.6.2. thermal energy;

10.7. other energy consumers.

11. The division of energy consumed in an industrial activity shall be determined upon the merchant reaching an agreement with the industrial energy auditor. Preference shall be given to the division of energy consumption according to the types of products produced.

12. Energy consumption for heating of buildings, preparation of hot water, lighting, ventilation systems and air conditioning of premises shall be indicated in both absolute units of measurements and as the specific energy consumption attributed to the area or volume of industrial buildings.

13. The energy consumed in industrial activities shall be indicated in both absolute units of measurement and as the specific energy consumption attributed to the unit of measurement of the quantity, volume, mass of the products produced or other units of measurement.

14. The total energy indicated in the section of energy sources in the energy balance of an industrial energy audit must coincide with the total energy consumption indicated in the section of energy consumption.

15. At least such systems (for example, enclosing structures, lighting, hot water system) and installations (for example, ventilation installations, compressors, pumps, installations of industrial processes), in which the performance of energy efficiency measures is intended, shall be described in detail in the characterisation of the current situation. The existing indicators or units of measurement shall be indicated in the description of individual systems and installations according to the indicators or units of measurement referred to in Paragraphs 12 and 13 of this Regulation.

16. Reduction in energy consumption, achieved by implementing the energy efficiency measures identified in the industrial energy audit, shall be indicated both in absolute units of measurement and as the specific reduction of energy consumption.

17. The indicator or unit to be achieved as a result of implementing an energy efficiency measure (for example, thermal transmittance coefficients of enclosing structures, capacity of new light objects, capacity of new technological installations, efficiency factors) shall be indicated in the description of energy efficiency measures.

18. A report on the industrial energy audit shall include:

18.1. a list of the group of persons who performed the industrial energy audit;

18.2. compiled initial data (description of the current situation, energy balance, energy flow charts, description of technological processes, annual energy consumption, annual energy costs);

18.3. the results of initial data analysis on the basis of the determination of the specific energy consumption of an enterprise;

18.4. the results of a cost-benefit analysis (economic assessment of energy efficiency improvement measures and justification of priority measures);

18.5. information regarding production stages with energy savings to be achieved in the simplest way;

18.6. low-cost energy efficiency improvement measures.

IV. Accreditation of an Energy Auditor

19. The Latvian National Accreditation Bureau of the limited liability company “Standardisation, Accreditation and Metrology Centre” (hereinafter – Bureau) shall enter into a contract with the applicant on the basis of an application of the applicant for accreditation thereof (hereinafter – application). The assessment procedures, as well as the time period for examination of the application and the duties of the parties shall be determined in the contract.

20. The following shall be indicated in the application:

20.1. the name of the enterprise, the registration number in the Commercial Register, the legal and actual address;

20.2. the responsible contact person (given name, surname, telephone number and electronic mail address).

21. The following shall be appended to the application:

21.1. copies of such education documents, which certify that the employee of the applicant who performs the industrial energy audit has a master’s degree or a professional master’s degree in any field of engineering (energy, thermal energy, thermal technology, environmental sciences);

21.2. copies of such certificates, which in accordance with the laws and regulations regarding certified energy auditors have been issued to employees of the applicant who perform an energy audit of the buildings owned or used by the enterprise;

21.3. a copy of the documentation of the quality management system;

21.4. a copy of the professional liability insurance and civil liability insurance policy. The performance of an industrial energy audit shall be included in the insurance policy.

22. Applicants shall be assessed and accredited in accordance with the requirements referred to in Paragraph 5 of this Regulation in conformity with the following order of accreditation:

22.1. an applicant shall submit the information necessary for assessment, which has been requested by the accreditation office;

22.2. the Office:

22.2.1. shall appoint competent experts;

22.2.2. shall analyse the submitted education and qualification documents of employees;

22.2.3. after assessment visit shall issue an assessment report to the applicant;

22.3. if the deficiencies identified have been indicated in the assessment report, the applicant shall eliminate them within the time period referred to in the report.

23. On the basis of the assessment results, the Office shall take one of the following decisions:

23.1. to grant accreditation, if the applicant has met the requirements referred to in Paragraph 5 of this Regulation. Initially accreditation shall be granted for four years, the term of accreditation after a repeated accreditation procedure shall be five years;

23.2. not to grant accreditation, if the applicant has met the requirements referred to in Paragraph 5 of this Regulation;

23.3. to retain accreditation, if the accredited energy auditor has met the requirements referred to in Paragraph 5 of this Regulation;

23.4. to suspend accreditation for a time period up to six months, if the deficiencies established by an energy auditor during the conformity assessment are not so substantial as would require revocation of accreditation;

23.5. to revoke accreditation if the accredited energy auditor has not met the requirements referred to in Paragraph 5 of this Regulation or has not eliminated the deficiencies identified during assessment within the time period laid down in the report referred to in Sub-paragraph 22.3 of this Regulation.

24. A decision to revoke or suspend accreditation shall be taken also if a relevant application of an energy auditor has been received.

25. The office shall take a decision to revoke or suspend accreditation also if an energy auditor does not fulfil the conditions of the contract referred to in Paragraph 19 of this Regulation.

26. Within a month after taking of the decision referred to in Sub-paragraph 23.1 of this Regulation the Office shall draw up an accreditation certificate of the energy auditor.

27. The Office:

27.1. shall draw up a plan of assessment visits of an energy auditor for re-assessment and other activities related to assessment, which are necessary in order to permanently supervise how the accredited energy auditors met the accreditation requirements;

27.2. shall determine the time intervals between assessment visits, and they shall not exceed one year;

27.3. shall plan supervisory assessment visits, taking into account other supervisory activities;

27.4. may perform an extraordinary assessment, if complaints regarding activities of an energy auditor or information regarding changes in his or her activities have been received, as well as taking into account other supervisory activities;

27.5. shall store assessment reports of an energy auditor and ensure their confidentiality;

27.6. shall create and maintain a list of accredited energy auditors. The list of energy auditors shall include the following information:

27.6.1. the accreditation number of the energy auditor;

27.6.2. the name, legal address and address of the actual place of activity of the energy auditor;

27.6.3. the term of validity of the accreditation certificate;

27.6.4. in the cases referred to in Sub-paragraph 23.4 of this Regulation – the term of suspension of accreditation;

27.7. shall update the information regarding energy auditors included in the list of energy auditors. The list shall be accessible on the website of the Office.

28. The Office shall, once in six months, inform the Ministry of Economics in writing regarding the energy auditors accredited in the relevant reporting month.

V. Responsibility of an Energy Auditor

29. An energy auditor shall be liable for the following:

29.1. the quality control of the data used for an energy audit;

29.2. the performance of an energy audit in accordance with the requirements referred to in Chapter III of this Regulation;

29.3. drawing up of technical notes and a report and their storage for 10 years after preparation of the relevant documents;

29.4. the accuracy of the energy balance of the enterprise included in the report and the determination and assessment of economically justified possibilities of energy savings.

30. Each year by 1 March an energy auditor shall submit a report to the Ministry of Economics on the industrial energy audits performed during the previous calendar year. The report shall include information regarding:

30.1. the number of industrial energy audits performed;

30.2. fields of industrial activities according to the statistical classification of economic activities (NACE Rev. 2), in enterprises of which an industrial energy audit has been performed;

30.3. the identified priority energy efficiency measures;

30.4. the assessed potential of energy savings.

31. Disputes between a merchant and an energy auditor regarding the content, quality or results of an industrial energy audit shall be settled according to general civil procedure.

VI. Closing Provision

32. Chapter IV of this Regulation shall come into force on 1 August 2013.

Prime Minister							V. Dombrovskis

Minister for Economics						D. Pavļuts