Text consolidated by Valsts valodas centrs (State Language Centre) with amending regulations of:

20 April 2004 [shall come into force from 1 May 2004];

17 February 2009 [shall come into force from 21 February 2009];

16 March 2010 [shall come into force from 20 March 2010];

27 September 2011 [shall come into force from 1 October 2012].

If a whole or part of a paragraph has been amended, the date of the amending regulation appears in square brackets at the end of the paragraph. If a whole paragraph or sub-paragraph has been deleted, the date of the deletion appears in square brackets beside the deleted paragraph or sub-paragraph.

Republic of Latvia

Cabinet

Regulation No. 181

Adopted 30 April 2001

# Procedures for the Conformity Assessment of Construction Products in the Regulated Sphere

Issued pursuant to

Section 7 of the Law On Conformity Assessment

and Section 25, Paragraph two

of the Construction Law

## I. General Provisions

1. This Regulation prescribes the requirements for construction products in order to ensure the harmlessness and safety thereof to human life, health, property and the environment (hereinafter – essential safety requirements), the procedures for the conformity assessment of construction products and the procedures for market surveillance in the regulated sphere in order to protect the market of Latvia from unsafe construction products and to ensure the free movement of construction products between the Republic of Latvia and the Member States of the European Community.

[20 April 2004; 17 February 2009]

1.1 This Regulation shall apply to the construction products, which are intended to be installed in a stationary manner in structures, their parts or structural elements (hereinafter – structure), the conformity of which shall be determined in accordance with the list of technical regulations referred to in Paragraph 4 of this Regulation.

[27 September 2011]

2. Construction products may be offered on the market of the Republic of Latvia – sold, presented or put into service with or without compensation and installed into structures in a stationary manner – if they are fit for their intended purpose of use (installation) and, installed in a stationary manner, assembled and used in designed and built structures in accordance with the requirements specified in the regulatory enactments of construction, shall ensure the conformity of these structures to the requirements referred to in Section 3, Paragraph three of the Construction Law and Cabinet Regulation No. 142 of 27 March 2001, Regulations regarding the Construction Standard of Latvia LBN 006-00 “Essential Requirements for Structures”.

[20 April 2004]

3. Construction products conforming to the technical regulations referred to in Paragraph 4 of this Regulation shall be considered compliant with the requirements of this Regulation.

4. Technical regulations regulating construction products shall be as follows:

4.1. the Latvian national standards, the list of which shall be prepared by the Ministry of Economics co-ordinating the standards to be included in the list with the ministry responsible for the relevant field. The list shall be published on the Internet home page (www.lvs.lv) of the Standardisation Bureau of the limited liability company “Standardisation, Accreditation and Metrology Centre” and in the newspaper Latvijas Vēstnesis [the official Gazette of the Government of Latvia] not less than once per year;

4.2. the standards of the European Committee for Standardization (CEN) and the European Committee for Electrotechnical Standardization (CENELEC) adapted in the status of the Latvian national standard (including those sections of the standards, which apply to legal acts of the European Union in the field of construction products (informative Annexes ZA)), to which references have been published in the Official Journal of the European Union and the national adaptation list with a reference to the standards published in the Official Journal of the European Union are prepared by the Ministry of Economics. The list shall be published on the Internet home page (www.lvs.lv) of the Standardisation Bureau of the limited liability company “Standardisation, Accreditation and Metrology Centre”;

4.3. the European technical attestation, the guidelines of which and the date for the commencement of application of the guidelines shall be published by the Ministry of Economics in the newspaper Latvijas Vēstnesis;

4.4. the standards published in the Official Journal of the European Union, which the Commission of the European Union has announced as adaptable for the conformity determination of construction products which the European Union Member States have sent to the Commission of the European Union as the national standards of these countries and the list of which has been published by the Ministry of Economics in the newspaper Latvijas Vēstnesis.

[27 September 2011]

4.1 The Ministry of Economics shall incorporate the dates for the commencement of application of the standards and the date for the end of the transition period for the implementation of the standards indicated in the references of the Official Journal of the European Union into the list of the standards referred to in Sub-paragraph 4.2 of this Regulation, and the dates for the commencement of application of the standards and the date for the end of the period for the implementation of the standards into the list of the standards referred to in Sub-paragraphs 4.1 and 4.4 of this Regulation.

[27 September 2011]

4.2 The technical regulations referred to in Sub-paragraph 4.4 of this Regulation may be applied if the relevant construction product does not have the technical regulations referred to in Sub-paragraphs 4.1, 4.2 and 4.3 of this Regulation.

[27 September 2011]

5. The Ministry of Economics, in co-operation with the relevant technical committees, shall organise the development of the Latvian National standards necessary for the fulfilling of this Regulation and the adaptation of the standards of international standardisation organisations, and shall issue recommendations for conformity assessment bodies accredited and published in the newspaper Latvijas Vēstnesis (hereinafter – approved bodies).

[20 April 2004]

5.1 The body authorised by the Ministry of Economics shall issue technical attestations in accordance with the procedures specified in regulatory enactments regarding the European technical attestation.

[17 February 2009]

6. It shall be permitted to place construction products on the market in Latvia if they have the conformity attestation documents specified in Paragraph 17 of this Regulation and labelling in accordance with Chapter VII of this Regulation. The persons at fault for placing construction products on the market in Latvia without the documents attesting to their conformity shall be held liable in accordance with the procedures prescribed by law.

[27 September 2011]

7. A manufacturer or the authorised representative thereof shall be responsible for the conformity attestation of construction products and the compliance with this Regulation before the product is placed on the market of Latvia, but the importer shall be responsible for imported construction products. The distributor of the construction products shall be responsible for offering the relevant construction products on the market of Latvia.

[27 September 2011]

7.1 The following are valid in Latvia:

7.1 1. the conformity attestations and conformity assessments of construction products issued by approved (notified) bodies in the European Union, which are issued in accordance with the technical regulations or with the analogous national adaptations thereof, except national annexes to these national adaptations, including those on the basis of which a manufacturer or an authorised representative thereof may mark the construction products thereof with CE conformity marking (hereinafter – CE marking) in accordance with Paragraph 34.1 of this Regulation; and

7.1 2. the conformity attestations of construction products issued by manufacturers or the authorised representatives thereof, on the basis of which a manufacturer or an authorised representative thereof marks the construction products thereof with CE marking. Declarations of conformity of manufacturers shall be in Latvian. Certificates of conformity of construction products shall be in Latvian, if it is specified by the technical regulations.

[20 April 2004; 17 February 2009; 27 September 2011]

II. Essential Safety Requirements

8. The technical regulations that apply to a specific construction product shall determine the essential safety requirements of the construction product and the conformity thereof to the intended use, as well as the procedures for conformity assessment.

9. All or some of the essential safety requirements, or none of them, shall be determined in technical regulations, depending on the intended use of the construction product. The attestation of the conformity of the construction product to the intended use is not necessary if none of the essential safety requirements have been specified.

10. The differentiated levels of essential safety requirements may be determined in the technical regulations of construction products, taking into account the exploitation and climatic conditions and the national construction traditions.

III. Conformity Assessment

11. Conformity of construction products with the technical regulations shall be assessed in accordance with the conformity assessment procedures specified in the technical regulations.

[16 March 2010]

12. The choice of the methods of conformity assessment or the choice of their combinations and the procedures of the attestation of conformity shall be dependent on the essential safety requirements specified for each construction product or family of construction products.

13. Conformity assessment methods and procedures for the relevant construction product or family of construction products, taking into account Chapter IV of this Regulation, shall be specified in the technical specifications, depending upon:

13.1. the importance of the product in relation to the essential safety requirements of the structure and the possible danger to human health and the environment;

13.2. the technical characteristics of the construction product;

13.3. the possible effect of the variability of the construction product’s characteristics on its operating characteristics; and

13.4. the stability of the characteristics of the construction product in the manufacturing process.

14. The least complicated of the possible methods of conformity assessment and procedures of attestation of conformity shall be chosen for each construction product.

15. The following methods of conformity assessment may be provided for in technical regulations:

15.1. initial testing of the type of construction product performed by the manufacturer or an notified body to determine the conformity of the type to its essential safety requirements;

15.2. testing of samples of a construction product selected at the factory in accordance with a specified test plan performed by a manufacturer or an notified body;

15.3. audit-testing of samples of a construction product selected at the factory, at the sales points or at a construction site performed by the manufacturer or an notified body;

15.4. testing of samples from a batch of construction products prepared for delivery or which have been delivered to a customer, performed by the manufacturer or an notified body;

15.5. factory production control;

15.6. initial inspection and certification of a factory and a factory production control system performed by an notified body; and

15.7. continuous surveillance and assessment of the manufacturing process performed by an notified body.

[20 April 2004]

16. Factory production control is the permanent internal control performed by the manufacturer. All components, requirements and provisions of control shall be documented by the manufacturer in accordance with the requirements of technical regulations in the form of descriptions of operation policy and processes. Documentation of the referred to control shall confirm the possibility of obtaining a safe construction product during the manufacturing process that complies with all of the technical requirements, as well as the possibility to effectively control and survey the manufacturing process.

IV. Attestation of Conformity

17. Conformity of a construction product to the requirements of technical specifications shall be certified in one of the following ways:

17.1. with a certificate of conformity and declaration of conformity in the cases specified in Sub-paragraphs 18.2 and 18.3 of this Regulation; or

17.2. with a declaration of conformity in the cases specified in Paragraphs 22.1 (system 3) and 22.2 (system 4) of this Regulation, which differs with the duties of the notified body of conformity assessment in the conformity assessment process.

[20 April 2004; 17 February 2009; 16 March 2010; 27 September 2011]

17.1. A declaration of conformity shall be drawn up in accordance with that which is specified in Paragraph 25 of this Regulation. If it is not otherwise specified in the technical regulations, the declaration of conformity shall be drawn up in accordance with Paragraph 26 of this Regulation.

[20 April 2004]

18. The declaration of conformity shall be issued if the following conditions are met:

18.1. the manufacturer fulfils its duties in accordance with Paragraph 21, 22, 22.1 or 22.2 of this Regulation (all systems in accordance with Annex 3 to this Regulation);

18.2. the certification body has certified certain construction products, regarding which there are indications in the technical regulations, in accordance with Sub-paragraph 21 of this Regulation (system 1 and 1+);

18.3. the certification body has certified such factory production control system of certain construction products, regarding which there are indications in the technical regulations, in accordance with Paragraph 22 of this Regulation (system 2 and 2+); and

18.4. one or several notified bodies have performed initial type-testing of such certain construction products, regarding which there are indications in the technical regulations, in accordance with Paragraph 22.1 of this Regulation (system 3).

[17 February 2009; 16 March 2010]

19. The conformity of a construction product to the requirements of technical regulations shall be certified by:

19.1. the manufacturer or an authorised representative thereof by a declaration in accordance with the standard LVS EN ISO/IEC 17050-1:2005 Conformity assessment – Supplier’s declaration of conformity – Part 1: General requirements;

19.2. the notified certification body in the cases referred to in Sub-paragraph 18.2 of this Regulation – by the certificate of conformity of the construction products; and

19.3. the notified certification body in the cases referred to in Sub-paragraph 18.3 of this Regulation – by the certificate of conformity of the factory production control system.

[17 February 2009]

20. If it is not otherwise provided for in the harmonised standards of the European Committee for Standardization (CEN) adopted in Latvia, preference shall be given to conformity attestation procedures referred to in Paragraphs 21 and 22 of this Regulation.

21. In the cases specified in Sub-paragraph 19.2 of this Regulation, construction products shall be certified by a notified certification body, if the manufacturer has fulfilled the duties referred to in Sub-paragraph 21.1 of this Regulation and the certification body has fulfilled the duties referred to in Sub-paragraph 21.2 of this Regulation (system 1 and 1+). The parties involved in the certification procedure shall have the following duties:

21.1. duties of the manufacturer:

21.1.1. factory production control; and

21.1.2. selection of samples at the factory and the testing thereof in accordance with a programme mutually agreed by the manufacturer and an notified body; and

21.2. duties of a notified body:

21.2.1. initial type-testing of the construction product;

21.2.2. initial inspection of the factory and the factory production control system;

21.2.3. continuous surveillance, assessment and approval of the factory production control system; and

21.2.4. control-testing (where appropriate) of samples taken at the factory, at the sales points or at the construction site.

[17 February 2009]

22. In the cases specified in Sub-paragraph 18.3 of this Regulation, the factory production control of construction products shall be certified by a notified certification body, if the manufacturer has fulfilled the duties referred to in Sub-paragraph 22.1 of this Regulation and the certification body has fulfilled the duties referred to in Sub-paragraph 22.2 of this Regulation (system 2 and 2+). The parties involved in the certification procedure shall have the following duties:

22.1. duties of the manufacturer:

22.1.1. initial type-testing of the construction product;

22.1.2. factory production control; and

22.1.3. selection of samples at the factory and testing thereof in accordance with a programme mutually agreed by the manufacturer and the notified body (where appropriate);

22.2. initial type-testing of the construction product:

22.2.1. initial inspection of the factory and of the factory production control system; and

22.2.2. continuous surveillance, assessment and approval of the factory production control system (where appropriate).

[30 April 2004; 17 February 2009]

22.1 In the cases specified in Sub-paragraph 18.4 of this Regulation, the notified body shall issue the report on initial type-testing (or verification with calculation) of construction products, if it has fulfilled the duties referred to in Sub-paragraph 22.12 of this Regulation (system 3). The parties involved in the conformity attestation procedure shall have the following duties:

22.1 1. duty of the manufacturer – factory production control; and

22.1 2. duty of the notified body – initial type-testing of the construction product.

[17 February 2009]

22.2 In other cases (except the cases referred to in Sub-paragraphs 18.2, 18.3 and 18.4 of this Regulation) the conformity of a construction product may be attested without the involvement of the notified bodies (system 4). The manufacturer shall have the following duties:

22.2 1. initial type-testing of the construction product; and

22.2 2. factory production control.

[17 February 2009]

22.3 If the procedures for the attestation of conformity have not been specified in the technical regulations:

22.3 1. for the construction products, to which the requirements of resistance, stability and fire safety are specified in regulatory enactments regulating the construction, the conformity attestation shall not be below system 3 in accordance with Paragraph 22.1 of this Regulation; and

22.3 2. for the construction products, to which the requirements of resistance, stability and fire safety are not specified in regulatory enactments regulating the construction, the conformity shall be attested with the declaration of conformity (system 4) in accordance with Paragraph 22.2 of this Regulation.

[20 April 2004; 17 February 2009]

22.4 If the technical regulations allow the possibility to select the conformity attestation procedure, the conditions included in regulatory enactments and the technical regulations regulating the construction shall be taken into account when selecting the conformity assessment system. If the requirements of resistance, stability or fire safety are put forward, the conformity attestation shall not be below system 3 in accordance with Paragraph 22.1 of this Regulation.

[17 February 2009]

22.5 If a manufacturer or the authorised representative thereof has not applied or has only partly applied the technical regulations in effect which determine that the conformity attestation is to be performed in accordance with Paragraph 22.1 (system 3) or Paragraph 22.2 (system 4) of this Regulation, the conformity assessment system shall not be below that referred to in Paragraph 22.1 (system 3) of this Regulation.

[27 September 2011]

23. In order to certify the conformity of construction products if they have been individually prepared by order or in a non-industrial manufacturing process by special order and have been incorporated into one identified construction, a declaration of conformity shall be sufficient in accordance with the requirements of Paragraphs 25 and 22.1 (system 3) of this Regulation unless otherwise provided for in the technical regulations in respect of risks to human life, health and safety or the environment.

[27 September 2011]

24. A manufacturer shall keep the documents, on the basis of which the conformity certificate of the construction product has been issued, and the declaration of conformity so that it would be accessible to market surveillance bodies and approved bodies at least 10 years after termination of the manufacture of the relevant construction product. If the manufacturer of a construction product is not a person registered in accordance with the procedures specified in the European Union, the authorised representative of the manufacturer registered in accordance with the procedures specified in the European Union or the importer of the construction product shall be responsible for storing the relevant documentation.

[27 September 2011]

25. The manufacturer or the authorised representative thereof shall draw up a manufacturer’s declaration of conformity (also if the notified body has issued a certificate of conformity) for every manufactured batch of construction products. The manufacturer, the authorised representative thereof, importer and distributor shall append a copy of the declaration to every batch of the supply offered on the market of Latvia. The declaration of conformity shall be drawn up in accordance with the declaration of conformity form indicated in the technical regulations. If the content and form of the declaration of conformity has not been specified in the technical regulations, the declaration of conformity shall be drawn up in accordance with the standard LVS EN ISO/IEC 17050-1:2005 Conformity assessment – Supplier’s declaration of conformity – Part 1: General requirements. The following shall be specifically indicated in the declaration of conformity:

25.1. the name and address of the manufacturer or the authorised representative thereof registered in the European Union;

25.2. a description of the construction product (for example, type, class, category, grade);

25.3. the technical regulations and other regulatory enactments to which the construction product complies;

25.4. the special conditions for the use of the construction products;

25.5. the name and address of the notified body, if the notified body has participated in the conformity assessment of the construction product;

25.6. the given name, surname and position of the person who has been granted the authorisation to sign the declaration on behalf of the issuer or the authorised representative thereof.

[27 September 2011]

V. Certificate of Conformity

26. If the form and content of the certificate of conformity is not specified in the technical regulations, then the certificate of conformity shall be drawn up in accordance with Standard LVS EN 45011 General Requirements for Product Certification Bodies. The following information shall be included in the certificate of conformity:

26.1. the name and address of the certification body;

26.2. the name and address of the manufacturer or a representative thereof registered in the European Community;

26.3. a description of the construction product (for example, type, class, grade, use);

26.4. the special conditions for use of the construction product;

26.5. the technical regulations and other regulatory enactments with which the construction product complies;

26.6. indication that the certificate of conformity has been issued in the regulated sphere;

26.7. the certificate number;

26.8. the period of validity of the certificate and other conditions (if any); and

26.9. the surname and position of the responsible person who is entitled to sign the certificate.

[20 April 2004]

27. A certificate of conformity shall be filled out in the official language and in the language of the country to which the construction product is being exported.

VI. Conformity Assessment Bodies

28. The certificates of conformity for construction products shall be issued by the approved certification bodies. The referred to bodies shall ensure public access to the list of the issued certificates of conformity of the regulated sphere, indicating the certified construction product, natural person or legal person that has received the certificate, as well as the date of issue of the certificate, the registration (identification) number and term of validity.

[20 April 2004]

29. [20 April 2004]

30. Depending on the function to be performed, the following are notified bodies:

30.1. the certification body – an independent State or private competent body which is authorised to perform certification in accordance with the relevant management and procedural regulations;

30.2. the inspection body – an independent competent body having the relevant organisational structure, integrity and personnel, which, pursuant to the specified criteria, shall perform the following functions: assessment, provision of recommendations and auditing of a manufacturer’s quality control systems, selection of construction products and assessment in factories or elsewhere; and

30.3. the testing laboratory – a laboratory that measures, tests, calibrates or otherwise determines the technical parameters and characteristics of construction products.

31. The functions of a notified body in conformity assessment procedures connected with certification (Paragraph 21 of this Regulation) and the first possibility of the drawing up of the manufacturer’s declaration (Sub-paragraph 22.1 of this Regulation), may be performed by one and the same notified body or by various notified bodies. If conformity is assessed by various bodies, the inspection body and (or) the testing laboratory involved in the assessment of conformity shall carry out the relevant functions on behalf of the certification body.

32. The following minimum requirements have been determined for notified bodies:

32.1. availability of personnel and of the necessary equipment and means;

32.2. competence and honesty of personnel and experts involved in conformity assessment procedures (in carrying out tests, preparing reports, issuing certificates and performing surveillance);

32.3. independence of a body’s personnel and the experts involved in the conformity assessment process from natural persons and legal persons directly or indirectly connected with the production or distribution of construction products;

32.4. safe-keeping of the confidentiality of commercial information obtained during professional activities; and

32.5. a civil liability insurance contract has been entered into.

33. The State agency “Latvijas Nacionālais akreditācijas birojs” [Latvian National Accreditation Bureau] (hereinafter – LATAK) shall:

33.1. evaluate the competence of notified bodies and systematically examine the implementation of the requirements referred to in Paragraph 32 of this Regulation; and

33.2. inform the Ministry of Economics within five working days regarding those notified bodies whose competence has been terminated.

[20 April 2004]

33.1 The notified bodies shall:

33.1 1. enter into an agreement with the Ministry of Economics for the performance of functions in accordance with their competence;

33.1 2. submit a report to the Ministry of Economics each year not later than by 1 May regarding the fulfilment of the agreement in the previous year;

33.1 3. publish information regarding issued attestations of conformity at least once in a quarter;

33.1 4. participate in the group work of the notified bodies of the construction directive drawn up by the European Commission and exchange information regarding the application practice of the regulatory enactments of construction with the notified bodies of the Member States of the European Union;

33.1 5. immediately notify in writing the Ministry of Economics and the market supervision bodies regarding unsafe construction products, if any are detected during the conformity assessment process; and

33.1 6. participate in the production of standards.

[20 April 2004]

VII. The Marking of Construction Products

34. When placing a construction product on the market, the conformity assessment of which has been performed in accordance with the technical regulations referred to in Sub-paragraph 4.2, 4.3 or 4.4 of this Regulation, it shall be marked with a CE marking. The manufacturer or the authorised representative thereof shall mark the construction product with the CE marking in accordance with the sample specified in Annex 2 to this Regulation, supplementing it with the information referred to in Paragraph 36 of this Regulation.

[27 September 2011]

34.1 If the conformity assessment procedure specified in the technical regulations provides for involvement of a notified body, the identification number of the notified body shall be indicated next to the CE marking.

[27 September 2011]

34.2 If other regulatory enactments of the Republic of Latvia which prescribe marking with the CE marking also apply at the same time to a construction product, then, when marking the relevant construction product with the CE marking, it shall be ensured that it also corresponds to the requirements set forth in the relevant regulatory enactments.

[20 April 2004]

35. The CE marking shall be affixed to a construction product, the label or packaging thereof or to trade accompanying documents (within the meaning of this Regulation the certificates of conformity of a construction product shall not be deemed trade accompanying documents) in a clearly visible, legible and indelible way.

[27 September 2011]

36. The CE marking shall be accompanied by the name or identification (trade) mark of the producer of the construction product and with the following information:

36.1. the last two digits of the year of manufacture;

36.2. the conformity certificate number (if any), and the identification symbol of the inspection body involved;

36.3. indications to the technical regulations, according to which the conformity of the construction product has been assessed; and

36.4. indications to identify the characteristics of the construction product in accordance with the requirements of the technical regulations.

37. It is prohibited to mark a construction product or the packing thereof with marks resembling the CE marking which might deceive a consumer regarding the conformity of the construction product to this Regulation. A construction product or the packaging thereof may also be marked with other marks, if they cannot be visually confused with the CE marking and do not diminish the importance of the CE marking.

38. The validity of the CE marking is controlled by the market supervisory bodies.

39. If it is ascertained that a construction product, which does not comply with the requirements of this Regulation, has been marked with the CE marking, the market supervisory bodies shall, in accordance with their competence, ensure:

39.1. the termination of usage of the CE marking for a construction product that does not comply with the requirements of this Regulation; and

39.2. the withdrawal of unsold construction products from circulation.

40. Usage of the CE marking may be restored after the respective construction product has been improved and the conformity thereof to the requirements of this Regulation has been certified.

41. The manufacturer or authorised representative thereof shall be responsible for affixing the CE marking to a construction product or to the packing thereof and for the reference to the certificate of conformity in the accompanying documents of the construction product.

VIII. Market Supervision

42. Supervision of construction products offered in the market shall be carried out by the market supervisory body – the Consumer Rights Protection Centre – in accordance with the procedures set out in the Law On the Safety of Goods and Services and this Regulation. The market supervisory body has the following rights:

42.1. to visit the manufacturing, storage and sales points of the construction products, as well as construction sites together with building inspectors;

42.2. to request the technical documentation referred to in Paragraph 24 of this Regulation from the manufacturer, the authorised representative thereof or importer of the construction product;

42.3. to take samples of construction products and organise an expert-examination thereof in order to assess the conformity of the relevant construction products with the requirements of this Regulation;

42.4. to request the certifying documents from the manufacturer, the authorised representative thereof, the importer or the distributor of the construction product.

[27 September 2011]

43. Market supervisory bodies have the right to require and receive from other notified bodies the information related to the conformity assessment of construction products. These bodies shall ensure the confidentiality of the referred to information.

44. If a market supervisory body detects that a construction product, the conformity of which with the requirements of this Regulation has been declared, does not comply with the requirements of this Regulation, and poses a risk to the health and safety of consumers or endangers the environment or property, it shall perform the measures provided for in regulatory enactments in order to withdraw the respective construction product from circulation and prevent its being placing on the market of Latvia.

45. If market supervision bodies have not had access to the documentation referred to in Paragraph 24 of this Regulation or the relevant conformity declaration of the construction product placed on the market of Latvia, it shall be deemed that conformity assessment of the construction product has not been performed.

[27 September 2011]

46. If a market supervisory body has ascertained the facts referred to in Paragraphs 44 and 45 of this Regulation, it shall duly inform the Ministry of Economics, provide information regarding the measures performed and the justification of its decision, as well as specially indicate, if one of the following non-conformities has been ascertained:

46.1. non-conformity of the construction to the essential safety requirements as specified in Paragraph 2 of this Regulation;

46.2. non-conformity of the construction product to the requirements of the technical regulations; or

46.3. deficiencies or inconsistencies in the technical regulations.

[30 April 2004]

46.1 Building inspectors shall perform the supervision of construction products used in the construction process. Building inspectors have the following rights and duties:

46.1 1. to enter a construction site and check the conformity of construction products with the requirements specified in Paragraph 2 of this Regulation and in the technical regulations, to receive the accompanying documents of the construction products and, where appropriate, to organise an inspection of the construction products;

46.1 2. to check the conformity of the construction products to be offered on the market at the sales points of construction products with the requirements specified in Paragraph 2 of this Regulation and in the technical regulations together with officials of the Consumer Rights Protection Centre;

46.1 3. to stop construction work if it is established that such construction products of the regulated sphere are being used, for which the conformity assessment specified in the technical regulations has not been performed, which must be certified with a certificate of conformity and a declaration of conformity in accordance with Sub-paragraph 17.1 of this Regulation or with the declaration of conformity in accordance with Sub-paragraph 17.2 of this Regulation;

46.1 4. together with officials from the Consumer Rights Protection Centre to enter the manufacturing unit of the construction products, check the documentation related to the conformity assessment of the construction products and organise tests of samples of the construction products and an audit of the manufacturing control system of the manufacturing unit if the non-conformity of the construction products manufactured at the relevant factory has been established during market supervision;

46.1 5. to inform the Consumer Rights Protection Centre regarding the non-conformity established, providing information in writing or electronically regarding the non-conformity of the construction products, as well as other information at the disposal thereof regarding the supplier and manufacturer of the construction products.

[27 September 2011]

46.2 The responsible construction manager shall have the following work duties:

46.2 1. to check the accompanying documentation of the construction products and its conformity with the regulatory enactments of construction, as well as the presence of the conformity attestations;

46.2 2. not to allow built-in of such construction products of the regulated sphere, which do not have a conformity attestation; and

46.2 3. to present the accompanying documentation of the delivered or built-in construction products and the conformity attestations of the regulated sphere’s construction products or the copies thereof upon the request of a building inspector.

[20 April 2004; 17 February 2009]

46.3. The Ministry of Economics shall notify the European Commission regarding the cases when a non-conformity with the technical regulations referred to in Sub-paragraphs 4.2, 4.3 and 4.4 of this Regulation has been determined, as well as regarding the measures taken for the elimination of the non-conformity.

[17 February 2009]

IX. Closing Provisions

47. Up to 1 July 2003, an opinion of the Member States of the European Union shall not be necessary for the construction product standards and technical regulations used for conformity assessment.

48. The construction product conformity certificates which were issued by the notified bodies of the Cabinet until the moment of the coming in force of this Regulation, shall remain in force until the end of their term of validity, but not later than by 1 October 2001.

Informative Reference to European Union Directives

This Regulation contains legal norms arising from:

1) Council Directive 89/106/EEC of 21 December 1988 on the approximation of laws, regulations and administrative provisions of the Member States relating to construction products;

2) Council Directive 93/68/EEC of 22 July 1993 amending Directives 87/404/EEC (simple pressure vessels), 88/378/EEC (safety of toys), 89/106/EEC (construction products), 89/336/EEC (electromagnetic compatibility), 89/392/EEC (machinery), 89/686/EEC (personal protective equipment), 90/384/EEC (non-automatic weighing instruments), 90/385/EEC (active implantable medicinal devices), 90/396/EEC (appliances burning gaseous fuels), 91/263/EEC (telecommunications terminal equipment), 92/42/EEC (new hot-water boilers fired with liquid or gaseous fuels) and 73/23/EEC (electrical equipment designed for use within certain voltage limits).

[20 April 2004]

Prime Minister 								A. Bērziņš

Minister for Environmental Protection

and Regional Development 							V. Makarovs

Annex 1

Cabinet Regulation No. 181

30 April 2001

[16 March 2010]

Annex 2

Cabinet Regulation No. 181

30 April 2001

## CE Marking

1. CE marking consists of the stylised upper case letters CE, which shall be represented in the following way:

2. The size of the CE marking may be proportionately enlarged or reduced.

3. Both components of the CE marking shall be of the same vertical size, and this may not be less than five millimetres.

Minister for Environmental Protection

and Regional Development 							V. Makarovs

[17 February 2009]

Annex 3

Cabinet Regulation No. 181

30 April 2001

I. Conformity Attestation Systems of Construction Products

| Duties of the manufacturer and the authorised body in the conformity assessment process | The numbering for the conformity attestation systems specified by the European Commission |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 4 | 3 | 2 | 2+ | 1 | 1+ |
| 1. Duties of the manufacturer |  |  |  |  |  |  |
| 1.1. Factory production control | * | * | * | * | * | * |
| 1.2. Initial type-testing of the construction product | * | no | * | * | no | no |
| 1.3. Control-testing of samples taken at the factory performed by the manufacturer in accordance with a previously agreed testing programme | no | no | no | * | * | * |
| 2. Duties of the notified body |  |  |  |  |  |  |
| 2.1. Initial type-testing of the construction product | no | * | no | no | * | * |
| 2.2. Control-testing of samples taken at the factory, at the sales points or at the construction site | no | no | no | no | no | * |
| 2.3. Initial inspection of a factory and a factory production control system | no | no | * | * | * | * |
| 2.4. Continuous surveillance, assessment and approval of the factory production control system | no | no | no | * | no | * |

Note.

* The conformity assessment procedure is mandatory.

II. Conformity Assessment Procedures

| No. | Conformity attestation systems | Duties of the manufacturer | Duties of the notified body | Conformity attestation documents |
| --- | --- | --- | --- | --- |
| 1. | 4 | Factory production control Initial type-testing of the construction product | no | Manufacturer’s declaration of conformity |
| 2. | 3 | Factory production control | Initial type-testing of the construction product | Manufacturer’s declaration of conformity, which is justified by the testing report of the notified body |
| 3. | 2 | Factory production control Initial type-testing of the construction product | Inspection of the factory production control system | Manufacturer’s declaration of conformity, which is justified by the certificate of conformity of the factory production control system of the notified body |
| 4. | 2+ | Initial type-testing of the construction product Factory production control Further control-testing of samples taken at the factory in accordance with a specified test plan | Inspection of the factory production control system Surveillance of the factory production control system | Manufacturer’s declaration of conformity, which is justified by the certificate of conformity of the factory production control system of the notified body |
| 5. | 1 | Factory production control Further control-testing of samples taken at the factory in accordance with a specified test plan | Initial type-testing of the construction product Inspection of the factory production control system Surveillance of the factory production control system | Manufacturer’s declaration of conformity, which is justified by the certificate of conformity of the product issued by the notified body |
| 6. | 1+ | Factory production control Further control-testing of samples taken at the factory in accordance with a specified test plan | Initial type-testing of the construction product Inspection of the factory production control system Surveillance of the factory production control system Control-testing of samples taken at the factory, at the sales points or at the construction site | Manufacturer’s declaration of conformity, which is justified by the certificate of conformity of the product issued by the notified body |

Acting for the Prime Minister,

Minister for Environment															R.Vējonis

The Minister for Economics														K.Gerhards