Republic of Latvia

Cabinet

Regulation No. 914

Adopted 29 November 2011

Regulations Regarding the Trade and Use of Electricity

Issued pursuant to

Section 32, Paragraph five, Section 33,

Paragraph two, Clause 1, Section 34,

Paragraph one and Section 35,

Paragraph two of the Electricity Market Law and Section 22,

Paragraph five of the Law On Regulators of Public Utilities

I. General Provisions

1. This Regulation prescribes:

1.1. the procedure for supplying and discontinuing of electricity supply to an electricity customer (hereinafter – customer);

1.2. the rights and duties of an electricity trader (hereinafter – trader), electricity system operator (hereinafter – system operator) and customer in the supply and use of electricity, as well as in payments for the services;

1.3. the procedures for the change of a trader;

1.4. the procedure according to which the public trader shall supply electricity to the associated users, the electrical installations of which are connected to the network of the distribution system operator – the establisher of the public trader;

1.5. the requirements to which the customer must conform in order to be entitled to receive a universal service; and

1.6. the procedure according to which and the cases when a system operator or trader may discontinue the supply of electricity to those customers who have not paid for the received electricity or system services or have not fulfilled other obligations towards the system operator or trader.

2. Terms used in this Regulation:

2.1. sub-customer – a person who by agreement with a customer uses the existing electricity networks in the ownership or possession thereof for the receipt of electricity and does not purchase electricity from an electricity trader or system operator;

2.2. permitted peak load – the largest simultaneous electrical load that may be used by the customer in accordance with the technical parameters of the connection. The permitted peak load shall be limited by an input protection appliance or the amount of electrical load specified in the contract;

2.3. balancing service contract – a contract entered into by a provider of a balancing service and an electricity market participant for the provision of a balancing service;

2.4. balancing service provider – a transmission system operator or electricity market participant who provides a balancing service to other electricity market participants and who has entered into a balancing service contract with a transmission system operator;

2.5. operational works – maintenance, servicing and repair of an electrical appliance;

2.6. electrical load – characterising amount of operation of the customer’s equipment that is equal to all the capacity amounts of electrical installations of the customer switched on simultaneously in the electricity grid, including capacity losses in electrical installations of the customer;

2.7. electricity meter for the commercial accounting of electricity – a measurement appliance or a system of measuring appliances for the recording of the amount and services of electricity for the purposes of account payments, as well as for the recording of the amount of electrical load in the interval of trade;

2.8. electricity supply contract – a contract that is entered into by the public trader or small distribution system operator with the associated user regarding the trade of electricity;

2.9. electricity trade contract – a contract regarding the trade of electricity that is entered into by the electricity market participants;

2.10. electrical appliance – any equipment for the production, conversion, transmission, distribution or consumption of electricity;

2.11. electrical installation – several mutually connected electrical appliances for the performance of joint tasks;

2.12. proprietary border of electrical installations – the border between the electrical installations of the system operator and customer or producer, or between the electrical installations of the customer or sub-customer specified in the contract;

2.13. electricity grid – a part of the electricity supply system that is used for the transmission and distribution of electricity, and that consists of mutually related transmission lines and electrical appliances (for example, substations, distribution points, electricity distributors);

2.14. small distribution system operator - a distribution system operator to whose distribution grids less than 100 000 customers are connected;

2.15. account payment period – a period of time for which account payments are performed. The account payment period is one calendar month unless the parties have agreed otherwise;

2.16. mandatory component of procurement - the payment in lats per kilowatt hour calculated in accordance with the procedure specified by the Public Utilities Commission (hereinafter – the Regulator) and approved by the Regulator, which compensates the additional expenditure of the public trader for electricity purchased within the scope of mandatory procurement, which has been produced in co-generation using renewable energy resources, compared with the same amount of electricity procurement in the electricity market;

2.17. final guaranteed supply – the supply of electricity to a customer who has suspended operations in the electricity market and purchases electricity from a final guaranteed supplier or who does not have a balancing service contract;

2.18. connection contract – a contract that is entered into by the system operator with the customer or producer regarding the installation of the connection;

2.19. reactive energy - a part of the complex (full) capacity of sinusoidal voltage and current which is necessary for the creation of a magnetic field for individual equipment and is an irrevocable component of the technological process in the generation, transmission and distribution of electricity;

2.20. invoice – a document in accordance with which the customer makes a payment;

2.21. system use contract – a contract that is entered into by the trader with the system operator regarding the exchange of necessary information for the performance of trade transactions;

2.22. system services contract – a contract that is entered into by the system operator with the customer or producer regarding the provision of services and ancillary services of the system;

2.23. connection to the system – a part of the electricity grid of the system operator that is installed for the provision of electricity supply to the customer or the receipt of electricity from the producer up to the proprietary border of the electrical installations;

2.24. interval of trade – a period of one hour that commences on the hour;

2.25. day of trade – a period of 24 intervals of trade that commences at midnight; and

2.26. installed capacity – total nominal capacity of the electricity consuming installations installed by the customer.

3. The connection of the electrical installations of a customer to the electricity system (hereinafter - system) or the increase of the permitted load shall take place in accordance with the conditions for the connection to the system approved by the Regulator for electricity system participants.

4. The proprietary border of electrical installations between the customer and system operator shall be determined in the deed that is a component of the connection contract, electricity supply or system services contract. If the parties have not agreed otherwise, they shall serve the electrical installations thereof up to the proprietary border.

II. Commercial Accounting of Electricity

5. An electricity meter for the commercial accounting of electricity registered by the system operator shall be installed on the proprietary border of the electrical installations. If the electricity meter for commercial accounting has not been installed on the proprietary border of the electrical installations, the system operator, in conformity with the losses in the electricity grid that have been calculated from the proprietary border of the electrical installations up to the place of installation of the electricity meter for the commercial accounting of electricity, shall determine the amount of electricity and services that are received by such customers the electrical installations of which are connected to the voltage of at least 6 kilovolts. In order to calculate the referred to amount of electricity and services, the following calculations shall be performed:

5.1. if the electricity meter for the commercial accounting of electricity is installed on the side of the system operator before the proprietary border, the amount of the received electricity and services within the area between the place of installation of the meter for the commercial accounting of electricity and the proprietary border shall be deducted from the amount of electricity and services received by the customer; and

5.2. if the electricity meter for the commercial accounting of electricity is installed on the side of the customer before the proprietary border, the amount of the received electricity and services within the area between the place of installation of the electricity meter for the commercial accounting of electricity and the proprietary border shall be added to the amount of electricity and services received by the customer.

6. For a temporary connection (up to three months) or a one-phase connection with the amount of current of the input protection appliance up to ten amperes, the system operator, upon agreement with the customer, may calculate the amount of electricity and services supplied without the installation of an electricity meter for the commercial accounting of electricity.

7. Electricity meters for the commercial accounting of electricity shall be installed by the system operator or electricity system owner, and they shall be the property of the system operator or electricity system owner.

8. The installed electricity meters for the commercial accounting of electricity shall conform to the requirements specified in the regulatory enactments regarding the procedure by which the approval, initial verification and market surveillance of the type of measurement appliance shall be performed, as well as in the regulatory enactments regarding the metrological requirements for measurement appliances and regarding the metrological requirements for active electricity meters. The system operator is responsible for the repeated verification of the electricity meters for the commercial accounting of electricity and the customer is responsible for the repeated verification of the instrument transformers in the ownership thereof in accordance with the regulatory enactments regarding repeated verification of the measurement appliances, verification certificates and verification marks, observing the periodicity of verification that is specified in the regulatory enactments regarding the list of measurement appliances subject to State metrological control. The lockable terminal cover of the electricity meters for the commercial accounting of electricity shall be sealed with a seal of the system operator.

9. The early verification of an electricity meter for the commercial accounting of electricity may be performed upon the initiative of the system operator or, if the customer has doubts regarding the accuracy of the electricity meter for the commercial accounting of electricity, the customer has the right to request that the system operator ensures the early verification of the electricity meter for the commercial accounting of electricity in one of the accredited inspection bodies, regarding which the limited liability company "Standardisation, Accreditation and Metrology Centre" has published a notice on the web page of the Latvian National Accreditation Bureau (www.latak.lv). If:

9.1. an electricity meter for the commercial accounting of electricity is recognised as unfit for use during early verification, the expenses related to the early verification of the meter shall be covered by the system operator. If upon the request of a customer an electricity meter for the commercial accounting of electricity is recognised as fit for use during early verification, the expenses related to the early verification of the meter shall be covered by the customer; or

9.2. an error of an electricity meter for the commercial accounting of electricity exceeds the error specified by the regulatory enactments regarding the repeated verification of measuring appliances, verification certificates and verification marks, the system operator may update the amount of electricity and services supplied to the customer by performing a recalculation in accordance with the procedure specified in Paragraph 12 of this Regulation.

10. The system operator shall inspect the accuracy of the connection of the electricity meters for the commercial accounting of electricity and shall perform the sealing of the circuits of pre-accounting and accounting. The sealing act shall be drawn up in two copies which shall be signed by a representative of the system operator. The system operator shall issue one copy of the sealing act to the customer.

11. If a written consent to terminate contractual obligations with the system operator has been received from the owner of the apartment house and all customers existing in the house, by permission of the system operator a common electricity meter for the commercial accounting of electricity may be installed. In this case the owner of the house shall become the customer, shall undertake obligations to supply with electricity all the sub-customers in the house and shall enter into a contract with the system operator regarding the supply of electricity or system services.

12. If a wrong operation or error in the calculations of the electricity meter for the commercial accounting of electricity has been detected, the amount of the supplied electricity and services shall be clarified for the entire period from the moment when the electricity meter for the commercial accounting of electricity has begun to operate incorrectly or if this moment cannot be determined, for the final account payment period. The recalculation shall be performed, taking into account the average amount of electricity and services in the previous account payment period or the average amount of electricity and services after the renewal of accounting.

III. Electricity Supply to Associated Users

13. The following are entitled to receive universal services:

13.1. a household customer; and

13.2. an electricity customer who simultaneously complies with the following criteria to all the connection system:

13.2.1. a connection voltage does not exceed 400 volts; and

13.2.2. the nominal current of the input protection appliance does not exceed 100 amperes.

14. The associated user shall enter into an electricity supply contract with a public trader or small distribution system operator regarding the trade of electricity and a system operator contract with the system operator regarding the provision of system services and ancillary services. An electricity supply contract and system services contract shall be entered into in writing or by using distance communication means.

15. An associated user shall purchase electricity for tariffs specified in accordance with the procedures specified by the Electricity Market Law. A fee for system services and components of mandatory procurement shall be included in the tariffs.

16. In the supply of electricity to an associated user the general conditions of the standard electricity supply contract and approved standard system services contract approved by the Regulator. The distribution system operator shall develop and submit for approval to the Regulator and in accordance with the procedure specified by the Regulator publish the approved standard system services contract. If the Regulator approves a new standard electricity supply contract or standard system services contract, the conditions of these standard contracts shall also be applicable in respect of those contracts which have been entered into until the approval of the new standard contracts.

17. A household customer as an associated user may also receive electricity within the limits of the load permitted by technical parameters specified for the connection without entering into a written contract, observing the requirements of this Regulation. In such case the proprietary borders of the electrical installations shall be determined:

17.1. on the overhead lines of the system operator or suspended cable line attachment to the roof pillar insulators or insulators to the wall of the house of the customer;

17.2. on the cable line attachment contacts to the system operator overhead line or suspended cable line of the customer;

17.3. on the cable line attachment contacts of the customer in the accounting distributor, cable distributor or terminal desk of the electricity counter of the system operator;

17.4. on the cable line attachment contacts of the system operator in the distributor of the customer; and

17.5. in residential apartment houses (the proprietary border of the electrical installations between electrical installations of the customer and system operator) on the house electrical installation attachment contacts of the electrical installation of the system operator.

18. The system operator shall be responsible for the state of contacts on the proprietary border of the electrical installations referred to in Paragraph 17 of this Regulation.

19. Before the installation of the electricity meter for the commercial accounting of electricity, the associated user shall choose the electricity trade final tariff appropriate for the connection and the type of payment and shall inform the public trader or small distribution system operator thereof. The system operator after the establishment of a connection and the installation of the electricity meter for the commercial accounting of electricity shall submit information to the public trader, which is necessary in order to commence account payments for electricity supply and shall ensure the information necessary for account payments for electricity supplied to the associated users.

20. The basis for account payments of the associated user with the public trader for the use of electricity shall be information of the system operator regarding connection parameters, readings of the electricity meter for the commercial accounting of electricity, the moment of commencement of the use of electricity, as well as the chosen electricity tariff and type of payment. A public trader or small distribution system operator shall be responsible for the accurate application of the electricity tariffs specified for associated users.

21. By agreement with a public trader or small distribution system operator, the associated user, depending on the final tariff chosen regarding the electricity consumed, shall settle payments:

21.1. in conformity with the self-read readings of the electricity meter for the commercial accounting of electricity (self-declaring method);

21.2. by performing a balanced payment;

21.3. by paying the invoices received; or

21.4. by performing pre-payment.

22. If an associated user does not observe the procedure chosen for account payments, the public trader or small distribution system operator is entitled to apply the account payments to the customer for electricity determining the fixed amount of monthly payments (balanced payment). The amount of balanced payments shall be determined by the public trader or small distribution system operator, by estimating the expected consumption of electricity by the customer. If a smaller or greater actual consumption than the consumption paid for by the customer is determined during the control inspection in accordance with the balanced payment, the public trader or small distribution system operator has the right to perform a recalculation.

23. The public trader shall notify the transmission and distribution system operators regarding information concerning the associated users that use the self-declaring method in order to perform the account payments for the services provided by the system operator.

24. When choosing a balanced payment, the associated user shall also indicate the estimated electricity consumption and applicable customer profile, informing the public trader or small distribution system operator thereof.

25. If the associated user is a legal person, it has the duty to inform the public trader or small distribution system operator about the readings of the electricity record that are necessary for the preparation of accounts in every account payment period. On the basis of this information, the public trader or small distribution system operator shall regularly send an invoice for the amount of electricity supplied in the account payment period to the customer.

26. If the associated user does not observe the procedure for account payments specified in Paragraph 25 of this Regulation, the system operator shall read the readings of the electricity meter for the commercial accounting of electricity and the associated user has the duty to pay for the service of reading the electricity meter for commercial accounting in accordance with the invoices issued by the system operator.

27. It is the duty of the associated user to perform payment within the time period specified in accordance with the invoice issued by the public trader or small distribution system operator. The associated household user has the duty to perform the payment within the next calendar month in conformity with the selected type of account payment for the amount of electricity supplied in each account payment period.

28. An associated user who chooses another tariff or method of payment applicable thereto shall inform the public trader or small distribution system operator accordingly one month in advance. The costs associated with the transformation of the distribution equipment shall be covered by the associated user.

29. An associated user is entitled to terminate the use of electricity at a facility, by informing the public trader or small distribution system operator at least five working days in advance regarding the termination of the electricity supply contract and system services contract and indicating the time of the termination of the use of the electricity. When terminating the use of electricity, the associated user shall record the reading of the electricity meter for the commercial accounting of electricity, notify them to the public trader or the small distribution system operator, as well as within the specified period shall perform the final account payment for the consumed electricity, permitted load and services received.

30. The public trader shall control the receipt of payments and shall settle payments with the system operator for the services thereof in accordance with the system services tariffs in force.

31. If the associated user does not perform the payment on time, the system operator or the public trader shall send a warning about the discontinuation of electricity supply to the user 10 days after the expiration of the payment date. If the customer does not perform payments within 20 days after the expiration date of the payment, the system operator is entitled to disconnect the electrical installations of the customer, completely or partly suspending electricity supply to the customer. The system operator has the duty to renew electricity supply within five days after the customer has in full performed the payment for the received electricity and services of the system operator. If the customer does not perform the payments on time and the electricity supply is suspended repeatedly during the year, the system operator may request that the customer covers the expenses connected with disconnection and connection and renew the electricity supply after covering of such expenses. The public trader or a small distribution system operator is entitled to request pre-payment from a customer who delays payments or for which a recalculation has been performed in accordance with Paragraphs 111 or 112 of this Regulation, in conformity with the balanced payment or to install a pre-payment electricity meter.

32. An associated user shall pay delayed interest in the amount of 0,15% from the amount not paid on time, for each day a payment is missed, unless otherwise prescribed in the contract.

33. If the insolvency procedure has been proclaimed for an associated user or the legal protection proceedings thereof have been initiated, it shall be liquidated or reorganised and shall be liquidated in accordance with the reorganisation plan, the public trader or small distribution system distributor may request pre-payment from such customer in conformity with the balanced payment.

34. Upon receipt of information from a system operator regarding the termination of the rights to receive a universal service, an associated user has the duty to select an electricity trader within two months and enter into an electricity trade contract and system services contract, if such has not been entered into.

35. An electricity supply contract shall become invalid if the associated user has lost the right to receive a universal service. A customer who has not entered into a separate system services contract with a system operator, shall continue to receive system services and ancillary services. The supply of electricity to such customers shall take place in accordance with the procedures specified in Paragraph 131 of this Regulation. A customer has the duty to pay the invoices issued by the system operator for the system services received and the components of mandatory procurement.

IV. Electricity Supply to Electricity Market Participants

36. The supply of electricity to a customer who is an electricity market participant shall take place up to the proprietary border of electrical installations in accordance with this Regulation, the system services contract, the electricity trade contract and balanced payment contract, which may be a component of the electricity trade contract. The contracts may include additional conditions that have not been specified in this Regulation upon the agreement of the parties.

37. If a customer, who is an electricity market participant, has delayed the performance of a payment, or if the insolvency process has been proclaimed for a customer or the legal protection proceedings thereof have been initiated, it shall be liquidated or reorganised and is to be liquidated in accordance with the reorganisation plan, the public trader or small distribution system distributor may request pre-payment from the customer in the amount of the average monthly payment, specify shorter account payment periods or request that a security for the adequate performance of contractual liabilities be submitted.

38. The system operator shall continually provide to the customer the system services within the limits of permitted peak load in the system services contract, except for the cases specified in Paragraphs 76, 77, 78, 79, 80, 93, 94 and 115 of this Regulation.

39. The duration and reasons of suspension or limits of the provision of system services shall be determined according to the entries in the operating journal of the system operator, the data of a computerised interval recording system and readings of the electricity meters for the commercial accounting of electricity.

40. The payment for system services shall be calculated in conformity with the readings of the electricity meters for the commercial accounting of electricity and in accordance with the tariffs that are determined by the procedures specified in the Electricity Market Law.

41. A customer – electricity market participant – shall pay for each component of mandatory procurement proportionate to the electricity consumption. The relevant electricity transmission or distribution system operator shall be paid for the component of the mandatory procurement together with the payment for transmission or distribution system services.

42. Upon informing the system operator, the customer may delegate in the electricity trade contract the duty to the trader to settle payments with the system operator on behalf of the customer for the following:

42.1. system services and ancillary services; and

42.2. components of the mandatory procurement.

43. If the customer has entered into an electricity trade contract with several electricity traders, the duties referred to in Paragraph 42 of this Regulation may only be delegated to one trader.

44. By co-ordinating the procedure for account payments referred to in Paragraph 42 of this Regulation, the system operator may request financial guarantees from the trader in the amount of the payments for the system services, ancillary services and components of mandatory procurement estimated in the account payment period. The system operator shall inform the customer regarding the delay in payment to the trader and may use the referred to guarantees if payment in full for the system services, ancillary services and components of the mandatory procurement is not received within the time period provided in the contract. The trader shall immediately inform the system operator about the reasons for the delay of account payment and shall renew the used guarantee in the full amount.

45. If the trader, within 10 working days from the day when the system operator has used the financial guarantees in the cases specified in Paragraph 44 of this Regulation, does not renew them, the system operator has the right to terminate the system use contract with the trader and to request the consumer pays for the unpaid system services, ancillary services and components of the mandatory procurement.

46. In entering into a system services contract with the customer, the identity and address of the system operator and customer, the level of the quality of services to be supplied, the duration of the contract, the termination of provision of services and the conditions for the renewal thereof, the right to decline from the contract, compensations and reimbursements if the contract regulations are not observed, the procedures for the submission and examination of claims of customers shall be indicated in the contract.

47. The amount of balancing electricity in each interval of trade shall be determined as the difference between the amount actually consumed and the amount of electricity recorded in the supply schedule.

V. Rights and Duties of the Customer

48. The customer is responsible for the technical state and qualified servicing of his or her electrical installations and connection of the electrical installations in conformity with the regulatory enactments that determine the requirements for the technical operation and safety equipment of electrical installations. The customer may enter into a contract regarding the servicing of electrical installations with a legal person or natural person who according to the procedures specified in regulatory enactments has acquired the right to perform such tasks.

49. The possessor or owner of the house is responsible for the technical state, existence and servicing of the single-line circuit of electrical installations located in the common use area of a residential apartment house (distribution of inlet and floors, cables to individual floors, electrical installations of stairs, courtyards, basements, attics, lifts, pumps, illuminating devices and electric motors), as well as for the maintenance of the electricity meter for the commercial accounting of electricity and seals installed therein.

50. The customer has a duty to develop such a circuit of electricity supply so that, when performing the load shedding in accordance with the schedule of disconnection, the electrical installations in the operation of which the disconnection of electricity supply is not permissible would not be disconnected.

51. The customer shall ensure the existence of single-line circuits conforming to the actual state of electrical installations from the proprietary border of electrical installations up to the electricity meter for the commercial accounting of electricity.

52. The customer shall ensure access without hindrance for the employees of the system operator to the network of the commercial accounting and pre-accounting, if the employees of the system operator present a service identification document in which the right to perform the inspection thereof is indicated.

53. If the system operator is in the possession of information that indicates electricity release in the electrical installation of the customer, the customer may not prohibit the employees of the system operator to perform the inspection of the commercial accounting and pre-accounting network in the territory of the customer that has not been previously co-ordinated with the customer. The employee of the system operator shall perform the inspection in the presence of the customer, a representative thereof or a police employee.

54. The customer has the duty to fulfil the written instructions of the system operator regarding changes in the electrical installation of the customer and the servicing thereof, in order to ensure the safe activity of the commercial accounting, possibility of the sealing of pre-accounting circuits and performance of obligations of the contract, as well as to prevent an electricity release in the electrical installation of the customer.

55. The customer may disconnect or connect such electrical installations through which the system operator provides electricity supply to other customers, only with the permission of the system operator.

56. The customer according to civil legal procedures shall be financially liable for the interference into the operation of the electricity meters for the commercial accounting of electricity, intentional damage or falsification of seals, the maintenance and the technical condition of the electricity meters for the commercial accounting of electricity or system pre-accounting circuits, seals, as well as automated recording systems and communication lines installed within their premises or territory.

57. The customer shall require the permission of the system operator for the performance of such works that are related to changes in the connection circuits of the electricity meters for the commercial accounting of electricity, and the replacement or movement of meters. During repair the commercial accounting of electricity may be performed according to a temporary circuit that is co-ordinated with the system operator or the amount of the consumed electricity may be determined by means of calculation.

58. The customer shall immediately inform the system operator regarding damage of the electricity meters for the commercial accounting of electricity, torn off seals and possible mistakes of the counter records.

59. If, when inspecting the electrical installations of a customer, the system operator establishes that an electricity meter for the commercial accounting of electricity has disappeared or an electricity meter for the commercial accounting of electricity has been damaged or the seal damaged due to the fault of the customer, it is the duty of the customer to cover the expenses related to restoring the meter for commercial accounting and repeat verification, as well as to pay for the unrecorded electricity and services in accordance with the procedure specified in Paragraph 12 of this Regulation.

60. If an electricity meter for the commercial accounting of electricity has been damaged with the purpose of reducing the size of the energy consumption reading or to create the possibility to consume electricity free of charge or if the customer has wilfully altered the reading scheme, it is the duty of the customer to pay for the unaccounted electricity and services in accordance with the procedures specified in Paragraph 111 or 112 of this Regulation, and to cover the expenses for the construction of commercial accounting in a location freely accessible to the system operator, which shall not exceed the actual expenses for the reconstruction of the house inlet and commercial accounting.

61. If, when inspecting the system of electrical installations of the customer, the operator establishes damages to the electricity meter for the commercial accounting of electricity, the system operator shall hand over the electricity meter for the commercial accounting of electricity installed for the customer for expert-examination in a laboratory which is accredited in accordance with the procedures provided for in regulatory enactments in the field of conformity assessment. If the expert-examination establishes that the damage to the electricity meter for the commercial accounting of electricity has been caused due to false overvoltage and this reduces the size of the electricity consumption reading or creates the possibility to consume electricity free of charge, it is the duty of the customer to cover the expenses related to the renewal and re-verification of the electricity meter for the commercial accounting of electricity. The customer has the right to become acquainted with the documents drawn up by the system operator and the opinion of the laboratory.

62. The customer shall take a decision himself or herself regarding the safety of the necessary electricity supply, that is, the necessity to prevent interruptions to the supply of electricity and damage to the electrical installations thereof, which may occur at different times of damage, repair or planned disconnection of the electricity supply system.

63. A customer whose electrical installations do not allow the interruption of the supply of electricity, voltage dips and over-voltage, shall perform additional measures to attain the necessary safety of the electricity supply. The construction of the connection of a reserve and installation of an independent power supply, as well as automated switching equipment, shall be financed by the customer.

64. The customer may request that the system operator disconnects his or her electrical installations on the proprietary border of electrical installations, interrupting the supply of electricity for a specific time for the performance of work to the electrical installations of the customer. If such disconnection affects the electricity supply of other customers or sub-customers, the customer requesting the disconnection shall co-ordinate the request in writing with all such customers or sub-customers.

65. If the disconnection of electrical installations for a specific time is requested by a household customer and another person has expressed a wish to use and pay for electricity in this facility, then the system operator is entitled not to disconnect the supply of electricity if there are no technical obstacles.

66. The customer has the right to request and the system operator has the duty to provide the necessary information that is connected with access to the system, the use of system services and balancing services, account payments, as well as with unforeseen disconnections of electricity supply and the process of prevention thereof.

67. When using system services provided by the system operator, the customer has the duty:

67.1. to observe the permitted load and conditions for the use of electricity. The permitted electrical load for apartments and households shall be the nominal current of the input protection appliance that does not exceed 16 amperes, if in the contract with the system operator it has not been specified otherwise, but in the network of 3 x 220 volts the permitted peak load shall be 10 amperes;

67.2. at the request of the system operator to develop and perform regulatory measures for the reduction of electrical load and to fulfil the requirement of the system operator to reduce the electrical load or consumption of electricity in emergency situations or during such energy crisis that has been proclaimed in accordance with the procedures specified in the Energy Law;

67.3. within 10 days to submit to the system operator an application regarding the unsupplied electricity or electricity supply of an inadequate quality that has occurred, upon the customer performing the requirement of the system operator referred to in Sub-paragraph 67.2 of this Regulation;

67.4. to connect to the network of the customer and to use only such electrical installations that do not cause an unacceptable change in the quality of the electricity in the network of the system operator or damages to the electricity meter for the commercial accounting of electricity. To ensure the connection of the electrical appliances of a customer in conformity with the instructions for operation of the electrical appliance manufacturer;

67.5. on time and in full to settle payments with the system operator or a person authorised thereby for the received system services;

67.6. to inform immediately the system operator about the determined damages or actual threat in the electrical installations of the system operator;

67.7. not to request without reason for the planned time of disconnection to be changed, if other customers have been warned about the disconnection and it affects the electricity supply of other customers;

67.8. to ensure access for the persons authorised by the system operator without hindrance to the electricity meters for the commercial accounting of electricity and pre-accounting electrical installations available for access;

67.9. to settle payments for the consumed reactive energy if the tg φ is greater than 0.4 (power coefficient cos φ <0,929), in conformity with the payment 0.003 Ls/kVArh – for customers whose electrical installations are connected to a voltage of at least six kilovolts with a permitted load of 100 kilovolts and greater, or for other customers with an input protection appliance, the amount of current of which is 200 amperes and more;

67.10. to pay the invoice issued by the operator in accordance with the actual peak load determined during the account payment period, if the system operator, based on the meter readings, determines that the actual load exceeds that specified in the contract for the customer whose electrical installations are connected to a voltage of at least six kilovolts. If during the account payment period the customer concurrently exceeds the size of the permitted load by more than 10%, the operator has the right to issue and the customer has the duty to pay an invoice in accordance with the permitted load, as well as in three times the amount for the size of the load exceeded determined during the account payment period;

67.11. to enter into a balancing service contract with a transmission system operator or balancing service provider, if the customer is an electricity market participant; and

67.12. to agree with the balancing service provider regarding the procedure by which a fixed electricity supply may be performed, if the customer is an electricity market participant.

68. A customer has the right to change the permitted peak load specified in the system services contract, by agreement with the system operator and presenting the documents certifying ownership rights or user rights for the facility consuming the electricity.

69. The customer is prohibited from transferring reactive energy to the network of the system operator. If the system operator detects the transfer of reactive energy into the system, the customers whose electrical installations are connected to a voltage of at least six kilovolts with the permitted load of 100 kilowatts and more or other customers with an input protection appliance, the amount of current of which is 200 amperes and more, shall have the duty to pay for all the reactive energy released into the network of the system operator in accordance with the payment 0.009 lats/kVArh.

70. The customers, who through electricity grids in the ownership or possession thereof supply electricity to the sub-customers, in respect of sub-customers have the duties and responsibility of the system operator but the sub-customers – the duties and responsibility of customers.

71. A customer who through electricity grids in the ownership or possession thereof supplies electricity to sub-customers and is not an electricity trader or system operator, may collect justified electricity grid maintenance costs from the sub-customers, not exceeding 10% of the electricity system services tariff specified by the system operator to whose system the electrical installations of the customer are connected.

72. A person who is of age and lives in the facility of a household customer (tenant, subtenant, spouse, other family member), together with the customer has joint financial liability for the electricity used in this facility

73. If a contract regarding the supply of electricity for a facility has not been entered into by a customer with the system operator or trader or the contract has ceased to be in force, or declared invalid, then the owner or legal possessor of the facility is responsible for the payment of the electricity used during the period for which there was no valid contract.

74. The sub-customer may become a customer, by requesting an electricity connection from a licensed system operator. In this case he or she has the duty to co-ordinate the construction of a connection with the owners of that property in which the provision is made to perform the construction of a connection.

75. If the electrical installations located in houses that are in the ownership or possession of any person are used for both his or her electricity supply and the electricity supply of other customers of the system operator, the maintenance of such electrical installations shall be provided by the owner or possessor of the relevant house. When performing the reconstruction of external electricity grids of the system operator or increasing the requested capacity of the connection, the electrical installations of customers in houses owned by different persons shall be connected to the electricity grid of the system operator without the use of electrical installations owned by other persons.

VI. Discontinuation of Electricity Supply and Termination of a Contract

76. The system operator may disconnect the electrical installation of a customer without a warning in the following cases:

76.1. if the electrical installation is connected arbitrarily or without the electricity meters for the commercial accounting of electricity registered by the system operator or they have been arbitrarily taken off or damaged, or other violations have been determined due to which the actual amount of the consumed electricity is reduced or a possibility to consume electricity free of charge has been created;

76.2. for the period of time of rectification of damage, if it is necessary to perform emergency measures for the rectification of damage of electrical grids or liquidation of the consequences of an accident, as far as possible, informing the customers thereof and announcing the reasons for the disconnection; and

76.3. if in accordance with Paragraph 31 of this Regulation a pre-payment electricity meter has been installed and the customer has consumed the full amount of the pre-paid electricity and system services.

77. The system operator has the right, upon prior warning of the customer, to completely or partly disconnect his or her electrical installations in the following cases:

77.1. if the customer has not paid for the electricity consumed within the time period specified in the contract or for the system operator services received and components of mandatory procurement or has not paid pre-payment, if the trader or system operator has requested this, or has not made payments in accordance with the invoices referred to in Paragraph 113 of this Regulation;

77.2. if the instructions of the system operator regarding changes in the electrical installation of the customer and the maintenance thereof referred to in Paragraph 54 of this Regulation have not been performed;

77.3. if due to the fault of the customer a reduction in the quality of electricity supply takes place that inconveniences the normal work of the electricity installations of other customers or the system operator;

77.4. if the customer delays the access of the employee authorised by the system operator to the circuits of electricity pre-accounting and meters for commercial accounting in order to perform the control or change thereof or the inspection and repair of electricity installations of the system operator;

77.5. if the customer does not observe the limits of electricity supply or the permitted load determined by the system operator. For non-observance of the limits of the permitted load and electricity consumption, the system operator may disconnect the electrical installation of the customer to such extent that is technically possible and necessary for the observance of the determined consumption regime. If within one year the customer repeatedly does not observe the limits specified by the system operator or refuses to disconnect the necessary electrical installations for the observance of the limits, the system operator is permitted to completely disconnect the electrical installation of the customer from the electricity grid.

78. The customer shall be warned at least five days in advance regarding the planned discontinuation of the supply of system services due to disconnection of voltage temporarily in order to perform planned work in the electricity grid of the system operator. If disconnection of voltage is necessary for the inspection or replacement of the counter or instrument transformers and the period of disconnection does not exceed 30 minutes, the system operator shall warn the customer right before the disconnection. The planned disconnection periods shall be co-ordinated mutually with the customers whose connection of electricity installations to 6-20 kilovolts or 110 kilovolts of voltage is not connected with other customers. If it is not possible to agree, the system operator shall determine the disconnection period independently and shall choose it as much as possible outside the working hours of the customer, taking into account that planned disconnection of residential houses during the dark hours of the day and a permanent disconnection during holidays, as well as performance of such works that cause intensified noise from 23.00 to 7.00 is not permissible and shall inform the customers thereof.

79. An electricity supply or system services contract shall become invalid, if the supply of electricity and consumption in the facility of the customer has not taken place for more than one year.

80. The public trader or the system operator has the right, with prior warning, to unilaterally terminate an electricity supply or system services contract if:

80.1. electricity supply to the customer is discontinued in the cases provided for in Sub-paragraph 77.1 of this Regulation; or

80.2. a request is received from another person regarding the supply of electricity to the relevant facility and the public trader or system operator has informed the customer accordingly 15 days in advance and the customer has not confirmed the wish to continue contractual relations.

VII. Rights and Duties of the Trader

81. Prior to the commencement of operation within the zone of operation of the licence of the system operator, the trader shall enter into a system use contract with the system operator, agreeing upon the necessary exchange of information, as well as the procedure for payment of system services.

82. The trader in the trade of electricity contract shall indicate the date of the coming into effect of the contract, the term of activity, the procedures for early termination of the contract, the procedures for the co-ordination of the schedule of electricity supply, the price for electricity or the formula for determination thereof, the procedures for payment and the contact persons. If a payment is intended for the early termination of the contract, it shall be indicated clearly and unequivocally in the contract.

83. Upon commencing activities in the electricity market, the trader, in protecting the interests of the final customers, has the duty:

83.1. to inform the customer regarding himself or herself, the economic activity, the experience and facilities thereof, as well as to provide other information requested from the customer that allows to recognise the particular electricity trader;

83.2. not to use methods against the customer that might make him or her take a decision regarding the transaction without the necessary essential information, as well as in the circumstances of lack of time. The trader has the duty to provide the customer with all the necessary information regarding the offered transaction and to give sufficient time so that the customer carefully and unhurriedly can become acquainted with the offer of the trader expressed in writing;

83.3. in presentations and offers to provide the customer only with proper and verifiable comparisons regarding business opportunities;

83.4. upon preparing an offer to the customer, not to use methods (the size of the letters, comments, reservations) that may mislead the customer about the actual significance of the information registered in such manner in the written offer;

83.5. clearly and unequivocally to indicate the period of validity of the offer; and

83.6. upon withdrawing an offer which is in effect, to compensate to the other party all losses created thereto.

84. If the trader in the materials of his or her presentation, conversations with the customers or in offers uses information in connection with the amount, quality, prices of the services of the system operator or other similar information, he or she is responsible for the accuracy and correctness of the information used.

85. In order to ensure his or her recognition, the trader:

85.1. shall use the details indicated in the register of electricity traders, upon participating in the electricity market, when performing marketing events or activities informative in nature. Representatives of the trader shall refer to the registered trader whom they represent and in the name of whom they act; and

85.2. shall ensure the following publicly available information about itself:

85.2.1. the name of the merchant;

85.2.2. the number in the register of electricity traders, date of issuance and period of validity;

85.2.3. the telephone number, legal address and e-mail address of the trader; and

85.2.4. the list of representatives – contact persons - of the trader.

86. The trader shall ensure the confidentiality of the customer information in accordance with the requirements of regulatory enactments, which determine the protection of the data of natural persons and legal persons and commercial secrets.

87. A trader shall inform a customer regarding the expiry of the period of validity of an electricity trade contract at least six weeks in advance, except where the period of validity of an electricity trade contract is shorter than six weeks.

88. A trader, by prior agreement with the system operator, has the right to enter into a system services contract with a customer on behalf of the system operator. The system operator shall ensure equal conditions of authorisation for all traders.

89. A trader, by prior agreement with the system operator, has the right to provide the final guaranteed supply to a customer – an electricity market participant.

90. The trader shall include the following information in the offers of the trade of electricity to the customers referred to in Paragraph 13 of this Regulation:

90.1. the period of validity of the trade of electricity contract, the date of the coming into effect of the contract and conditions due to which this date may be changed, as well as all the conditions and requirements for extension of the contract;

90.2. the price of electricity, conditions of payment, guarantees of the customer, payment for early termination of the contract, delayed settlement or non-settlement of payments, content and amount of other possible payments, format, content and frequency of writing out of the accounts written out for the customer, cases in which it is possible for the trader to express complaints or to receive compensations from them, format of the specified compensations, procedures for examination and resolution of this issue, cases when activity of the contract is terminated, transfer of the contract to another trader and the consequences of this transfer; and

90.3. the proportion of electricity produced from renewable energy resources in the amount of electricity sold.

91. Upon entering into the trade of electricity contract with the customers referred to in Paragraph 13 of this Regulation:

91.1. the trader is not entitled to enter into a contract with a customer if the conditions of the contract are different to the conditions of the offer issued to the customer, unless both parties agree regarding different conditions of the contract;

91.2. the period of validity of the contract may not exceed two years;

91.3. conditions that allow the customer to terminate the activity of the contract, informing thereof the trader 10 days in advance, should be included in the contract. The amount of compensation that the customer must pay upon terminating the activity of the contract in such a way, if such compensation is intended, shall be indicated clearly and unequivocally in the contract. Notification regarding the termination of the contract shall be submitted in writing personally or in a registered letter, by sending it to the address that is indicated in the contract or informing by telephone or e-mail if it is intended in the contract; and

91.4. conditions that allow the user to retract from the trade contract entered into until the date of the coming into effect of the contract shall be included in the contract.

VIII. Duties and Rights of the System Operator

92. The system operator has the duty to ensure the appropriate quality of the system services. If the quality of electricity system services conforming to the quality requirements specified in the regulatory enactments and standards which determine the characteristics of voltage quality is not ensured to a customer, the system operator shall apply a lowered tariff for the electricity system services. The lowered tariff for the electricity system services shall be calculated for the relevant group of customers for the specified electricity transmission component of the electricity system services tariff applying a coefficient of 0.5. The fee for the current amount of the input protection appliance, permitted load or the maintenance and development of the transmission capacity shall remain the same. The system operator shall develop the procedure for the application of a lowered tariff for the electricity system services and publish it on its web page.

93. In the case of accident or damage of the electrical installations of the system operator, the system operator shall ensure rectification of the damage as quickly as possible (not longer than within 24 hours).

94. The elimination period of disconnection of the electricity supply may exceed that specified in Paragraph 93 of this Regulation if:

94.1. the damages have occurred due to natural disaster or force majeure;

94.2. the damages cannot be rectified due to the intentional or unintentional activity of the personnel of the customer or third person; or

94.3. the electricity supply is limited or discontinued in accordance with the schedule of limits or disconnection during an energy crisis proclaimed in conformity with the procedures specified in the Energy Law.

95. If due to damage electricity supply is discontinued for more than 5000 customers, the system operator shall inform the customers, using the mass media.

96. The system operator does not have the duty to ensure the supply of electricity and is not responsible for the quality of electricity specified in the electricity supply contract during the time period when the customer does not observe the electricity consumption regime specified in the contract or uses electrical appliances which reduce the quality of the electricity.

97. The duty of the system operator is to ensure operation of its electrical installations located in the territory or premises of the customer in conformity with such requirements of regulatory enactments that determine the provisions of technical operation of electrical installations and safety equipment.

98. If the system operator is in possession of information which indicates an electricity release in the electrical installation of the customer and indicates an emergency situation and the system operator is convinced of the veracity of this information, the authorised employees of the system operator have the duty to notify and invite employees of the State police to enter the premises or territory of the customer in accordance with the procedures specified by law at any time of day or night, in order to rectify the emergency situation. The system operator shall ensure without delay that the customer is informed regarding accessing the territory or premises thereof.

99. The system operator shall perform the planned repair and operational work of the electrical installations of the system operator located in the territory or premises of the customer, disturbing the economic activity of the customer as little as possible. The system operator shall inform the customer regarding this work five days prior to the commencement of the work. After the performance of the work the system operator shall arrange the territory and premises of the customer in which the electrical installations of the system operator are located, in conformity with the previous state thereof.

100. Prior to the connection of an electrical installation of the customer to the electricity system, the system operator has the right to inspect it to ascertain the conformity of the electrical installation to the requirements that are specified in the regulatory enactments regarding the installation of electrical installations and to request a written approval regarding the readiness of the electrical installation for activation of voltage. The inspection of the electrical installation of the customer shall not make the system operator responsible for the operation thereof.

101. After modernisation or repair of electrical installations the system operator shall ensure the connection to the electricity grid of all the electrical installations of the previously connected customers with the relevant electrical installation.

102. At the request of a customer the system operator shall inform and consult the customer regarding the amounts of installation of electrical installations necessary for the establishment of the connection and the prospective expenses of construction, the procedures for work organisation, as well as regarding the use of electricity, accounting, account payment and quality issues.

103. The employees authorised by the system operator, upon presenting a service identification document, may at any time of day or night have access to the electrical installations of the system operator located in the territory (or any property) or premises of the customer, drive up with a road transport and other technical means in order to perform an emergency repair, inspection or operational switch-over. The property as far as possible shall be renewed to its initial state after the performance of work.

104. The system operator may perform at any time the work of prevention of accidents and rectification of the consequences of accidents in its own electrical installations that are located in the territory or premises of the customer, informing the customer orally or in writing thereof.

105. The system operator in each account payment period shall record the components of the mandatory procurement complying with the consumption of electricity by the final customers connected to the system thereof, provide the necessary information to the public trader for the performance of account payment and shall settle payments with the public trader for the components complying with the consumption of electricity of final customers connected to the system thereof.

106. The system operator, for payment, shall provide the customer with information necessary thereto regarding the electricity consumption thereof (information shall be acquired from the automated electricity recording system), except data regarding the total monthly electricity consumption of the customer.

107. For remuneration, the system operator shall ensure the trader – the balancing service provider – operational information regarding the electricity consumption and load profiles of the customers thereof, if such information is in the possession of the system operator.

108. If, when inspecting the electrical installations of a customer, the system operator determines that a connection has been installed arbitrarily to the pre-accounting circuits or the customer is using electricity without an electricity meter for the commercial accounting of electricity and due to this activity the size of the electricity consumption readings is reduced or the possibility of using electricity free of charge has been created, the system operator shall draw up a deed regarding the determined fact and request that the customer and witnesses provide explanations.

109. If, when inspecting the electrical installations of a customer, the system operator determines that the circuit of the electricity meter for the commercial accounting of electricity has been changed or that the electricity meter for the commercial accounting of electricity is damaged or if the seals of the electricity meter for the commercial accounting of electricity or pre-accounting electrical appliances are damaged or torn off, or if other activities have been performed, or ancillary devices used due to which the size of the electricity consumption reading is reduced, or the possibility of using electricity free of charge has been created, the system operator shall draw up a deed regarding the determined fact, request that the customer and witnesses provide explanations and remove the electricity meter for the commercial accounting of electricity, damaged seals and ancillary devices due to which the size of the electricity consumption reading is reduced. The system operator shall hand over the electricity meter for commercial accounting of electricity and damaged seals for expert-examination in a laboratory which is accredited in accordance with the procedures provided for in regulatory enactments in the field of conformity assessment. The customer has the right to become acquainted with the deed drawn up by the system operator and the opinion of the laboratory.

110. If the system operator has reason to suspect the arbitrary consumption of electricity in the facility of a customer, the system operator shall inform employees of the State police accordingly.

111. Observing the documented state of the electricity meter for the commercial accounting of electricity of the customer and the fact of violation, as well as explanations of witnesses and customers if such are provided, and the opinion of the expert-examination (if it was necessary to perform expert-examination), the system operator shall recalculate the amount of electricity, system services, ancillary services and components of the mandatory procurement for the period of time from the last day of inspection of the electricity meter for the commercial accounting of electricity installed for the customer performed by the system operator until the day of the detection of the violation (the assumed time of arbitrary consumption of electricity). The amount of the recalculated electricity, system services, ancillary services and components of the mandatory procurement shall not be greater than when performing the recalculation following the maximum discharge capacity of the connection in a 24 hour period.

112. If a system operator determines interference in the operation of a meter for commercial accounting, which is confirmed by the opinion of an expert-examination, or in the pre-accounting circuits of a connection and it was not possible to detect these activities, by performing the regular control of the meter for commercial accounting, the system operator is entitled to recalculate the amount of the electricity, system services, ancillary services and components of mandatory procurement for the time period up to one year following the maximum discharge capacity of the connection in a 24 hour period irrespective of the results of the previous inspections.

113. The system operator, when performing the recalculation referred to in Paragraphs 111 and 112 of this Regulation for customers – electricity market participants – shall determine the price of electricity in the amount of the average price of the electricity market.

114. In accordance with the performed recalculation, the system operator shall issue an invoice to the customer in which the recalculation of the payment, amount to be paid and term of payment shall be indicated. The customer has the duty to settle payments with the system operator on time and in the full amount.

115. If the customer – electricity market participant – does not pay on time for system services, ancillary services or components of mandatory procurement, the system operator has the right after a warning to disconnect the electricity installations of the customer, completely or partly disconnecting the electricity supply of the customer. The system operator has the duty to renew electricity supply within five days after the payment for system services has been received in the full amount. If within one year electricity is disconnected repeatedly for a customer who does not pay on time, the system operator is entitled to request that the customer covers the expenses connected with the disconnection and reconnection and to renew electricity supply after the covering of these expenses, as well as subsequently to request a pre-payment in the full amount of the prospective payments in the account payment period.

116. The system operator has the duty to agree with one electricity trader, who shall provide the final guaranteed supply to customers – electricity market participants. In compliance with Sub-paragraph 85.2 of this Regulation, the system operator shall indicate information regarding the selected trader on his or her web page.

117. A small distribution system operator is entitled to request that a public trader sells electricity which is necessary for the supply to the associated users connected to the system thereof. The system operator shall submit to the public trader information regarding the necessary amount of electricity and a prospective electricity consumption schedule for the associated users in each account payment period. A small distribution system operator shall settle accounts with the public trader for each component of mandatory procurement and electricity received for the price which is specified in accordance with Paragraph 129 of this Regulation.

118. The system operator shall inspect the compliance of the associated users with Paragraph 13 of this Regulation and each year until 1 February inform the customers regarding the loss of the rights to receive universal services in compliance with Paragraph 13 of this Regulation.

IX. Change of the Trader

119. The duties and rights specified in this Chapter shall apply to a trader who is concurrently also a balancing service provider.

120. A customer has the right to change the trader on the first day of the month.

121. It is the duty of the trader chosen by the customer to inform the system operator regarding the agreement entered into for the trade of electricity at least 21 days prior to the commencement of the trade of electricity, as well as to inform the system operator without delay regarding the breaking of such agreement.

122. At least 10 days prior to the change of the trader the system operator shall inform the previous trader accordingly.

123. Not later than one working day prior to the expiry of the period of validity of the electricity trade contract, the trader shall inform the system operator regarding the time of termination of the electricity supply.

124. The trader selected by the system operator shall perform the supply of electricity to a customer whose trade contracts have all expired and who has not suspended activity on the electricity market, until the entering into of a new electricity trade agreement, within the scope of the final guaranteed supply in accordance with the procedures specified in Paragraph 131 of this Regulation.

125. The customer has the duty to settle accounts with the previous electricity trader for the electricity supplied and to cover the cost of the contract termination, if such is anticipated, in conformity with the conditions of the electricity trade contract.

126. Within five working days following the change of the trader, the system operator shall inform the previous and the new traders regarding the electricity consumed by the customer.

127. Upon request by the trader, the system operator shall provide information regarding the history of the electricity consumption and load profile of the customer—market participant – if such information is in the possession of the system operator and if the trader has received the consent of the customer for the receipt thereof.

X. Final Guaranteed Supply

128. The final customers referred to in Paragraph 13 of this Regulation have the right to suspend activity on the electricity market and receive electricity from the public trader or a small distribution system operator as the final guaranteed supplier in accordance with the procedure specified in Paragraphs 129 and 130 of this Regulation. When suspending activity on the electricity market, the customer shall settle payments with the system operator for the system services and ancillary services received and components of mandatory procurement and with the trader for electricity in conformity with the conditions of the trade of electricity contract.

129. The system operator shall immediately indicate to the public trader the time when the public trader has to take over the supply of electricity to the particular customer. The supply of electricity to such customer shall take place for six months from the moment of takeover for the price specified by the public trader or small distribution system operator, which is published on the web page of the public trader or small distribution system operator at least one month prior to each account payment period. The customer has the duty to pay the invoices of the public trader or small distribution system operator for the supply of electricity, the system services received and the components of mandatory procurement.

130. The final customer referred to in Paragraph 13 of this Regulation, who has suspended activity on the electricity market, may become an associated user and receive electricity for tariffs which are determined in accordance with the procedures specified in the Electricity Market Law after the time period referred to in Paragraph 129 of this Regulation.

131. If the customer – an electricity market participant – does not have a balancing service contract, the supply of electricity to such a customer shall take place within the scope of the final guaranteed supply. During the final guaranteed supply all the trade of electricity contracts entered into by a customer shall become invalid. The system operator shall immediately indicate to the trader selected thereby the time when the public trader has to take over the supply of electricity to the particular customer. The supply of electricity to such customer shall take place at a price determined by the trader, which is published on the web page of the trader at least one month prior to each account payment period. The customer has the duty to settle accounts with the electricity trader selected by the system operator for the electricity supplied.

XI. Closing Provisions

132. Cabinet Regulation No. 793 of 21 July 2009, Regulations for the Trade and Use of Electricity (Latvijas Vēstnesis, 2009, No. 118), is repealed.

133. Paragraph 13 of this Regulation shall come into force on 1 April 2012. Until 31 March 2012 all household customers and electricity customers whose annual turnover (or total amount of balance) does not exceed LVL 7 million and whose number of employees is less than 50, are entitled to receive a universal service.

134. Until 31 December 2011 the system operator shall inform all associated users who, on the coming into force of Paragraph 13 of this Regulation, shall lose the rights to receive a universal service, for the termination of the electricity supply contract and regarding the duty to enter into contracts in accordance with Paragraph 34 of this Regulation.

135. Until 1 March 2012 the public trader shall submit for approval to the Regulator a draft standard electricity supply contract and to the system operator, a draft standard system services contract.

136. Until 1 July 2012 the associated user, observing the requirements of the electricity supply contract and this Regulation, shall not enter into a separate system services contract with the system operator, receiving system services and ancillary services. An associated user who has not entered into a separate system services contract with the system operator shall continue to receive system services and ancillary services, observing the requirements of the electricity supply contract and this Regulation.

Informative Reference to the European Union Directive

This Regulation contains legal norms arising from Directive 2009/72/EC of the European Parliament and of the Council of 13 July 2009 concerning common rules for the internal market in electricity and repealing Directive 2003/54/EEC.

Prime Minister							V. Dombrovskis

Minister for Economics						D.Pavļuts