Republic of Latvia

Cabinet

Regulation No. 921

Adopted 6 November 2006

# Regulations Regarding Electricity Production in Cogeneration

Issued pursuant to

Section 28, Paragraph two and seven of the

Electricity Market Law

I. General Provisions

1. These Regulations prescribe:

1.1. the criteria by which cogeneration units shall be qualified to obtain the right to sell electricity produced within the framework of mandatory procurement;

1.2. the mandatory procurement of electricity produced in a cogeneration unit and the procedures for the supervision thereof;

1.3. the procedures for the specification of the price for electricity produced in a cogeneration unit depending on the electrical capacity of the cogeneration unit and the fuel used;

1.4. the procedures by which a merchant may refuse to sell electricity produced within the framework of mandatory procurement; and

1.5. the procedures by which a merchant, who has obtained the right to sell electricity produced within the framework of mandatory procurement, may receive a guarantee of origin.

2. Terms used in these Regulations:

2.1. useful thermal energy – thermal energy produced in a cogeneration installation which is sold by a merchant to a user of thermal energy for a price not less than the fuel costs for the production of one unit of thermal energy in a boiler room, if the same type of fuel as in the cogeneration installation is used and the net efficiency coefficient of the boiler room is not less than 92%, using gas or liquid fuel and is not less than 80%, when using solid fuel. If a merchant is vertically integrated and is dealing with the production, management and distribution of thermal energy simultaneously, then all the thermal energy produced in a cogeneration installation shall be recognised as useful thermal energy. In the amount of useful thermal energy shall not be included thermal energy produced in separate production boilers or obtained by taking the steam from behind the boiler before the vapour turbine;

2.2. small scale cogeneration unit – a cogeneration unit with an installed electric power generation capacity below 1 MW; and

2.3. cogeneration installation – an installation intended for electric power generation and useful thermal energy generation in one technological cogeneration.

II. Efficiency Criteria and Qualifications of Cogeneration Units Required to Acquire the Right to Sell Produced Electricity within the Framework of Mandatory Procurement

3. Cogeneration units, which consist of a cogeneration installation and separate thermal energy production boilers or only of a cogeneration installation and which produces electricity and useful thermal energy simultaneously, using one or several of the following production technologies, may qualify to obtain the right to sell electricity produced within the framework of mandatory procurement or receive the guarantee of origin:

3.1. combined cycle gas turbine with heat recovery;

3.2. steam condensing extraction turbine with a steam discharge pipeline for heat supply;

3.3. steam backpressure turbine;

3.4. gas turbine with heat recovery;

3.5. internal combustion engine;

3.6. microturbines;

3.7. Stirling engines;

3.8. fuel cells;

3.9. steam engines;

3.10. organic Rankine cycle; and

3.11. any other types of technology or combinations thereof if by using them it is possible to produce electricity and useful heat energy simultaneously.

4. In order to specify the efficiency of a cogeneration unit, the primary energy savings, which are obtained, in producing energy by the cogeneration unit in cogeneration, shall be calculated (PES). The following formula shall be used for the calculations:

|  | where |
| --- | --- |

|  | - is the electrical efficiency coefficient of the cogeneration installation within a certain period of time, which is calculated using the formula referred to in Paragraph 6 of these Regulations; |
| --- | --- |
|  | - is the efficiency coefficient for separate electricity production depending on the type of fuel used (Annex 1)l |
|  | - is the heat efficiency coefficient of the cogeneration installation within a certain period of time, which is calculated by using the formula referred to in Paragraph 7 of these Regulations; and |
|  | - is the efficiency coefficient for separate thermal energy production depending on the type of fuel used (Annex 1)l |

5. The cogeneration unit complies with efficiency criteria and is entitled to sell electricity produced within the framework of mandatory procurement, if the primary energy savings calculated is:

5.1. more than 1% for small scale cogeneration units;

5.2. not less than 10% for other cogeneration units.

6. The electrical efficiency coefficient of a cogeneration installation within a certain period of time, which is not less than 6 months, shall be calculated by using the following formula:

|  | where |
| --- | --- |

|  | - is the amount of electricity produced in the cogeneration installation within the relevant period of time which is not less than 6 months (MWh); |
| --- | --- |

B – is the total amount of fuel consumed for the production of electricity and useful thermal energy in the cogeneration installation within the relevant period of time, which is not less than 6 months (MWh).

7. The heat efficiency coefficient of a cogeneration installation within a certain period of time, which is not less than 6 months, shall be calculated using the following formula:

|  | where |
| --- | --- |

|  | - is the amount of useful thermal energy produced in the cogeneration installation within the relevant period of time which is not less than 6 months (MWh); |
| --- | --- |

B – is the total amount of fuel consumed for the production of electricity and useful thermal energy in the cogeneration installation within the relevant period of time, which is not less than 6 months (MWh).

8. A merchant, who plans to obtain the right to sell electricity produced in the cogeneration unit within the framework of mandatory procurement, shall submit a submission to the Ministry of Economics in accordance with the requirements specified in Paragraph 9 of these Regulations. A merchant may submit a submission regarding the cogeneration unit already in operation or the planned cogeneration unit. A submission regarding the cogeneration unit in operation which already has the right to sell electricity produced within the framework of mandatory procurement shall be submitted in case the capacities set are increased, in order to assess the compliance of the cogeneration unit with the efficiency criteria specified in Paragraph 5 of these Regulations after the increase of capacity.

9. A submission shall be prepared using the sample form referred to in Annex 2 of these Regulations. The authorised official of the merchant shall sign the submission. The submission shall be filled in using computer typing and without any corrections therein. The pages of the submission shall be numbered and an authorised official of the merchant shall sign each page with his or her initials. The following documents shall be appended to the submission:

9.1. an authenticated copy of the registration certificate of the merchant or a copy, if the original is presented in submitting;

9.2. a copy of the electricity generation licence, if the necessity of a licence is specified in the regulatory enactments;

9.3. a description of the cogeneration unit with technical data which justify the characteristics included in the submission; and

9.4. an authenticated copy of a contract regarding the sale of useful thermal energy or a letter of intent.

10. The Ministry of Economics shall examine a submission within a period of 20 days. If a submission does not contain the information indicated in Annex 2 to these Regulations or all the documents specified in Paragraph 9 of these Regulations are not attached to a submission, the Ministry of Economics shall request to submit them within 30 days. If a merchant fails to submit the information and documents within the specified period of time, the Ministry of Economics shall take a decision to reject the submission and inform the merchant thereof, by sending back the submission.

11. If a submission and documents attached thereto comply with the requirements of these Regulations, the Ministry of Economics on the basis of the information provided for in the submission in accordance with the procedures specified in Paragraphs 4, 5, 6 and 7 of these Regulations shall check the compliance of the cogeneration unit with the efficiency criteria specified in Paragraph 5 of these Regulations within 20 days after the receipt of all necessary information. If the cogeneration unit complies with all referred to criteria, the Ministry of Economics shall take a decision regarding the granting of rights to the merchant to sell the electricity produced in the relevant cogeneration unit within the framework of mandatory procurement and issue the relevant decision to the merchant (in 3 copies).

12. The Ministry of Economics shall take a decision not to grant the right to a merchant to sell the electricity produced in the relevant cogeneration unit within the framework of mandatory procurement in the following cases:

12.1. the cogeneration unit fails to comply with the efficiency criteria specified in Paragraph 5 of these Regulations; and

12.2. the data provided for in the submission or the documents attached thereto are contradictory or are not justified sufficiently or arithmetical errors are made in determining the compliance of the cogeneration unit with the efficiency criteria referred to in Paragraph 5 of these Regulations.

13. The decision of the Ministry of Economics not to grant the right to a merchant to sell the electricity produced in the relevant cogeneration unit within the framework of mandatory procurement may be appealed by the merchant in accordance with the procedures specified in the Administrative Procedures Law.

III. Procedures of Mandatory Procurement and Supervision Thereof

14. The mandatory procurement shall be implemented on the basis of a contract between a public trader (hereinafter – the trader) and a merchant or an authorised person thereof. Before entering into a contract a merchant shall submit to a trader one of the copies of the decision of the Ministry of Economics referred to in Paragraph 11 of these Regulations.

15. In order to sell electricity within the framework of mandatory procurement, the cogeneration unit shall be equipped with:

15.1. electric energy meters for recording the electricity produced in the cogeneration installation, transferred to the electricity grid and received from the grid, which comply with the technical requirements specified and published by the operator of the relevant electricity system (hereinafter – the system operator). The representatives of the cogeneration unit, system operator and trader shall sign the installation and sealing deed of the meters;

15.2. thermal energy meters or a meters system, which ensures the separate records of the thermal energy produced in the cogeneration installation, separate boilers of production of thermal energy or thermal energy produced in another way and useful thermal energy sold to a user; and

15.3. a system of measurement equipment or measurement means which ensures separate records of the fuel consumed in the cogeneration installation and other installations for the production of thermal energy.

16. During the time when a cogeneration unit does not produce electricity or produces less than it consumes for the needs thereof, it shall purchase it from a trader.

17. The period of time for the settling of the accounts regarding the sale and purchase of electricity within the framework of mandatory procurement shall be 1 calendar month.

18.  A trader shall purchase from a cogeneration unit, which has received the right to sell electricity produced within the framework of mandatory procurement, only the surplus of electricity produced in cogeneration, which is left after the utilisation of electricity for the needs of the cogeneration unit. The remaining amount of electricity shall be calculated in accordance with the procedures specified in Paragraph 19 of these Regulations.

19. The amount of electricity produced during the period of time of settlement of accounts and which is left after the utilisation of electricity for the needs of the cogeneration unit shall be determined in the following way:

19.1. the actual total efficiency coefficient of the energy production of the cogeneration installation shall be calculated using the following formula:

|  | where |
| --- | --- |

|  | - is the amount of electricity produced in the cogeneration installation during the period of time for the settlement of accounts which is specified in accordance with the indicators of the meters at the generator output (MWh); |
| --- | --- |

Qnp – is the amount of the useful thermal energy produced in the cogeneration installation during the period of time for the settlement of accounts  (MWh);

Bnp – is the amount of fuel consumed in the cogeneration installation during the period of time for the settlement of accounts (MWh);

19.2. it shall be assumed that the amount of electricity produced in the cogeneration left after the utilisation of electricity for the needs of the cogeneration installation is equal to the amount of electricity transferred to the electricity grid during the period of time for the settlement of accounts, if one of the following conditions is observed:

19.2.1. the actual total efficiency coefficient of production of energy for the cogeneration installation, in which the technology specified in Sub-paragraphs 3.1 or 3.2 of these Regulations is used, is 80% or more;

19.2.2. the actual total efficiency coefficient of the production of energy for the cogeneration installation, in which any of technologies specified in Sub-paragraphs 3.3, 3.4, 3.5, 3.6, 3.7 or 3.8 of these Regulations is used, is 75% or more;

19.3. if the calculated actual total efficiency coefficient of the cogeneration installation is less than the values specified in Sub-paragraphs 19.2.1 or 19.2.2 of these Regulations, the amount of electricity produced in the cogeneration left after the utilisation for the needs of the cogeneration unit, shall be calculated using the following formula:

|  | where |
| --- | --- |

- the ratio of the electric power set by the cogeneration installation to thermal capacity in accordance with the data of the technical documentation. If such data are not available the referred to value shall be determined depending on the cogeneration technology used (Annex 3).

20. The amount of electricity, which in accordance with the procedures specified in Paragraph 19 of these Regulations is not recognisable as produced in cogeneration, a merchant may sell to any member of the electricity market upon mutual agreement regarding the conditions of sale or to a trader for the lowest price in the relevant period for the settlement of accounts.

21. A merchant shall submit a report to the Ministry of Economics each year up to 1 March regarding the operation of each cogeneration unit in the ownership thereof. The responsible official of a system operator to the electrical grid of which the cogeneration unit is connected shall attest the data provided for in the report. The report shall be submitted in a hard copy and electronically (MS Excel).

22. A copy of the contract regarding the sale of useful thermal energy shall be attached to a report.

23. The State Energy Inspection shall control the compliance of the operation of a cogeneration unit with the requirements of the regulatory enactments regulating the energy sector but the system operator and trader – the state of the electricity and thermal energy meters.

24. On the basis of the report data referred to in Paragraph 21 of these Regulations the Ministry of Economics shall evaluate the compliance of the cogeneration unit with the efficiency criteria specified in Paragraph 5 of these Regulations within 3 months after the receipt of a report. If a cogeneration unit fails to comply with the efficiency criteria, the Ministry of Economics shall send a warning to the merchant regarding the non-compliance of the cogeneration unit and the possibility of losing the right to sell electricity produced within the framework of mandatory procurement.

25. A merchant shall renew the compliance of the cogeneration unit with the efficiency criteria specified in Paragraph 5 of these Regulations within 6 months after the receipt of a warning and shall submit a report to the Ministry of Economics regarding the period of time referred to in accordance with the form specified in Annex 4 to these Regulations. If the data of the report indicate that the cogeneration unit still fails to comply with the efficiency criteria, the Ministry of Economics within 20 days shall prepare a decision to deprive the merchant of the right to sell the electricity produced in cogeneration within the framework of mandatory procurement. A decision shall be sent to the merchant, trader and system operator.

26. A trader shall terminate the operation of the contract referred to in Paragraph 14 of these Regulations on the basis of the decision referred to in Paragraph 25 of these Regulations. The cogeneration unit may continue operation and sell electricity produced to any market member after the termination of the contract upon mutual agreement regarding the conditions of sale.

27. If a merchant wants to waive the right to sell electricity produced from cogeneration within the framework of mandatory procurement, it shall notify the trader, the Ministry of Economics and system operator of the decision. The Ministry of Economics shall prepare the relevant administrative act within 30 days after the receipt of a notification and send it to the trader, system operator and merchant. The operation of the contract referred to in Paragraph 14 of these Regulations shall be terminated not earlier than 3 months after the notification of a merchant regarding the decision to waive the right to mandatory procurement.

28. A merchant still has a duty to submit the report referred to in Paragraph 21 of these Regulations after the termination of operation of the contract referred to in Paragraph 14 of these Regulations.

IV. Specification of the Price for Electricity Produced form Cogeneration

29.  A trader shall purchase electricity produced from cogeneration in the amount which is specified in accordance with Paragraph 19 of these Regulations from cogeneration units, which have received the right to sell electricity produced from cogeneration within the framework of mandatory procurement and which electric power set is more than 4 megawatts for a price, which is determined by the Public Utilities Commission (hereinafter – the regulator) in accordance with the methodology specified by the regulator.

30. The price for electricity produced from cogeneration for cogeneration units, which electric power set does not exceed 4 megawatts, shall be specified using the following formula:

30.1. for cogeneration units, which use renewable energy resources or peat as fuel:

|  | where |
| --- | --- |

C – is the price without value added tax for which a trader purchases electricity produced from cogeneration (LVL/MWh);

Tg – is the trade final tariff for natural gas approved by the regulator without value added tax, if the calorific power of the natural gas is 7 900 kcal/n.m3 (LVL/thousand n.m3);

k – is the price differentiation coefficient, which depends on the electric power set in the cogeneration unit;

30.2. for other cogeneration units:

|  | ; |
| --- | --- |

30.3. if the cogeneration installation uses a renewable resource or peat and other mixture of fuel, the price for electricity shall be calculated as the average weighted value in proportion to the consumption of the different types of fuel. In such case the cogeneration unit shall be equipped with a system of metering devices, which allows to record the consumption of each type of fuel.  If renewable energy resources form at least 90% of the fuel consumed in a cogeneration installation, then it is assumed that all the electricity produced in the cogeneration installation is produced from renewable energy resources.

31. In order to calculate the price for which a trader purchases the amount of electricity produced from the cogeneration cycle specified by Paragraph 19 of these Regulations using the formulae specified in Paragraph 30 of these Regulations:

31.1. the coefficient k values specified in Annex 5 to these Regulations shall be used depending on the electric power set for the cogeneration unit;

31.2. the Tg  trade final tariffs for natural gas as approved by the regulator for amounts of natural gas consumption (Annex 5) shall be used depending on the electric power set for the cogeneration unit.

V. Guarantee of Origin of Electricity Produced from Cogeneration

32. A merchant may receive a guarantee of origin, that the electricity produced in the cogeneration unit in the ownership of him or her complies with the efficiency requirements specified in these Regulations.

33. The guarantee of origin referred to in Paragraph 32 of these Regulations shall be issued by the Ministry of Economics.

34. A guarantee of origin shall be issued for the amount of electricity, which is produced in a cogeneration unit complying with the efficiency criteria specified in Paragraph 5 of these Regulations and is specified in accordance with the procedures specified in Paragraph 19 of these Regulations.

35. If a merchant  wants to receive a guarantee of origin for electricity, which is produced within a year, it shall indicate that it wants to receive a guarantee of origin when submitting the report referred to in Paragraph 21.

36. If a merchant wants to receive a guarantee of origin regarding the amount of electricity produced from cogeneration within a shorter period of time (but not less than 3 months), it shall submit a submission to the Ministry of Economics. The information regarding the operation of the cogeneration unit during the relevant period or time shall be attached to the submission. A submission shall be submitted using the sample form referred to in Annex 4 to these Regulations.

37. The Ministry of Economics shall submit a guarantee of origin or submit a justified refusal within 30 days after the receipt of the report specified in Paragraph 21 of these Regulations or the submission and information specified in Paragraph 36 of these Regulations.

VI. Closing Provision

38. In respect of cogeneration units, which have commenced operation up to the day of coming into force of these Regulations, the requirements of Sub-paragraphs 15.2 and 15.3 of these Regulations shall be applied from 1 August 2008.

Informative Reference to European Union Directive

These Regulations contain legal norms arising from Directive 2004/8/EC of the European Parliament and of the Council of 11 February 2004 on the promotion of cogeneration based on a useful heat demand in the internal energy market and amending Directive 92/42/EEC.

Prime Minister 				A. Kalvītis

Minister for Economics 			A.Štokenbergs

Annex 1

Cabinet Regulation No. 921

6 November 2006

Efficiency Coefficients

I. Efficiency coefficients for separate production of electricity

| No. | Fuel | Efficiency coefficient, |
| --- | --- | --- |
| 1. | Gaseous fuel | 0.45 |
| 2. | Liquid fuel | 0.40 |
| 3. | Solid fuel | 0.30 |

II. Efficiency coefficients for separate production of thermal energy

| No. | Fuel | Efficiency coefficient, |
| --- | --- | --- |
| 1. | Gaseous fuel | 0.90 |
| 2. | Liquid fuel | 0.88 |
| 3. | Solid fuel | 0.80 |

Minister for Economics 				A.Štokenbergs

Annex 2

Cabinet Regulation No. 921

6 November 2006

Submission for Obtaining of the Right to Sell Electricity Produced in a Cogeneration Unit within the Framework of Mandatory Procurement

## to the Ministry of Economics

(merchant’s company)

On the basis of Paragraph 8 of the Cabinet Regulation No. 921 of 6 November 2006, Regulations Regarding Electricity Production in Cogeneration, asks to grant the right for the sale of electricity produced in the cogeneration unit within the framework of mandatory procurement.

1. Information regarding the submitter:

| 1.1. registration number in the commercial register |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1.2. legal address |  |  |  |  |  |
| 1.3. authorised official |  |  |  |  |  |
|  |  | (given name, surname, position) |  |  |  |
| 1.4. telephone number of a contact person |  |  |  |  |  |
| 1.5. fax number (if such) |  |  |  |  |  |
| 1.6. e-mail address (if such) |  |  |  |  |  |

2. Information regarding the cogeneration unit:

2.1. The permit of the Ministry of Economics for increasing the capacity of electricity production or introduction of new production installations

2.1.1. date ______________

2.1.2. number ________________

Note.

Shall be completed if it wants to obtain the right to sell electricity produced within the framework of mandatory procurement for the planned cogeneration unit or present cogeneration unit, for which the capacities set shall be increased.

2.2. electricity production licence number __________________

Note.

Shall be completed if the necessity of such a licence is specified in regulatory enactments.

| 2.3. location of the cogeneration unit |  |
| --- | --- |
|  | (administrative territory) |
| (address) |  |

Note.

Address need not be indicated for the planned cogeneration unit.

| 2.4. system operator, to whose networks the cogeneration unit is connected or it is |  |  |
| --- | --- | --- |
| planned to connect to |  |  |
| 2.5. types of fuel used |  |  |

2.6. type of cogeneration technology (mark as appropriate):

| 2.6.1. | combined cycle gas turbine with heat recovery |  |
| --- | --- | --- |
| 2.6.2. | steam condensing extraction turbine with a steam discharge pipeline for heat supply |  |
| 2.6.3. | steam backpressure turbine |  |
| 2.6.4. | gas turbine with heat recovery |  |
| 2.6.5. | internal combustion engine |  |
| 2.6.6. | microturbine |  |
| 2.6.7. | Stirling engine |  |
| 2.6.8. | fuel cell |  |
| 2.6.9. | steam engine |  |
| 2.6.10. | organic Rankine cycle |  |
| 2.6.11. | other technology |  |

| If “other technology” is marked , indicate the type of technology |  |
| --- | --- |

2.7. set capacities for the cogeneration installation

| No. |  | Currently set1 | Planned after capacity increase3 | Planned3 |
| --- | --- | --- | --- | --- |
| 2.7.1. | electric (MW) |  |  |  |
| 2.7.2. | production of thermal energy (MW) |  |  |  |

Notes.

1 Shall be completed regarding the cogeneration unit in operation.

2 Shall be completed, if it wants to obtain the right to sell electricity produced within the framework of mandatory procurement for an existing cogeneration unit, for which the capacity shall be increased.

3 Shall be completed only regarding the planned cogeneration unit.

2.8. users of useful thermal energy and thermal energy sold to them

| No. | Users of useful thermal energy |  |  | Amount of thermal energy sold or planned to be sold within a year (MWh) |
| --- | --- | --- | --- | --- |
|  | name | legal address | registration number |  |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| ... |  |  |  |  |

3. Information regarding the operating data of the cogeneration unit.

A table shall be completed with the actual operating data regarding the previous year for the cogeneration units in operation.  A table shall be completed with the planned data for the planned cogeneration units or cogeneration units in operation, for which it is planned to increase the capacity.

3.1. Information regarding the heating fuel consumed in the cogeneration installation for production of electricity and useful thermal energy1

| No. |  | ### Measurement unit | Months |  |  |  |  |  |  |  |  |  |  |  | Total per year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |
| 1. | Consumption of natural gas | 1 000 m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Lowest calorific value of the natural gas | MWh/1 000 m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Consumption of the natural gas | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Tariff of the natural gas | LVL/1 000 m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Consumption of fuel oils | t |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | Lowest calorific value of the fuel oils | MWh/t |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. | Consumption of the fuel oils | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | Price of the fuel oils | LVL/t |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. | Consumption of wood chips | m3ber |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. | Density of the wood chips | kg/m3ber |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. | Lowest calorific value of the wood chips | MWh/t |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. | Consumption of the wood chips | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. | Price of the wood chips | (LVL/m3ber) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. | Total consumption of fuel | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |

Notes.

1 Information regarding those types of fuel, which are consumed or are planned to be consumed in the cogeneration unit, shall be provided. Gaseous fuel shall be indicated in accordance with the sample of natural gas. heating fuel in bulk (wood chips, wood shavings, biomass to be measured in cubic meters) shall be indicated in accordance with the sample of wood chips. Other types of fuel shall be indicated in accordance with the sample of fuel oil. Only the amount of fuel consumed in a cogeneration installation shall be indicated, not including therein the amount of fuel consumed for the production of thermal energy in separate water heating boilers or steam boilers.

2 All prices and tariffs shall be indicated without VAT. Tariff of natural gas and consumption shall be indicated taking into account the actual or regulatory lowest thermal capacity, which upon the choice of the submitter is used in the information table.

3.2. Information regarding energy produced in the cogeneration installation

| No. |  | Measurement unit | Months |  |  |  |  |  |  |  |  |  |  |  | Total per year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |
| 1. | #### Thermal energy produced in the cogeneration installation | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Useful thermal energy sold to users | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Selling price for useful thermal energy | LVL/MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Electricity produced | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Electricity transferred to network | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Authorised official of the merchant |  |
| --- | --- |
|  | (position, signature and full name) |

Date _______________________________________________________

Prepared by ________________ telephone number _____________

Minister for Economics 			A.Štokenbergs

Annex 3

Cabinet Regulation No. 921

6 November 2006

Ratio Between Electric and Thermal Capacity Set for the Cogeneration Installation for Different Cogeneration Technologies

| No. | ### Cogeneration technology | Power to heat ratio (α) |
| --- | --- | --- |
| 1. | Combined cycle gas turbine with heat recovery | 0,95 |
| 2. | Steam condensing extraction turbine with a steam discharge pipeline for heat supply | 0,45 |
| 3. | Steam backpressure turbine | 0,45 |
| 4. | Gas turbine with heat recovery | 0,55 |
| 5. | Internal combustion engine | 0,75 |

Minister for Economics 			A.Štokenbergs

Annex 4

Cabinet Regulation No. 921

6 November 2006

#### Annual Report of the Cogeneration Unit

##### I. General information regarding the cogeneration unit

| 1. | Location of the cogeneration unit (address) |  |  |
| --- | --- | --- | --- |
| 2. | Licence number (if the necessity thereof is specified in regulatory enactments) |  |  |
| 3. | System operator to the grid system of which the cogeneration unit is connected |  |  |
| 4. | Merchant (firm, legal address, registration number) |  |  |
| 5. | Capacity set for the cogeneration installation |  |  |
| 5.1. | electric |  | MW |
| 5.2. | thermal |  | MW |
| 6. | Cogeneration technology |  |  |
| 7. | Types of fuel used |  |  |
| 8. | Number of employees |  |  |
| 9. | User of useful thermal energy (name or firm, legal address, registration number) |  |  |

II. Information regarding the operation of the cogeneration unit in ______ (year)

| No. |  | Measurement unit | Months |  |  |  |  |  |  |  |  |  |  |  |  | Total per year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  |
| Information regarding fuel consumed in the cogeneration installation1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. | Consumption of natural gas | 1 000 m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Lowest calorific value of the natural gas | MWh/1 000 m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Consumption of the natural gas | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Tariff of the natural gas2 | LVL/1 000 m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Fuel oil | t |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | Lowest calorific value of the fuel oil | MWh/t |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. | Consumption of the fuel oil | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | Price of the fuel oil | LVL/t |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. | Consumption of wood chips | m3ber |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. | Density of the wood chips | kg/m3ber |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. | Lowest calorific value of the wood chips | MWh/t |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. | Consumption of the wood chips | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. | Price of the wood chips | Ls/m3ber |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. | Total consumption of fuel | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. | Thermal energy produced in the cogeneration installation | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. | Useful thermal energy sold to a user | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. | Selling price for the useful thermal energy | Ls/MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. | Electricity produced | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. | Electricity transferred to the network | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20. | Total efficiency coefficient of the cogeneration installation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21. | Electricity to be recognised as produced in cogeneration | MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22. | Selling price for the electricity produced in cogeneration | LVL/MWh |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Notes.

1 Information regarding those types of fuel, which actually have been consumed, shall be provided. Gaseous fuel shall be indicated in accordance with the sample of natural gas. Fuel in bulk (wood chips, wood shavings, biomass to be measured in cubic meters) shall be indicated in accordance with the sample of wood chips. Other types of fuel shall be indicated in accordance with the sample of fuel oil.

2 All prices and tariffs shall be indicated without VAT. The tariff of natural gas and consumption shall be indicated taking into account the actual or regulatory lowest thermal capacity, which upon the choice of the submitter is used in the information table.

3 Shall be calculated by using the formula specified in Sub-paragraph 19.1 of Cabinet Regulation No. 921 of 6 November 2006, Regulations Regarding Electricity Production in Cogeneration.

| Authorised official of the merchant |  |
| --- | --- |
|  | (position, signature and full name) |

Date_____________________________

| Declaration of a responsible official of the system operator |  |
| --- | --- |
|  | (position, signature and full name) |

Date_____________________________

Prepared by ___________________ phone number ___________ e-mail ____________________

Minister for Economics 			A.Štokenbergs

Annex 5

Cabinet Regulation No. 921

6 November 2006

Values of Coefficient k Ratio and Amount of Consumption of Natural Gas Depending of Electric Power Set for the Cogeneration Unit

| No. | Electric power set for the cogeneration unit | Value of k ratio | Amount of consumption of natural gas per year, n.m3 |
| --- | --- | --- | --- |
| 1. | Not exceeding 0.08 MW | 1.240 | 25 000–126 000 |
| 2. | More than 0.08 MW, but not exceeding 0.15 | 1.231 | 126 000–1 260 000 |
| 3. | More than 0.15 MW, but not exceeding 0.20 MW | 1.202 |  |
| 4. | More than 0.20 MW, but not exceeding 0.40 MW | 1.131 |  |
| 5. | More than 0.40 MW, but not exceeding 0.60 MW | 1.086 |  |
| 6. | More than 0.60 MW, but not exceeding 0.80 MW | 1.055 |  |
| 7. | More than 0.80 MW, but not exceeding 1.00 MW | 1.072 |  |
| 8. | More than 1.00 MW, but not exceeding 1.50 MW | 1.035 | 1 260 000–12 600 000 |
| 9. | More than 1.50 MW, but not exceeding 2.00 MW | 1.008 |  |
| 10. | More than 2.00 MW, but not exceeding 2.50 MW | 0.992 |  |
| 11. | More than 2.50 MW, but not exceeding 3.00 MW | 0.982 |  |
| 12. | More than 3.00 MW, but not exceeding 3.50 MW | 0.974 |  |
| 13. | More than 3.50 MW, but not exceeding 4.00 MW | 0.965 |  |

Minister for Economics 				A.Štokenbergs