Republic of Latvia

Cabinet

Regulation No. 532

Adopted 19 July 2005

Regulations regarding the Procedures for Industrial Accident Risk Assessment and Risk Reduction Measures

Issued pursuant to

Section 11, Paragraph two of the Chemical Substances

and Chemical Products Law

I. General Provisions

1. These Regulations prescribe the procedures for the risk assessment of industrial accidents related to dangerous chemical substances and dangerous chemical products and risk reduction measures, as well as substances and products (depending on the quantity and degree of danger thereof) to which such procedures and measures apply.

2. Terms used in these Regulations:

2.1. production unit – a territory under the responsibility of a responsible person and where dangerous substances and dangerous chemical products (hereinafter – dangerous substances) are present or may be present in one or more installations, including in the common infrastructure of such objects or the infrastructure or activities related to such installations;

2.2. responsible person - one or several natural or legal persons that are appointed by the owner of a production unit and who manage the production unit or installation, if such persons have the right to take decisions regarding the commencement of operations, the operation (including technical maintenance, repairs, reconstruction or other changes during the course of operation) or the suspension of operation of the production unit or installation.

2.3. installation - a technological unit in a production unit wherein dangerous substances are produced, utilised, managed or stored. An installation shall include all the equipment, buildings and structures, pipelines, machinery and mechanisms, instruments, railway branch-lines belonging to the production unit, docks, unloading quays for servicing the installation, wharves, warehouses or similar structures (including floating structures) that are necessary for the operation of the installation.

2.4. undesirable event - negative changes in the course of operation of an installation, for example, damages of a technological or mechanical nature, unintentionally or intentionally incorrect operation, as well as other deviations from the technological process regimen, or external factors;

2.5. hazard - a property or physical state inherent to a chemical substance or a chemical product that causes or may cause harm to the environment, human life or health; and

2.6. employees – natural persons who perform specific work at a production unit or installation on the basis of a contract or who are employees of other merchants that are employed at the production unit or installation.

3. These Regulations apply to production units wherein the dangerous substances referred to in Annex 1 of these Regulations, or the dangerous substances that belong to the group of dangerous substances or hazard class referred to in Annex 1 of these Regulations, are found or may be found, or may be created as a result of uncontrollable chemical processes in quantities that are equivalent to the minimum qualifying quantities indicated in Annex 1 of these Regulations, or exceed such quantities, including to such production units wherein mineral resources are processed chemically or thermally and wherein such mineral resources are stored in relation to such operations, and storage facilities of waste created during the process of the extraction or processing of mineral resources, including ponds or dumps of such waste.

4. These Regulations are not applicable to:

4.1. military production units or installations in the possession of the Ministry of Defence;

4.2. activities with sources of ionising radiation;

4.3. the transportation of dangerous cargoes by road, rail, internal waterways, sea or air outside production units, including temporary storage of such cargoes, loading and transportation activities to other means of transport at docks, wharves or railway branch-lines and therefrom;

4.4. the transportation of dangerous substances through pipelines (also pumping stations) outside production units;

4.5. the exploration, extraction and processing of mineral resources in mines, quarries or boreholes not referred to in Paragraph 3 of these Regulations;

4.6. waste landfill sites and waste burial sites not referred to in Paragraph 3 of these Regulations; and

4.7. the offshore exploration and extraction of minerals, including hydrocarbons.

5. Dangerous substances in a production unit are found or may be found in the form of raw materials, products, ancillary materials, by-products, intermediate products, articles or waste, or may be created as a result of uncontrollable chemical processes.

6. An industrial accident is caused or may be caused by an uncontrolled chemical or technological process, uncontrolled actions or other undesirable events.

7. An industrial accident is characterised by a considerable emission of a dangerous substance, fire or an explosion at a production unit that creates, immediately or after some time, a serious threat to the environment, human life, health or property in the territory of the production unit or outside such territory.

8. A responsible person shall prepare and take the industrial accident risk reduction measures provided for in these Regulations in order to ensure the safety of employees, inhabitants of adjacent areas and the general public, and to protect such persons from the harmful effect of an industrial accident, as well as to maintain a qualitative environment, but if an accident has occurred – to restore the quality of the environment.

9. In assessing the risk of industrial accidents (the possibility of the occurrence of undesirable effects within a specific time period or under particular circumstances) and in planning and implementing risk reduction measures, a responsible person shall:

9.1. determine the potential hazards – sources of risk - and potential undesirable events at the installation or outside such installation that may cause an industrial accident or an immediate threat of an industrial accident;

9.2. assess the possible effects of an industrial accident;

9.3. determine what development of undesirable events may cause the most serious consequences for the environment, human life, health or property;

9.4. assess the probability of such industrial accident that would cause the most serious consequences for the environment, human life, health or property;

9.5. assess the usefulness and effectiveness of the intended or implemented industrial accident risk reduction measures;

9.6. assess the risk numerically, if the provisions of these Regulations regarding the preparation of a safety report apply to an installation;

9.7. develop a safety system that ensures systematic and regular planning, assessment, implementation and control of industrial accident risk assessment and risk reduction measures at an installation or at all installations of a production unit that are located in a single territory; and

9.8. incorporate a safety system into the overall system of work organisation and management of an installation.

II. General Requirements for Preparation, Submission and Examination of Documentation

10. If it is estimated that the maximum quantity of a dangerous substance at an installation or at all installations of a production unit that are located in a single territory may reach or exceed the minimum qualifying quantities indicated in Annex 1 of these Regulations, or the quantity criterion (Qtotal) of dangerous substances, calculating in accordance with the formula referred to in Paragraph 27 of Annex 1 of these Regulations, is > 1, a responsible person shall present to the relevant regional environmental board of the State Environmental Service (hereinafter - regional environmental board) a submission in writing and electronically regarding the dangerous substances at the installation (hereinafter – submission) not later than six months prior to the commencement of operation of the installation. The regional environmental board shall send a copy of the submission to the relevant territorial unit of the State Fire-fighting and Rescue Service (hereinafter – rescue service) and to the local governments in the territory of which the installation is located or the territories of which may be affected by an industrial accident

11. A submission shall be presented in accordance with Annex 2 of these Regulations for all installations of a production unit if such installations are located in a single territory. If the installations are located at various locations, a separate submission shall be presented for each installation. If several merchants perform or are planning to perform operations with dangerous substances in one installation, each responsible person shall present a submission for the whole installation or production unit, including for all operations to be performed or intended with dangerous substances. The responsible persons of such merchants who perform or are planning to perform operations in one installation may also present a joint submission.

12. If the information indicated in a submission is incomplete or does not conform to the requirements of these Regulations, a regional environmental board shall request additional information from a responsible person or shall indicate the errors in the submission not later than within a period of two weeks from the day of receipt of the submission.

13. A regional environmental board shall inform a responsible person regarding the fact of whether the presence of dangerous substances at an installation has been correctly determined not later than within a period of two weeks from the day of receipt of a submission or the receipt of the additional information referred to in Paragraph 12 of these Regulations, and shall present the information provided in the submission or additional information to the Environment State Bureau.

14. A responsible person shall develop an industrial accident prevention programme and shall submit such programme in written and electronic form to the Environment State Bureau if one of the following conditions is valid:

14.1. the maximum quantities of dangerous substances at the installation or at all installations of a production unit that are located in a single territory are equivalent to the minimum qualifying quantities indicated in Annex 1 of these Regulations or exceed such quantities, but are less than the maximum qualifying quantities indicated in Annex 1 of these Regulations; or

14.2. the quantity criterion of dangerous substances, which has been calculated taking into account the minimum qualifying quantities indicated in Annex 1 of these Regulations, is > 1.

15. A responsible person shall develop and submit in written and electronic form a safety report to the Environment State Bureau, and to the rescue service – a civil protection plan for an installation that shall indicate instructions for action in case of an undesirable event or industrial accident, or an emergency situation, first informing the public thereof in accordance with Chapter XI of these Regulations if one of the following conditions is valid:

15.1. the maximum quantities of dangerous substances at an installation or at all installations of a production unit that are located in a single territory are equivalent to the maximum qualifying quantities indicated in Annex 1 of these Regulations or exceed such quantities; or

15.2. the quantity criterion of dangerous substances, which has been calculated taking into account the maximum qualifying quantities indicated in Annex 1 of these Regulations, is > 1.

16. A responsible person shall submit a joint industrial accident prevention programme or safety report and a joint installation civil protection plan for all the installations of a production unit if such installations are located in a single territory. If several merchants perform or are planning operations with dangerous substances in one installation, the responsible person of each production unit shall submit an industrial accident prevention programme or safety report and a civil protection plan for an installation, characterising the co-ordination of the operation of the safety systems of all the installations and production units within the joint work organisation system of the installation. The responsible persons of such merchants that perform or are planning operations in one installation may also submit a joint industrial accident prevention programme or a safety report and a civil protection plan of an installation.

17. A submission, industrial accident prevention programme, safety report and the civil protection plan of an installation, shall indicate the person who has prepared such documents, and a responsible person shall sign such documents. Information provided in written and electronic form shall be identical or shall indicate the differences between the information provided in written and electronic form.

18. A responsible person shall notify the regional environmental board and the relevant local government regarding:

18.1. the commencement of operation of an installation (if all the documents necessary in accordance with these Regulations have been drawn up and approved) – one week prior to the commencement of operation of the installation; and

18.2.  temporary suspension of operation of an installation, which exceeds three months, or the shutdown of an installation, – not later than one week prior to the suspension of operation or the shutdown of the installation.

III. Information to be Included in an Industrial Accident Prevention Programme

19. A responsible person shall describe and assess the system of work organisation and management of a production unit, the technological processes, techniques and the safety system of the production unit or installation in an industrial accident prevention programme, indicating the resources and the measures for prevention or reduction of industrial accidents, hazard control, the elimination of consequences of such accidents, the reduction of impact on the environment or human health, and the restoration of the environment after an industrial accident, as well as for the implementation of improvements in the safety system.

20. An industrial accident prevention programme shall provide information regarding the safety system in a production unit or installation, indicating:

20.1. the organisational structure, duties and liability of employees, providing for the involvement of other merchants, and the duties and liability of the employees thereof;

20.2. theoretical and practical training programmes for employees;

20.3. the procedures by which industrial accident risk factors and potential undesirable events that may occur in the course of normal operation, technical maintenance, repairs or reconstruction, depending on the specifics or scope of the relevant activities, or on the characteristics of the dangerous substances utilised, as well as an assessment of the possibility of an industrial accident and the scope and severity of the consequences of such accidents shall be systematically determined;

20.4. industrial accident risk reduction measures during the operation, technical maintenance, repairs or reconstruction of the installation in accordance with the specifics of activities and the properties and quantity of the dangerous substances to be utilised;

20.5. the requirements for the safety of technological processes, including instructions regarding the operational safety of the equipment and technological processes, safety of the equipment and technological processes during the course of technical maintenance, and safe temporary interruption of operations;

20.6. the procedures by which changes in the technological process or other changes, for example, warehouse or equipment designing, shall be planned;

20.7. the procedures by which plans for action in case of an industrial accident or emergency situation shall be prepared, approved, updated and tested in practice (also by organising training);

20.8. the procedures by which a responsible person in co-operation with the relevant rescue service units and other rescue and emergency services shall take response measures and consequence-liquidation measures in accordance with the civil protection plan in cases of undesirable events or industrial accidents, as well as plan and implement preventive measures for the reduction, limitation or elimination of the consequences of possible accidents;

20.9. measures that a responsible person shall take jointly with a rescue service and other emergency services in case of an industrial accident;

20.10. measures (in accordance with Chapter VII of these Regulations) for the reduction of a domino effect;

20.11. equipment, material reserves and other resources that are necessary for the implementation of industrial accident risk reduction measures;

20.12. the compliance of the intended risk reduction measures and the safety system of the installation with these Regulations and an effectiveness assessment, as well as the procedures by which such compliance and effectiveness shall be systematically assessed and the necessary improvements shall be made;

20.13. the procedures by which information regarding errors in the safety system (including regarding the ineffectiveness of the safety or protective measures, undesirable events or industrial accidents) shall be documented and by which State institutions shall be informed thereof;

20.14. the procedures by which the responsible person shall investigate and assess undesirable events, accidents or industrial accidents, ensure the examination of the location contaminated as a result of an accident, depollution and environmental restoration, as well as make improvements in order to prevent the recurrence of an industrial accident; and

20.15. the procedures by which the industrial accident prevention programme shall be systematically assessed, updated and supplemented.

IV. Information to be Included in a Safety Report

21. A safety report shall indicate the information, which is included in an industrial accident prevention programme in accordance with Chapter III of these Regulations, the information referred to in this Chapter, the persons who prepared the report, as well as additional information if a responsible person finds such additional information necessary.

22. In order to prevent duplication of information, a responsible person may include in a safety report parts of the documents that have been prepared in accordance with the requirements of other regulatory enactments (for example, an environmental impact assessment report, parts of a territorial planning or construction design, if all of the requirements of this Chapter have been complied with), as well as use parts of the safety report in order to prepare a submission regarding a permit to perform a polluting activity.

23. In a safety report, a responsible person shall:

23.1. substantiate the compliance of the safety system of a production unit or installation with the requirements of these Regulations;

23.2. indicate that the significant risks have been identified and that the necessary measures have been taken in order to prevent industrial accidents or reduce the impact of such accidents on people and the environment in case of such accidents;

23.3. indicate that the necessary safety measures have been complied with during the design, construction, operation or servicing of the installation or infrastructure related to the operation thereof (including the constructions and materials of structures, equipment or infrastructure have been selected and constructed, taking into account the loads under normal operating conditions and in the case of an undesirable event or industrial accident);

23.4. indicate information regarding the civil protection plan of the installation that provides information required for the development of an off-installation civil protection plan and gives the opportunity to take the necessary measures during an industrial accident;

23.5. taking into account the identified industrial accident risks, indicate such information regarding the potential negative effects of the installation on the surroundings thereof that may affect the decision regarding the construction of new buildings or structures, or the commencement of other activities in the vicinity of the production unit;

23.6. indicate the procedures for updating and supplementing the safety report; and

23.7. indicate whether the installation is marked as a sensitive installation in territorial plans in accordance with the requirements referred to in Paragraph 53 of these Regulations and whether a protection zone, restrictions on the utilisation of the territory or other risk reduction measures have been specified in the territorial plans of the installation in accordance with the requirements of the regulatory enactments regulating protection zones and Chapter VIII of these Regulations.

24. A safety report shall provide information regarding the layout of an installation and a characterisation of the environment and the surroundings of the installation, indicating:

24.1. the geographical layout of the installation;

24.2. the meteorological conditions in the vicinity of the installation (including the direction and speed of the dominant winds, other meteorological conditions and possible natural disasters, if such winds, conditions and disasters may increase the hazard of an industrial accident or aggravate the consequences thereof);

24.3. a characterisation of the geological and hydro-geological condition in the vicinity of the installation;

24.4. the hydrological conditions in the vicinity of the installation (for example, the maximum and minimum water level in a watercourse);

24.5. information regarding nature territories that may be harmed in case of an industrial accident (including information regarding surface waters and groundwater, specially protected nature territories, micro-reserves and protective zones, as well as protected species and biotopes);

24.6. information regarding the surrounding territory of the installation that may be affected by an industrial accident (including information regarding the territories of residential buildings, indicating population density and size, the territories of public buildings, tourism and recreation areas, State-protected cultural monuments, structures and main networks of municipal facilities or energy supply);

24.7. information regarding gas or oil pipelines, carriage of dangerous freight by rail or by road, other installations or activities in the vicinity of the installation (indicating the distance to such installations or activities), which may cause an industrial accident or aggravate the consequences thereof; and

24.8. information regarding the previous utilisation of the surrounding territory (including information regarding installations that have been used previously and which contain or have contained dangerous substances, or regarding dangerous waste disposal sites or dumps if such disposal sites or dumps may cause an industrial accident or aggravate the consequences thereof).

25. The following shall be appended to a safety report:

25.1. the layout of an installation at a scale of 1:500 or 1:1 000, wherein the structures, main engineering communications, infrastructure and equipment are indicated;

25.2. a location map of the installation  at a scale of at least 1:10 000, wherein the type of land utilisation of the surrounding territories, the nearby watercourses and bodies of water, specially protected nature territories and micro-reserves, protective zones, and the layout of main transport and utility lines, nearby installations, territories of public and residential buildings are indicated;

25.3. copies of safety data sheets for dangerous chemical substances and chemical products;

25.4. a technological scheme wherein the equipment, controlling devices and measuring instruments for the ensuring and supervision of the safety of technological operations are indicated;

25.5. photographs of an installation and the main production, storage and other technological equipment and pipelines (lines and manifolds);

25.6. a list of such documents and standards on the basis of which the safety report has been developed, technological equipment and structures intended for the prevention of an undesirable event or industrial accident, or for the liquidation of the consequences thereof, have been designed and built, as well as references to the utilised literature, software, cartographic materials and other information sources;

25.7. a description and analysis of the undesirable events or industrial accidents that have occurred at the installation or similar installations, including information regarding errors in the safety system or the ineffectiveness of protection measures, if such information is available; and

25.8. the minutes of a public consultation, as well as a reference or an indication of whether information has been provided in accordance with the requirements referred to in Paragraph 92 of these Regulations, and informative material for inhabitants who may be affected by an industrial accident.

26. The plan of an installation shall indicate:

26.1. containers, tanks or receptacles for storage of dangerous substances (hereinafter – receptacles), indicating the number of receptacles, the volume of each receptacle, the total volume of the receptacles and the distances between receptacles for explosive, highly flammable or extremely flammable substances;

26.2. technological lines, production equipment (including pipelines, the dimensions thereof, the distances between equipment or parts thereof, as well as the quantity of dangerous substances therein);

26.3. dangerous equipment;

26.4. fire-fighting equipment, alarm devices, fire-fighting water supply sources (fire hydrants, water reservoirs and other water supply sources with indicated driveways to such sources and water supply points for fire-engines);

26.5. other equipment that is intended for the elimination of an undesirable event or industrial accident (for example, reserve receptacles);

26.6. emergency exits and emergency routes in the territory of the installation;

26.7. administrative premises of the installation; and

26.8. temporary parking areas for tank vehicles and rail tank-wagons intended for the carriage of dangerous goods, and railway branch lines, docks and unloading quays belonging to a production unit for servicing such installation.

27. A safety report shall provide information regarding an installation and the equipment therein, indicating:

27.1. a characterisation and description of the equipment, working methods and technological processes, the amount of dangerous substances in warehouses and in production, storage or other technological equipment, in pipelines (lines and manifolds), tank vehicles and rail tank-wagons, which are located or may be located in the territory of a production unit or on a railway branch line belonging to the production unit, in docks, unloading quays for servicing such installation, on a wharf or similar structures (including floating structures) that are necessary for the operation of the installation.

27.2. a description of raw materials, ancillary materials, intermediary products, by-products, waste and products;

27.3. a description of industrial accident hazard and sources of risk (indicating external sources of risk) and a hazard analysis;

27.4. an assessment of the installation and the equipment located therein from the viewpoint of the safety of people and the environment;

27.5. information regarding the technical safety of the process and the safety of operation;

27.6. a characterisation of control equipment and measuring instruments, as well as information regarding the monitoring of the safety of technological operations during the entire production process;

27.7. information regarding possible incorrect operation of the equipment and systems (for example, regarding the accumulation of electric charge, damage to the walls of receptacles or pipelines, or other technological or construction deficiencies, or deficiencies of the territorial planning of the installation that may facilitate an industrial accident or aggravate the consequences thereof);

27.8. the analysis of the quantity of manual work necessary in the operation of the installation and of the possibility of employee error;

27.9. information regarding intended prophylactic and preventive measures that ensure a safe production process, eliminate the possibility of an industrial accident or reduce the consequences thereof, as well as an analysis of the usefulness and effectiveness of such measures;

27.10. information regarding the starting, stopping and servicing of the equipment, the frequency and duration of technical maintenance, as well as the implemented safety measures or the necessity thereof (for example, protection against vibrations);

27.11. information regarding actions that must be performed in cases of undesirable events, referring to the relevant instructions; and

27.12. information regarding the energy supply for the technological process – sources of energy and the parameters thereof, possible interruptions of the energy supply, and alternative sources of energy that are intended for utilisation in case of an industrial accident and an interruption in the energy supply; and

27.13. information regarding the structures and equipment that are to be dismantled and the time periods for the demolition thereof, if the dismantling or demolition of such structures and equipment is related to an industrial accident risk.

28. A safety report shall provide information regarding dangerous substances:

28.1. for installations that operate or have been put into service, information regarding dangerous substances at the installation shall be indicated. Such information shall be obtained and aggregated (hereinafter – inventory data of dangerous substances) not earlier than six months prior to the submission of a safety report; and

28.2. for installations that have not been put into service, the planned quantities of dangerous substances shall be indicated.

29. A safety report shall indicate the following information regarding dangerous substances:

29.1. the commercial name and the name in accordance with the International Union of Pure and Applied Chemistry (IUPAC) nomenclature, the registration number of the chemical substance in the Chemical Abstracts Service (CAS number), the number in the European Inventory of Existing Commercial Chemical Substances (EINECS), the empirical formula and the degree of purity, but for chemical products – the components thereof;

29.2. the maximum and average quantities at an installation;

29.3. the location at the installation and the quantity in the technological process scheme, as well as whether the substance is a raw material, intermediate product, auxiliary product, finished product, by-product or waste, and whether such substance may be generated as a result of undesirable events;

29.4. the physical and chemical properties, as well as the physical state under normal operating conditions and under possible emergency conditions;

29.5. the possible chemical reactions and mutual interaction of substances that may cause an undesirable event or industrial accident, or aggravate the consequences thereof;

29.6. ignition temperature, flash point and spontaneous inflammation (spontaneous combustion) temperature, combustibility, explosive concentrations and the temperature limits of such concentrations;

29.7. a characterisation of corrodibility (especially for receptacle and pipeline materials);

29.8. a characterisation of the toxicological and ecotoxicological properties, as well as the threats of immediate effects on people or the environment under the conditions of possible industrial accidents;

29.9. harmful effect the symptoms of which may appear after a certain time period (slowed-effect risks or delayed impact), and a characterisation of the risk of such effect on people or the environment; and

29.10. the technological, fire safety, work safety, first aid and emergency medical assistance, civil protection and environmental protection measures in order to reduce or prevent the harm that the relevant dangerous substances may cause.

30. If a dangerous substance that is located or may be located at an installation does not present a risk of industrial accident, a responsible person shall not provide a detailed assessment of the possible effects of such substance in a safety report after co-ordination with the Environment State Bureau. The Environment State Bureau shall assess and determine on the basis of the information provided by the responsible person whether the relevant dangerous substances that are located or may be located at the installation actually present a risk of industrial accident, taking into account that such risk is generally not presented by dangerous substances which :

30.1. under normal conditions are in a solid physical state and remain in a solid physical state also under predictable conditions of an undesirable event or industrial accident, and leakage of such dangerous substance that might create a threat or risk of an industrial accident is also not possible;

30.2. are packaged or are kept in such a way and in such quantities that the maximum possible leakage cannot under any circumstances create a threat or risk of an industrial accident;

30.3. are in such quantities and at such a distance from other dangerous substances or equipment that such dangerous substances cannot by themselves present a risk of an industrial accident or cause an industrial accident involving other dangerous substances; or

30.4. belong to one of the classes of dangerous substances referred to in Annex 1, Table 2 of these Regulations, but such safety measures have been taken at the installation that prevent any risk of an industrial accident in relation to such substances.

31. The Environment State Bureau shall send information regarding dangerous substances and installations that are subject to the conditions referred to in Paragraph 30 of these Regulations to the relevant territorial unit of a rescue service and the relevant regional environmental boards.

32. A safety report shall provide information regarding performed numerical risk assessments that contain detailed descriptions regarding the scenarios of major industrial accidents and the probability of occurrence thereof or the conditions under which such accidents may occur, substantiate the chosen assumptions and methods of risk analysis, observing the identified industrial accident risks, the properties and quantities of dangerous substances and the conditions of the technological process, as well as substantiate and analyse risk scenarios, taking into account:

32.1. the possible internal or external causes of undesirable events, the variants (risk scenarios) of the development of an industrial accident, the location and scale of the anticipated leakage of a dangerous substance, as well as the concentration of the calculated leakage contamination or the spread and hazard of other types of harmful effects;

32.2. the possibility, conditions or circumstances of the occurrence of undesirable events;

32.3. internal and external factors that may facilitate or delay the development of undesirable events; and

32.4. the planned risk reduction measures.

33. The possible consequences of an accident shall be assessed in a safety report for one of the development scenarios of similar undesirable events and for each development scenario of different undesirable events, which may cause an industrial accident, and such consequences shall be compared with the criteria specified in Annex 3 of these Regulations, and the following shall also be indicated:

33.1. the possible concentration of dangerous substance contamination in the environment;

33.2. the possible impact on human life, health or the environment under favourable and unfavourable conditions of the development of events and the effects of external factors;

33.3. the territory that will be affected by the industrial accident, the possible area of such territory, the volume of the contaminated soil or water and the distribution of contamination, using maps, pictures or appropriate descriptions;

33.4. the time period during which the undesirable event may turn into an industrial accident; and

33.5. measures that reduce the possibility of rapid development of the industrial accident.

34. If in assessing the risk of an industrial accident a responsible person determines that changes are necessary in the safety system or other industrial accident risk reduction measures must be taken, such changes or measures and the time periods for the implementation thereof shall be indicated in a safety report.

35. The safety of technological equipment and processes shall be characterised and analysed in a safety report, including:

35.1. the technical parameters of the equipment, the process management system and the system for stopping the equipment;

35.2. the measures and equipment used for the safety of the process (for example, the process control system, the notification and alarm system at the installation, automatic fire-detection and alarm equipment, anti-corrosion measures, use of safety valves);

35.3. automated fire-fighting equipment, other measures and equipment intended for fire safety, fire extinguishing or protection against a possible explosion, the technical parameters thereof; and

35.4. equipment for containing the spread of accidents, equipment and receptacles for the collection of accidental leakage, protective walls, devices for determining contamination from an accident, and other equipment, facilities and measures intended for human safety or environmental protection.

36. A safety report shall characterise the civil protection of an installation:

36.1. indicating the civil protection structure of the installation, the designated responsible employees (for example, in the field of environmental protection, labour protection, civil protection), the work organisation and duties of employees in cases of industrial accidents or other emergency situations, as well as the structure and duties of the civil protection formations (units, groups) of the installation;

36.2. indicating the emergency notification devices or equipment installed at the installation that reduce the possibility of an industrial accident, contain or reduce the spread of the consequences of such accident, briefly characterising the circumstances under which such devices or equipment are intended to be used;

36.3. describing the notification and alarm system of the installation, indicating the alarm signals, as well as the warning of employees and other persons in the endangered zone of the installation regarding the threats, the provision of information regarding the protection measures and the procedures for evacuation;

36.4. indicating the most important measures that shall be taken in the case of an immediate threat of an industrial accident and in case of an industrial accident or an emergency situation;

36.5. describing the resources and material reserves to be involved at the installation and outside the installation; and

36.6. indicating the procedures for co-operation with rescue service units and other emergency services.

37. A safety report shall provide a brief summary regarding the notification and alarm system of an installation, the resources to be involved, the planned and performed technical and organisational measures regarding which information is necessary in the drawing up of the civil protection plan of the installation.

38. The information provided in a safety report shall be communicated to employees. The safety report shall be kept at a easily accessible location in order for such safety report to be accessible, together with the civil protection plan of the installation, to a rescue service, other operative and emergency services and the civil protection formations (units, groups) of the installation in case of an industrial accident or an immediate threat of such accident.

V. Procedures for the Submission and Assessment of Industrial Accident Prevention Programme and Safety Report

39. A responsible person shall sign and submit to the Environment State Bureau:

39.1. an industrial accident prevention programme not later than three months prior to the commencement of operation of an installation or reaching of the amount of dangerous substances specified in Paragraph 14 of these Regulations; and

39.2. a safety report not later than three months prior to the commencement of operation of the installation or reaching of the amount of dangerous substances specified in Paragraph 15 of these Regulations.

40. In order to assess an industrial accident prevention programme or safety report, the Environment State Bureau shall establish a risk assessment commission (hereinafter – commission). The commission shall consist of representatives from the Ministry of Environment, the Ministry of Welfare and the Ministry of the Interior, or from institutions subordinate thereto, as well as representatives from the relevant local governments.

41. If necessary, prior to the examination of an industrial accident prevention programme or safety report, a commission shall:

41.1. invite experts to assess the industrial accident prevention programme, the safety report, or separate parts thereof, in order to verify the conformity of the information included in the relevant document with the actual situation at the installation, and shall request that a responsible person provide the experts with all the necessary information and allow such experts to become acquainted with the situation at the installation, to take samples and perform an assessment of the operation of the equipment and the intended risk reduction measures; and

41.2. propose to the State Environmental Service, rescue service, the State Labour Inspection, or the State Sanitary Inspection to perform control of the installation in accordance with the competence thereof and to assess the conformity of the information included in the industrial accident prevention programme, the safety report, or separate parts thereof, with the actual situation at the installation.

42. Experts shall prepare an opinion within the time period indicated by a commission regarding an industrial accident prevention programme, a safety report or the situation at an installation, which shall include:

42.1. the criteria and methods used in the assessment, as well as a substantiation for the selection thereof; and

42.2. conclusions and a substantiation thereof.

43. In assessing an industrial accident prevention programme or safety report, a commission shall:

43.1. examine the conformity of the industrial accident prevention programme or safety report with the requirements of these Regulations within a period of two months after the submission of the industrial accident prevention programme or safety report;

43.2. analyse whether the measures included in the industrial accident prevention programme or safety report ensure adequate safety to people and the environment;

43.3. request additional information from a responsible person if the submitted documents do not contain all the necessary information, or decide regarding the necessity of an additional expert-examination or examination;

43.4. examine the opinions prepared by experts and evaluate the views recorded in writing in a public consultation;

43.5. develop proposals regarding additional measures that would prevent an industrial accident or reduce the harmful consequences thereof to people or the environment and which the responsible person shall include in the industrial accident prevention programme or safety report;

43.6. prepare recommendations to the Environment State Bureau for the taking of a decision; and

43.7. recommend a rescue service not to prepare an off-installation civil protection plan if the information included in the safety report indicates that the environment or the people outside of the territory of the installation will not be endangered in case of an industrial accident.

44. The Environment State Bureau, taking into account the recommendations of a commission, shall take a decision and within a period of three weeks after the receipt of such recommendations shall:

44.1. perform one of the following actions:

44.1.1. prepare an opinion and inform a responsible person in writing regarding the fact that an industrial accident prevention programme or safety report has been prepared in accordance with the requirements of these Regulations and that the operation of the installation may be commenced or continued without additional conditions, taking into account the measures provided for in the industrial accident prevention programme or safety report;

44.1.2. assign the responsible person to make amendments or additions to the industrial accident prevention programme or safety report, indicating the time periods for the performance of such activities, or assign the implementation of additional measures that would reduce the threat of industrial accidents and increase safety to people and the environment, and concurrently permit or prohibit the commencement of the planned operation of the production unit or installation; or

44.1.3. assign the responsible person to draw up a new industrial accident prevention plan or safety report that would conform to the requirements of these Regulations, as well as determine the time periods within which the responsible person shall take additional measures that would reduce the threat of industrial accidents and increase safety to people and the environment, and concurrently permit or prohibit the commencement of the planned operation of the production unit or installation; and

44.2. inform the State Environmental Service, the State Labour Inspection and the rescue service regarding the production units or installations the responsible persons of which are subject to the conditions referred to in Sub-paragraph 44.1.2 or 44.1.3 of these Regulations, and the threats created by such undertakings or installations to people or the environment, so that the State Environmental Service, the State Labour Inspection or the rescue service may decide in accordance with the procedures specified by regulatory enactments regarding the necessity to suspend the operation of the relevant production unit or installation.

45. A decision of the Environment State Bureau may be appealed to a court.

VI. Procedures for Updating and Supplementing of Industrial Accident Prevention Programmes and Safety Reports

46. A responsible person shall prepare and present a submission to a regional environmental board in accordance with the procedures specified in these Regulations. The submission shall be presented not later than three months prior to the day when the following is intended at an installation:

46.1. to begin the production, processing, utilisation or storage of dangerous substances that are not referred to in an industrial accident prevention programme or safety report in such quantities that are equal to or larger than the minimum qualifying quantities indicated in Annex 1 of these Regulations, or the quantity criterion of dangerous substances, which is calculated by taking into account the minimum qualifying quantities referred to in Annex 1 of these Regulations, is equal to or greater than 1

46.2. to perform  such actions with dangerous substances that are not provided for in a submission, industrial accident prevention programme or safety report presented previously;

46.3. to make changes in the equipment or the technological process in which dangerous substances are utilised if such equipment or substances may increase the risk presented by an industrial accident;

46.4. to increase the quantity of one or several dangerous substances at the installation by more than 10 % of the maximum quantity indicated in the industrial accident prevention programme or safety report; or

46.5. to change the physical state of one or several dangerous substances by more than 10 % of the maximum quantity indicated in the industrial accident prevention programme or safety report.

47. A regional environmental board shall examine a submission in accordance with the procedures specified in Chapter II of these Regulations and, if necessary, assign a responsible person to make amendments to an industrial accident prevention programme or safety report.

48. A responsible person shall assess an industrial accident prevention programme or safety report and, if necessary, update or supplement such programme or report, as well as submit to the Environment State Bureau:

48.1. the industrial accident prevention programme or safety report, if the regional environmental board has assigned the responsible person in accordance with Paragraph 47 of these Regulations to make amendments to the industrial accident prevention programme or safety report;

48.2. the industrial accident prevention programme or safety report on the initiative of the responsible person or at the request of the Environment State Bureau, if such report or report is substantiated by new facts (including an analysis of data regarding accidents that have occurred), a detected domino effect or new technical information regarding safety provision; and

48.3. the safety report - not less than once every five years.

49. An updated industrial accident prevention programme or safety report shall be evaluated in accordance with the procedures specified in Chapter V of these Regulations.

VII. Assessment of Domino Effect and Requirements for Installations that may Cause Domino Effect or be Affected by Such Effect

50. The Environment State Bureau, by utilising the information provided in a submission, industrial accident prevention programmes and safety reports or other information and, if necessary, by inviting experts, shall specify the installations or groups of installations that may cause a domino effect – an undesirable mutual influence of two or more installations that increases the probability of an industrial accident or aggravates the consequences of an accident, in relation to:

50.1. dangerous substances that are located at the installations, the properties, physical state and quantity thereof;

50.2. the parameters of technological equipment, facilities or technological processes;

50.3. the layout of such installations or technological equipment; and

50.4. the sources of external risk.

51. The Environment State Bureau shall provide information regarding the domino effect to regional environmental boards, a rescue service, the responsible persons of such installations that may cause the domino effect or may be affected by such effect, as well as to the relevant local governments.

52. If installations may cause the domino effect or may be affected by the domino effect, the responsible persons of such installations shall:

52.1. agree regarding the procedures by which the reciprocal exchange of information shall be performed in case of undesirable events or an industrial accident within a period of one month after the receipt of the information provided by the Environment State Bureau;

52.2. in drawing up or supplementing an industrial accident prevention programme or a safety report and the civil protection plan of an installation, as well as in organising the safety system, take into account the overall hazard and risk of possible industrial accidents, as well as the severity and spread of the combined consequences of such industrial accident;

52.3. in planning the industrial accident risk reduction measures, provide for measures for the reduction of the domino effect; and

52.4. provide information to a rescue service, the relevant local government and the public, indicating the principal factors and circumstances that cause or facilitate the domino effect, information regarding the domino effect, as well as a characterisation of the overall hazard and risk of industrial accidents.

VIII. Requirements for the Planning of Installations and Surrounding Territories thereof and the Indication of Installations in Territorial Planning

53. The installations to which these Regulations apply shall be sensitive installations. Such installations shall be indicated in territorial planning.

54. In order to ensure the determination of sensitive territories of national significance, the marking thereof in maps and the actualisation thereof in a national-level territorial planning, the Environment State Bureau shall regularly inform the Ministry of Regional Development and Local Governments regarding the installations for which safety reports shall be drawn up, and the territory that may be affected by potential industrial accidents at such installations or the domino effect caused by such accidents.

55. The Environment State Bureau shall provide:

55.1. information to the relevant local governments regarding installations to which these Regulations apply and territories that may be affected by potential industrial accidents at such installations or by the domino effect caused by such accidents; and

55.2. recommendations regarding restrictions on the utilisation of territories, distances between an installation and territories of residential buildings or other territories, and other risk reduction measures that have been recommended after an assessment or provided for in a safety report or industrial accident prevention programme.

56. Taking into account the requirements of regulatory enactments and the recommendations of the Environment State Bureau, risk reduction measures shall be provided for in territorial planning at all levels, and a safe distance shall be planned:

56.1. between installations;

56.2. between an installation and the territories of residential or public buildings that contain or in which the territorial planning intends to place residential or public buildings, respectively, as well as between an installation and territories with intensive movement of people (for example, bus stations, railway stations or passenger ports);

56.3. between an installation and structures or other installations that may facilitate industrial accidents or the occurrence of the domino effect, or aggravate the consequences of industrial accidents (for example, a petrol station, railway on which dangerous goods are carried);

56.4. between an installation and specially protected natural territories, micro-reserves and protective zones for the protection of environmental and natural resources; and

56.5. in other cases if in relation to the hazard and layout of installations it is necessary determine restrictions on the utilisation of territories.

57. In planning safe distances and other risk reduction measures, the following shall be taken into account in a territorial planning:

57.1. a characterisation of the potential industrial accident (including the possibility of an industrial accident and the approximate scale of the consequences thereof);

57.2. territory in which it is necessary to take measures for protection against industrial accidents; and

57.3. the necessity to establish a protective zone in the territory that could be affected by an industrial accident or a domino effect, or to determine other restrictions on the utilisation of the territory that reduce the risk of an industrial accident for people and the environment if it is impossible to prevent such risk by taking other risk reduction measures.

58. In order to reduce an industrial accident risk to people and the environment, restrictions shall be specified in territorial planning at all levels on the utilisation of territories in the vicinity of the planned or existing installations in relation to:

58.1. the planning or expansion of the territories of residential buildings , or the increase of the density of an existing building territory;

58.2. the territorial planning of educational, health care, public institutions and other institutions or undertakings with intensive movement of people (for example, banks, courts, commercial undertakings);

58.3. the territorial planning of the cultural environment, recreational and tourism services and lodgings;

58.4. the planning of airports, ports, marshalling yards, motorways, railways or waterways;

58.5. an increase in the intensity of transport or transhipment, the planning of new routes for the carriage of dangerous goods or an increase in the intensity thereof;

58.6. the planning of pipeline facilities (also pumping-stations) for the transportation of dangerous substances; and

58.7. the planning of other installations or different utilisation, or planning of utilisation, of territories, if due to such planning the possibility of an industrial accident or the domino effect could increase, or the consequences of such accident could be aggravated.

59. A responsible person, taking into account the specified restrictions, shall provide for territorial planning measures of an installation that ensure the possibility to prevent industrial accidents or reduce the risk of such accidents, or the impact thereof, on people or the environment, by:

59.1. designing the installation or planning the layout of the installation, as well as planning changes at the installation;

59.2. developing, updating or supplementing an industrial accident prevention programme or a safety report; and

59.3. if densely populated territories or otherwise intensively utilised territories are located in the vicinity of the existing installation and therefore it is not possible to determine restrictions on the utilisation of the territory that would ensure the possibility to reduce the impact of industrial accidents on people or the environment, or the specified restrictions on the utilisation of the territory are insufficient and an industrial accident at the installation may endanger human life outside the installation, the responsible person of the installation shall take such technical measures that ensure the prevention of industrial accidents or the reduction of the risk of such accidents or the impact thereof on people or the environment.

60. In the course of a public consultation of all types of territorial planning, the organisers of the consultation shall invite the relevant specialists who shall ensure an explanation regarding the industrial accident risk that the installations subject to the requirements of these Regulations present. A responsible person shall ensure the participation of the relevant specialists in the public consultation and an explanation regarding the risk of an industrial accident presented by the installation under the management thereof. The Environment State Bureau shall ensure an explanation regarding the essence of industrial accident risks (the possible effect of an industrial accident on the environment or on human life or health).

IX. Civil Protection Plan of an Installation

61. A responsible person shall develop the civil protection plan of an installation, which shall include information regarding the designation of responsible employees in matters of civil protection, the establishment of civil protection formations and the ensuring of the readiness thereof, the notification and alarm system at the installation, the training of employees in matters of civil protection, the available resources that are required in cases of industrial accidents or other emergency situations, as well as regarding the planned and taken preventive measures and preparedness for the taking of response and consequence-liquidation measures in case of an industrial accident or emergency in order to eliminate or contain industrial accidents or emergency situations in the territory of the installation and reduce the impact thereof on people, property and the environment.

62. A responsible person shall acquaint the employees of an installation with a civil protection plan.

63. In drawing up the civil protection plan of an installation, a responsible person shall take into account:

63.1. the information obtained during the assessment of the installation from the perspective of human safety and environmental protection, as well as during the performance of an industrial accident risk assessment;

63.2. proposals of a rescue service:

63.2.1. regarding the preventive, response and consequence-liquidation measures to be included in the civil protection plan of the installation, action in case of an industrial accident or emergency, the resources to be involved and requirements for ensuring the readiness of the civil protection formations (units, groups) of the installation depending on the hazard of the installation or other installations located in the vicinity;

63.2.2. in relation to the co-operation of the civil protection formations (units, groups) of the installation with the rescue service in cases of industrial accidents or other emergency situations; and

63.2.3. in relation to other information regarding the installation that is necessary for the rescue service and the relevant local government in order to develop an off-installation civil protection plan and ensure co-operation and mutual assistance, and which shall be indicated in the civil protection plan of the installation;

63.3. recommendations of the employees of the installation regarding the measures to be included in the civil protection plan of the installation and the implementation of such plan in case of an industrial accident or emergency; and

63.4. requirements specified by other regulatory enactments that regulate activities or action in cases of undesirable events, accidents or industrial accidents, or emergency situations.

64. A responsible person shall provide for measures in the civil protection plan of an installation, which shall:

64.1. ensure the containment, control and elimination of undesirable events or industrial accidents in the territory of the installation, as well as reduce the impact of and damage caused by an undesirable event or industrial accident;

64.2. be related to the protection of people and the environment in the territory of the installation in case of an industrial accident;

64.3. ensure first aid and emergency medical assistance if people have suffered in an industrial accident;

64.4. prevent or delay the spread of the consequences of an industrial accident outside the territory of the installation;

64.5. ensure the warning of the population and timely provision of information to State institutions, society and local governments in the endangered territory; and

64.6. ensure the survey, depollution and environmental restoration of the polluted area in order to eliminate the effects of an industrial accident on people or the environment.

65. The following shall be indicated in the civil protection plan of an installation:

65.1. the persons who take a decision regarding the commencement of the implementation of the civil protection plan of the installation, the co-ordination of action, the management of measures to reduce the hazard and consequences of an accident in case of undesirable events, industrial accidents or the immediate threat thereof at the installation, and who are responsible for the implementation of consequence-liquidation measures after an industrial accident;

65.2. the persons who are responsible for daily communication with a rescue service, other State institutions, local governments and emergency services, and co-operation with the referred to institutions, local governments and services in case of an undesirable event, industrial accident or the immediate threat thereof;

65.3. a description regarding the action to reduce or contain the scale or severity of the undesirable consequences of an undesirable event or industrial accident and to control the situation (indicating the equipment that must be protected or saved from the impact of the industrial accident, as well as emergency exits, assembly points, evacuation pathways and the procedures for shutting down technological processes or production units);

65.4. measures that reduce the risk to employees at their workplace and other persons who are located in the territory of the installation:

65.4.1. warning regarding threats, information regarding action in case of an accident or emergency and the protection measures to be taken, as well as further information;

65.4.2. a description of action to be taken by employees after the receipt of a warning;

65.4.3. safety measures for employees and other persons who are located in the territory of the installation; and

65.4.4. first aid and emergency medical assistance measures for victims;

65.5. a characterisation of resources (including material reserves, alarm systems, other safety equipment, adequately trained employees and other available resources), indicating:

65.5.1. the resources that are available at the production unit and installation; and

65.5.2. the resources that are intended to be supplied from other merchants in accordance with a mutual assistance and co-operation agreement, as well as the time period within which it is possible to receive the relevant resources; and

65.6. the time period within which a rescue service and other emergency services may arrive at the place of an industrial accident after the receipt of the relevant information.

66. A short summary shall be provided in the civil protection plan of an installation regarding the scenarios of the development of possible industrial accidents and the severity and spread of the combined consequences of such industrial accidents.

67. The civil protection plan of an installation shall provide a characterisation of the system of warning measures, indicating:

67.1. a description of the fire-detection and alarm notification system, population-notification and emergency-signal system, as well as a description of the communications system, indicating the procedures and method by which a responsible person shall warn the population, a rescue service, the relevant local governments and other institutions regarding an industrial accident or the immediate threat of an industrial accident;

67.2. the procedures by which undesirable events, accidents or the immediate threat of an industrial accident shall be registered; and

67.3. the information that is included in the initial warning, and the procedures by which the responsible person shall provide further information, as well as more detailed information, as soon as such information becomes available

68. A responsible person shall indicate in the civil protection plan of an installation the procedures by which the theoretical and practical training of employees shall be conducted for measures that are intended to be taken:

68.1. in case of an undesirable event or industrial accident, or emergency situation, in the territory of a production unit or the installation; and

68.2. in case of an industrial accident or emergency outside the territory of the installation, implementing co-operation and mutual assistance plans with a rescue service, other State institutions and emergency services.

69. The civil protection plan of an installation shall indicate the measures and the procedures by which assistance shall be provided to a rescue service and by which activities shall be performed outside the territory of the installation in order to reduce the hazard or consequences of an industrial accident.

70. A responsible person shall provide to a rescue service the information regarding an installation that is necessary in order for the rescue service and the relevant local government to jointly develop an off-installation civil protection plan for action in case of an industrial accident or emergency, as well as to provide for and ensure co-operation and mutual assistance with the civil protection formations (units, groups) of the installation in cases of industrial accidents or emergencies.

X. Procedures for Assessment of Civil Protection Plan of an Installation and for Drawing Up Off-Installation Civil Protection Plan

71. A responsible person shall submit the civil protection plan of an installation together with the necessary additional information to the territorial unit of a rescue service not later than three months prior to the commencement of operation of the installation or reaching the amount of dangerous substances indicated in Paragraph 15 of these Regulations.

72. A rescue service shall:

72.1. evaluate the civil protection plan of an installation jointly with the relevant local government or local governments within a period of one month after the receipt thereof;

72.2. notify the Environment State Bureau and the relevant local governments if, based on a recommendation of a risk assessment commission, an off-installation civil protection plan is not being developed;

72.3. organise and manage the development of an off-installation civil protection plan, specifying the duties of State institutions and local governments, the material reserves and other resources that are intended for emergency actions and measures in order to contain or eliminate industrial accidents and to reduce the effects of such accidents on people and the environment outside the territory of the installation; and

72.4. within a period of three months after the evaluation of the civil protection plan of the installation draw up an off-installation civil protection plan that is a part of a republic city or district civil protection plan.

73. In assessing the civil protection plan of an installation, as well as in organising the drawing up of an off-installation civil protection plan, the relevant territorial unit of a rescue service shall invite (if necessary):

73.1. the regional co-ordinator of the Centre of Emergency and Disaster Medicine, who shall evaluate the health protection and medical matters related to industrial accident risk, and ensure the planning of the provision of emergency medical assistance;

73.2. the regional representative of the State Agency Sabiedrības veselības aģentūra [Public Health Agency], who shall evaluate the intended health protection measures;

73.3. representatives of the relevant local governments who shall deal with the issues population and worker safety of the local government related to the industrial accident risk (for example, the ensuring of evacuation);

73.4. a representative of the relevant regional environmental board who shall evaluate the intended environmental protection measures; and.

73.5. experts.

74. In assessing the civil protection plan of an installation and taking into account the opinions of other State institutions and experts, a rescue service jointly with the relevant local government shall:

74.1. examine the possible means by which dangerous substances spread and the effects on people or the environment, the operation of planned emergency readiness and civil defence systems, material reserves and other resources, environmental protection, explosion safety, fire safety, evacuation and other matters that are related to the planning of action in cases of industrial accidents and emergencies;

74.2. request additional information from a responsible person if the submitted documents do not contain all the necessary information; and

74.3. submit proposals regarding additional measures that are necessary in order to prevent an industrial accident or reduce the effects of harmful consequences thereof on people or the environment, and which the responsible person shall include in the civil protection plan of the installation.

75. A rescue service shall take one of the following decisions:

75.1. the civil protection plan of an installation has been drawn up in accordance with the requirements of these Regulations and the operation of the installation may commence or continue without additional conditions;

75.2. the operation of an installation may commence or be continued, but corrections, amendments or additions to the civil protection plan of the installation are necessary; or

75.3. in order to commence or continue the operation of an installation, corrections or additions to the civil protection plan of the installation are necessary, or a new civil protection plan of the installation that conforms to the requirements of these Regulations must be drawn up, as well as:

75.3.1. decide in accordance with the procedures specified by regulatory enactments regarding the necessity to suspend the operation of an existing production unit if the norms of fire safety and explosion hazard have been violated; or

75.3.2. inform the State Environmental Service and the State Labour Inspection regarding the production units or installations the responsible persons of which are subject to the conditions referred to in Sub-paragraph 78.3 of these Regulations, and regarding the threats such production units or installations create to people or the environment so that the State Environmental Service or the State Labour Inspection can decide in accordance with the procedures specified by regulatory enactments regarding the necessity to suspend the operation of the relevant production unit or installation.

76. In order to prevent the duplication of information, a rescue service may include in an off-installation civil protection plan parts of documents or other plans, or utilise plans prepared in accordance with the requirements of other regulatory enactments as an off-installation civil protection plan if such documents conform to the requirements of these Regulations.

77. A rescue service shall provide for the following in an off-installation civil protection plan:

77.1. the localisation and elimination of accidents or industrial accidents in order to reduce the effects of and the damage inflicted by an undesirable event or industrial accident;

77.2. the organisation of the protection and rescue of people in case of an industrial accident; and

77.3. the ensuring of the provision of information to institutions, merchants, local governments and the public in the territory endangered by an industrial accident in accordance with the requirements referred to in Chapter XI of these Regulations, as well as in case of an industrial accident.

78. An off-installation civil protection plan shall:

78.1. indicate such officials who are authorised to take response and consequence-liquidation measures in case of an industrial accident or immediate threat thereof, as well as such officials who are authorised to take the lead and co-ordinate activities outside the territory of the installation;

78.2. provide a characterisation of the warning system, indicating:

78.2.1. the procedures by which a rescue service, local government and other responsible authorities receive and give a warning or information regarding an undesirable event or industrial accident;

78.2.2. the procedures for alarm notification and the procedures for summoning emergency or operative services; and

78.2.3. a characterisation of the notification and alarm system;

78.3. indicate the resources necessary for the implementation of the off-installation civil protection plan (including material reserves, employees and other available resources);

78.4. characterise the response and consequence-liquidation emergency measures and the procedures by which the containment and reduction of the hazard and consequences of an industrial accident shall be performed outside the territory of the installation;

78.5. characterise a co-operation and mutual assistance system for the performance of response and consequence-liquidation emergency measures, indicating:

78.5.1. the procedures by which a rescue service, other State institutions and local governments shall provide assistance to the employees of the installation for the performance of response and consequence-liquidation emergency measures within the territory of the installation;

78.5.2. the State institutions, local government services or other emergency or operative services and the involved merchants, which participate in the implementation of the off-installation civil protection plan, and the functions thereof; and

78.5.3. the procedures by which the employees of the installation provide assistance to the rescue service or other State or local government institutions for the taking of response and consequence-liquidation emergency measures outside the territory of the installation;

78.6. describe the procedures by which the population shall be warned regarding threats and by which information shall be provided to the population regarding action in case of an industrial accident and the protection measures to be taken;

78.7. describe the procedures by which the relevant services of other states shall be informed in case of an industrial accident, if transboundary impact of the accident is possible; and

78.8. indicate the possible time period after the receipt of information within which a rescue service and other emergency services may arrive at the place of an industrial accident. The time period shall be determined by taking into account the distance of the location of the rescue service and emergency services from the installation, the technical and organisational supply of such services and road conditions.

79. In developing an off-installation civil protection plan, the layout of installations or the possible effect of external factors (especially the domino effect) shall be taken into account.

80. A responsible person and a rescue service shall examine the civil protection plan of an installation and an off-installation civil protection plan in practical training not less than once every three years, as well as review such plans and, if necessary, update or supplement such plans.

81. In examining the civil protection plan of an installation or an off-installation civil protection plan after practical training, the following shall be taken into account:

81.1. the experience acquired and the conclusions made;

81.2. changes that have taken place at the installation;

81.3. changes that have occurred to the functions and material and technical supply of State institutions, local governments or emergency services;

81.4. the latest technical knowledge or information regarding effective measures for the reduction or elimination of industrial accidents;

81.5. amendments to regulatory enactments; and

81.6. other factors that may affect the implementation of the referred to plans.

XI. Notification regarding Protection and Safety Measures

82. A responsible person shall ensure free public access to an industrial accident prevention programme or a safety report, as well as to information regarding the presence of dangerous substances (a list of dangerous substances) at an installation.

83. The Internet homepage of the Environment State Bureau shall indicate where and when one may become acquainted with an industrial accident prevention programme or safety report prepared by a responsible person.

84. If an industrial accident prevention programme or a safety report contains information that is considered to be restricted access information in accordance with regulatory enactments, the Environment State Bureau shall take a decision, on the basis of a submission presented by a responsible person, regarding restricted access to some sections of the programme or the safety report. In such case, the responsible person shall additionally prepare an abridged programme or safety report that does not contain restricted access information and is freely accessible to the public.

85. Access to the following information may not be restricted:

85.1. the physical, chemical, toxicological or ecotoxicological properties of dangerous substances;

85.2. the ways and methods by which to render a dangerous substance harmless;

85.3. information regarding the harmful effects of a dangerous substance on a human being or the environment;

85.4. information regarding the safety measures to be observed during the handling of dangerous substances; and

85.5. information regarding first aid and emergency measures that shall be taken if poisoning with a dangerous substance has occurred, a fire has started, or another undesirable event or accident has occurred.

86. Prior to submitting the safety report and the civil protection plan of an installation, a responsible person shall publish an announcement in the newspaper Latvijas Vēstnesis [the official gazette of the Government of Latvia] and in least in one local newspaper at least 10 days before the provision of information to the public, indicating therein:

86.1. where and when one may become acquainted with the safety report;

86.2. when a public consultation regarding the safety report and an off-installation civil protection plan will take place; and

86.3. the deadline by which the public may submit questions and proposals to the responsible person and a rescue service regarding the off-installation civil protection plan.

87. A responsible person shall ensure a public consultation regarding a safety report and the civil protection plan of an installation at a publicly accessible place and time.

88. A responsible person shall provide the following information during a public consultation of a safety report and an off-installation civil protection plan:

88.1. the address of the merchant and the installation, and information regarding the owner or owners of such installation who own at least 5 % of the equity capital of the capital company, and the responsible person;

88.2. data regarding the provider of the information, indicating his or her position;

88.3. an outline of the operations of the installation or equipment;

88.4. the following information regarding the dangerous substances that are located at the installation and which may cause an industrial accident:

88.4.1. the classification and names of substances and the affiliation thereof to a specific hazard class in accordance with Annex 1 of these Regulations; and

88.4.2. a characterisation of the hazard of the substances, indicating the most important symptoms and consequences caused by the effects of the substance;

88.5. information regarding the industrial accident hazard and the risk factors, as well as the potential effects of an industrial accident on human health, life, property and the environment;

88.6. information regarding how people will be warned and informed regarding an industrial accident, and how people who may be affected by such accident should act and behave;

88.7. a report regarding the civil protection plan of the installation and the material and technical reserves at the installation;

88.8. an overview regarding the operative communications system and co-operation with a rescue service and other operative services in case of accidents or emergencies;

88.9. a report regarding emergency measures at the installation in case of industrial accidents; and

88.10. information regarding where additional information may be acquired.

89. A responsible person shall ensure the opportunity for the public to express a viewpoint regarding:

89.1. safety and protection measures that are intended for implementation during an industrial accident in accordance with a safety report or the civil protection plan of an installation; and

89.2. the operation or expansion of the operation of an installation, and the organisation of the safety system at an installation.

90. During a public consultation, a rescue service shall:

90.1. inform the public regarding the protection and safety measures provided for in an off-installation civil protection plan, as well as regarding the measures for the containment, reduction or elimination of industrial accidents or the consequences thereof outside the territory of an installation;

90.2. inform the public regarding the intended assistance for the elimination of industrial accidents in the territory of the installation; and

90.3. listen to the public opinion and evaluate proposals regarding the safety measures provided for in the off-installation civil protection plan.

91. A responsible person shall invite to a public consultation representatives of local governments, the regional environmental board, as well as of other institutions referred to in these Regulations, and representatives and experts from public organisations.

92. A responsible person shall provide inhabitants who may be affected by an industrial accident with informative materials which inform regarding the action in case of an industrial accident and the intended protection measures and which contain the information referred to in Paragraph 88 of these Regulations (also in cases where the public does not request such information). The informative materials shall be co-ordinated with a rescue service by submitting the civil protection plan of an installation. Upon co-ordination with the rescue service, the responsible person shall distribute informative materials to the public, providing one copy to each household, institution and merchant, which may be directly affected by an industrial accident at the installation.

93. A responsible person shall inform the public in accordance with the procedures provided for in these Regulations not less than once every five years, as well as after the review of a safety report or civil protection plan of an installation and an off-installation civil protection plan, or in the case where the transformation of the installation is intended.

94. Any natural or legal person may submit a complaint to the Environment State Bureau regarding inadequate information of the public.

95. The Ministry of Environment, on the basis of information prepared by the Environment State Bureau and a rescue service, and after co-ordination with the Ministry of Foreign Affairs, shall inform:

95.1. regarding the results of an industrial accident risk assessment and the risk reduction measures – the competent institutions in the states that may be affected as a result of industrial accidents;

95.2. the competent institutions of the relevant states, if the installation to which these Regulations apply is located closer than 15 km from the border of another state, yet such installation cannot create a risk of an industrial accident outside the territory of Latvia; or

95.3. the Commission of the European Communities:

95.3.1. if Paragraph 30 of these Regulations is applied;

95.3.2. if Sub-paragraph 43.7 is applied;

95.3.3. if necessary, regarding the installations identified in accordance with these Regulations, the received submissions, industrial accident prevention programmes, the evaluated safety reports or civil protection plans of an installation, the drawn up off-installation civil protection plans, the performed inspections, the provided information related to safety and protection measures, the determined domino effect, as well as regarding the territorial planning wherein restrictions on territory utilisation are provided for due to the layout of existing installations or restrictions on the construction of new installations; and

95.3.4. regarding the installations identified in accordance with these Regulations, indicating the given name and surname of a responsible person (if the responsible person is a natural person), the firm name, registration number in the Commercial Register and the legal address (if the responsible person is a legal person), the firm name of the owner or owners of a production unit, the registration number in the Commercial Register and the legal address, the name of the production unit (if such name differs from the firm name of the owner), the address of the production unit and the field or fields of operation of the production unit.

96. Information provided to another state shall be sufficient to enable the relevant state to take into account the hazard and risk of an installation in preparing the territorial planning of such state and in drawing up civil protection plans, as well as to inform the public.

XII. Actions in the Case of an Industrial Accident or a Threat Thereof

97. If an undesirable event occurs that may cause an industrial accident, a responsible person shall:

97.1. immediately ensure the implementation of the measures intended for the prevention of an industrial accident;

97.2. assess the situation that has arisen;

97.3. inform the territorial unit of the relevant rescue service regarding the situation that has arisen and regarding the potential threats; and

97.4. if necessary, take other measures.

98. If an undesirable event creates an immediate threat of an industrial accident:

98.1. a responsible person shall immediately do the following in accordance with the civil protection plan of the installation:

98.1.1. notify the relevant territorial unit of a rescue service, the relevant local government and regional environmental board, as well as other institutions, if necessary, regarding such immediate threat;

98.1.2. implement the provided for measures in order to prevent the industrial accident and prepare for the containment or elimination of the industrial accident; and

98.1.3. assess the situation that has arisen and, if necessary, take other measures; and

98.2. the territorial unit of the relevant rescue service, in accordance with an off-installation civil protection plan, as well as in assessing the situation that has arisen, shall:

98.2.1. implement measures in order to prepare for the containment or elimination of the industrial accident;

98.2.2. involve local governments, other institutions and services in the implementation of the measures in order to prepare for the containment or elimination of the industrial accident;

98.2.3. provide assistance to the responsible person in the prevention of the industrial accident;

98.2.4. warn the neighbourhood population and other people who are located in the area of the potential effects of the industrial accident, and provide information regarding protection, safety and first aid measures; and

98.2.5. if necessary, take other measures.

99. When an industrial accident begins and during an industrial accident:

99.1. a responsible person shall immediately:

99.1.1. notify the relevant territorial unit of a rescue service, the relevant local government and regional environmental board, as well as other institutions, if necessary, regarding such accident; and

99.1.2. implement measures in order to monitor, contain or eliminate the industrial accident or reduce the consequences thereof in accordance with the civil protection plan of an installation or an off-installation civil protection plan or on the basis of a request of officials of a rescue service;

99.2. the rescue service shall immediately organise and manage the implementation of an off-installation civil protection plan, as well as implement measures in order to contain or eliminate the industrial accident or reduce the consequences thereof; and

99.3. other State institutions, local governments and merchants shall participate in the implementation of measures in order to contain or eliminate the industrial accident or to reduce the consequences thereof if such implementation is provided for by an off-installation civil protection plan or requested by officials of the rescue service:

99.3.1. the Centre of Emergency and Disaster Medicine shall co-ordinate measures to provide emergency medical care and shall provide specialised emergency medical assistance in cases of industrial accidents and during the elimination of the consequences thereof;

99.3.2. the State Agency Sabiedrības veselības aģentūra [Public Health Agency] shall provide information regarding the effects of dangerous substances on people (especially regarding the direct or immediate effects of such substances and symptoms);

99.3.3. the State agency “Latvian Environment, Geology and Meteorology Agency” shall notify regarding meteorological conditions and prepare meteorological forecasts; and

99.3.4. the regional environmental board shall notify regarding the dangerous substances used at the installation, as well as regarding other installations or factors in the vicinity of the installation that may aggravate the consequences of the industrial accident.

100. In order to monitor the spreading of dangerous substances or the concentration thereof in the environment, as well as to reduce the effects of dangerous substances on people and the environment:

100.1. if necessary, express analyses of air, soil or water shall be performed within the area of immediate effects or immediate threat of an industrial accident where personal protective equipment must be used, or a rescue service or the emergency and rescue operation units of an installation shall take samples of dangerous substances;

100.2. if necessary, outside the area of immediate effects or immediate threat of an industrial accident where personal protective equipment or special clothing need not be used, representatives of an installation, the relevant regional environmental board or another laboratory shall take samples of dangerous substances in accordance with that which is provided for by the civil protection plan of the installation or an off-installation civil protection plan; or

100.3. if dangerous substances do not present an immediate threat to human life or health, a responsible person shall collect and store the dangerous substances in such a way that such substances do not endanger human life, health, property and the environment, as well as move such substances to specially equipped locations and perform other actions in accordance with the requirements specified by legislation regarding waste management.

101. In notifying regarding an undesirable event or an industrial accident, a responsible person shall indicate the following information:

101.1. the address, surname and position of the person providing the information, as well as the surname and position of the recipient of the information;

101.2. the time of the provision of the notice;

101.3. the place of the event (district, city or local government, the address of the installation) or other information that clarifies the location of the event;

101.4. information regarding the undesirable event or the industrial accident, indicating:

101.4.1. the type of the undesirable event or industrial accident and a brief characterisation thereof (for example, fire, explosion, emission of dangerous substances into air or water), as well as the scale and significance thereof;

101.4.2. observations, measurements or forecasts performed that would characterise the undesirable event or industrial accident, as well as the potential development thereof; and

101.4.3. risk created by the industrial accident at the installation (for example, a repeated explosion, leak of dangerous substances, poisoning of employees), and harmful effects on the neighbourhood population and other people who are located in the vicinity of the installation, or on the environment;

101.5. information regarding the dangerous substances involved in the accident – the names, dangerous properties or classification thereof in accordance with the Chemical Substances and Chemical Products Law (for example, toxic, ecotoxic, explosive, highly flammable), or the CAS numbers;

101.6. measures taken to contain, eliminate or reduce the consequences of the industrial accident, or other measures; and

101.7. necessary assistance.

XIII. Measures for Assessment and Reduction of the Consequences and Risk of Industrial Accidents after Industrial Accident

102. After an industrial accident the State Labour Inspection shall establish and head a commission for the assessment of the industrial accident (hereinafter – accident assessment commission), which shall include representatives of State institutions (taking into account the distribution of the competence thereof), a representative of the relevant local government and, if necessary, experts. The State Labour Inspection shall maintain a database with information regarding experts or institutions that may provide information that may be used in the assessment and prevention of industrial accidents, or for the reduction of the hazard and consequences thereof.

103. After an industrial accident, a responsible person shall notify the State Labour Inspection and the State Environmental Service in writing regarding the following:

103.1. the circumstances and possible causes of the industrial accident;

103.2. the dangerous substances involved in the industrial accident;

103.3. available information regarding the effects of the industrial accident on people and the environment;

103.4. measures taken to prevent and contain the industrial accident, and to eliminate or reduce the consequences thereof; and

103.5. measures that are provided for in order to:

103.5.1. reduce the medium-term and long-term effects of the industrial accident that has occurred; and

103.5.2. study the long-term effects and consequences of such accident; and

103.5.3. prevent the possibility of the recurrence of such accident.

104. If additional facts are disclosed, a responsible person shall update and supplement the information that is provided in accordance with Paragraph 103 of these Regulations.

105. An accident assessment commission shall:

105.1. gather information and assess the industrial accident in order to research the technical and technological causes and circumstances thereof, as well as the problems of the safety system of the installation that might have contributed to the occurrence of such accident;

105.2. based on the assessment materials of the industrial accident, assess the circumstances, causes and effects of such accident, as well as the risk to people or the environment created by the consequences of the industrial accident ; and

105.3. prepare a written opinion regarding the industrial accident that has occurred and recommendations or instructions regarding measures to be taken in the future in order to reduce the long-term effects of the accident on people and the environment, and to prevent similar industrial accidents.

106. Industrial accident assessment materials shall be:

106.1. deeds and protocols of examinations performed by State institutions (State Labour Inspection, a rescue service, State Environmental Service or the relevant regional environmental boards), which are drawn up at the place of an industrial accident;

106.2. minutes of meetings of an accident assessment commission;

106.3. laboratory examination protocols, technical calculations, the results of a technical modelling assessment or a documented risk assessment, deeds, expert opinions and other documents;

106.4. samples of dangerous substances emitted during an industrial accident, as well as samples of the contaminated environment (for example, contaminated soil or water);

106.5. documented information regarding the harm inflicted on nature, as well as information regarding the potential further threat to the environment;

106.6. photos, video materials, plans and diagrams of the location of the industrial accident with notes regarding undesirable events in the course of the industrial accident;

106.7. meteorological and hydrological information;

106.8. information regarding victims;

106.9. information regarding material losses incurred;

106.10. the safety report of the installation and the civil protection plan or the industrial accident prevention programme of the installation;

106.11. the plan of the installation and a diagram and description of the technological process of the installation or equipment;

106.12. inventory data or other information regarding dangerous substances (quantity, location, properties and physical state), or samples of such substances, as well as information regarding the dangerous equipment at the installation;

106.13. information regarding the safety system at the installation, including:

106.13.1. regarding the warning system and the ensuring of the safety of the technological process;

106.13.2. regarding the training, certification and job descriptions of employees and employee briefings, the periodicity and content thereof; and

106.13.3. regarding the accessibility of the safety data sheets of chemical substances and chemical products;

106.14. written explanations by witnesses of the accident;

106.15. information regarding violations of regulatory enactments; and

106.16. other documents related to the circumstances of the accident.

107. On the basis of an opinion and recommendations of an accident assessment commission, as well as on the basis of the deeds and reports of examinations performed by State institutions, a responsible person shall:

107.1. implement short-term, medium-term and long-term recovery measures that are necessary in order to reduce or prevent the effects of an industrial accident on people or the environment, including:

107.1.1. collect the waste caused during the industrial accident, separate dangerous waste, ensure safe temporary storage thereof and move such waste to specially equipped locations for the collection or temporary storage of dangerous waste in such a way that such waste does not endanger people, the environment or private property;

107.1.2. perform monitoring (for example, take and analyse samples, take measurements) and develop forecasts that are necessary in order to determine or assess the scope, gravity and spread of an industrial accident, as well as the harmful effects of such accident on people and the environment;

107.1.3. perform depollution of the polluted location; and

107.1.4. take other measures that are necessary in order to eliminate the consequences of the industrial accident;

107.2. implement measures that would prevent the possibility of recurrence of an industrial accident; and

107.3. if necessary, update and supplement an industrial accident prevention programme or a safety report and the civil protection plan of an installation in accordance with the procedures specified in these Regulations.

108. On the basis of information submitted by a responsible person and information compiled by an accident assessment commission, the State Environment Service shall maintain a database regarding industrial accidents that have occurred in the territory of Latvia and the measures taken, and compare the consequences of such accidents with the criteria specified in Annex 3 of these Regulations, taking into account the results of an industrial accident assessment. The referred to database shall include the following information:

108.1. the date of the occurrence of the industrial accident, the time when such accident began, and the duration and location thereof;

108.2. the name and address of the production unit and installation in which the industrial accident has occurred, as well as information regarding the responsible person and the owner of the installation;

108.3. the circumstances of the industrial accident, indicating the dangerous substances involved and the immediate effect thereof on people or the environment;

108.4. measures taken in order to contain and eliminate the industrial accident and to reduce the consequences thereof, as well as precautionary measures; and

108.5. measures taken in order to prevent the recurrence of an industrial accident.

109. The State Environmental Service shall prepare the information referred to in Paragraph 108 of these Regulations on the basis of the data included in a database, and provide such information to the Commission of the European Communities after an assessment of an industrial accident.

XIV. Inspection of Installations

110. The State Environmental Service shall prepare an inspection programme based on the information submitted regarding installations that ensures a regular complex examination of all the installations (to which these Regulations apply) – an inspection performed jointly by State institutions in order to check industrial accident risk reduction measures (especially the technical and organisational measures of the safety system) and the conformity of the information provided in an industrial accident prevention programme or a safety report to the actual situation at an installation.

111. An inspection programme shall provide for a complex examination to be performed not less than:

111.1. once in a calendar year – at each installation that draws up a safety report in accordance with these Regulations; and

111.2. once every three years – at other installations to which these Regulations apply.

112. Complex examinations of existing installations shall also be performed if a responsible person has not yet submitted the documents referred to in these Regulations.

113. A complex examination shall include an examination of the technical condition of an installation, organisational issues (especially of the safety system), documentation, the operation of equipment; the compliance with regulations regarding the use and storage of dangerous substances, compliance with fire safety regulations, emergency readiness, compliance with the requirements regarding work safety and protection (including safe usage of dangerous equipment), an examination of the compliance with the environmental and civil protection requirements, and the monitoring performed by a responsible person.

114. In order to perform a complex examination, the State Environmental Service shall establish and head an inspection commission, inviting representatives from a rescue service, the State Labour Inspection, the relevant regional environmental board and local government, as well as experts, if necessary.

115. An inspection commission shall examine the following at an installation:

115.1. whether the responsible person takes the necessary measures in order to prevent an industrial accident, but in the case of an industrial accident – to contain or reduce the consequences thereof;

115.2. the operation of the safety system (including whether the installation has the necessary employees and material and technical resources for the elimination of the consequences of an industrial accident and for the reduction of the effects thereof on people and the environment in the territory of the installation and outside the territory of the installation);

115.3. compliance of the data or information indicated in the safety report, the industrial accident prevention programme, or in other documents referred to in these Regulations with the actual situation;

115.4. whether the responsible person takes all measures that are necessary in accordance with these Regulations for the elimination of the consequences of an industrial accident or for the prevention of the possibility of recurrence of an industrial accident (if an industrial accident has occurred); and

115.5. public access to information in accordance with these Regulations.

116. At the beginning of a complex inspection of an installation, a responsible person shall immediately issue to an inspection commission the industrial accident prevention programme or the safety report, and the civil protection plan of the installation or other documents referred to in these Regulations.

117. In order to examine the conformity of the information provided in a safety report or an industrial accident prevention programme to the actual situation, members of an inspection commission have the right to take samples or perform an assessment of the operation of equipment.

118. An inspection commission shall prepare a written report regarding the assessment of the equipment operation or the taking and testing of samples, if necessary, attaching calculations, equipment specifications, the characterisation of the method of analysis of a dangerous substance and a substantiation for the selection of such method, as well as conclusions and the substantiation thereof.

119. If an inspection commission determines that the documents submitted by a responsible person do not reflect the actual situation and an industrial accident with more serious consequences is possible or the probability of the occurrence of such accident is greater than indicated in the submitted documents, the commission shall request additional information from the responsible person regarding:

119.1. the possibility of the occurrence and the consequences of such industrial accident (the possibility of the occurrence of an industrial accident with more serious consequences, or a greater possibility of the occurrence of a serious industrial accident);

119.2. dangerous substances, the properties, physical states, location thereof and other factors that have not been taken into account and that may cause such industrial accident or aggravate the consequences thereof;

119.3. the condition of the safety system at an installation; and

119.4. the emergency readiness of an installation and the operation of the safety system in case of an industrial accident.

120. The State Environmental Service shall prepare a joint inspection report regarding each performed examination, which shall be signed by all members of an inspection commission, and instructions for a responsible person.

121. A responsible person shall perform the improvements indicated in a report within the time periods specified in a joint inspection report.

122. On the basis of a joint inspection report, the State Environmental Service shall assign a responsible person to make amendments to an industrial accident prevention programme or to a safety report, but a rescue service – to the civil protection plan of an installation. In assessing and taking into account the amendments made to the civil protection plan of an installation, the rescue service shall make corrections in an off-installation civil protections plan.

XV. Financing of Assessment

123. Expenditures that are related to the services of experts (assessment of a submission, industrial accident prevention programme, safety report or the civil protection plan of an installation, assessment of the domino effect or assessment of industrial accidents) shall be covered from the resources of a merchant.

XVI. Closing Provisions

124. If an installation is in operation or has been put into service until the day of the coming into force of these Regulations and the maximum quantity of dangerous substance at the installation or at all the installations of a production unit that are located in a single territory may reach or exceed the minimum qualifying quantities indicated in Annex 1 of these Regulations, or the quantity criterion of dangerous substances (Qtotal), calculating in accordance with the formula referred to in Paragraph 27 of Annex 1 of these Regulations, is equal to or greater than 1, a responsible person shall:

124.1. present a submission regarding the dangerous substances at the installation to the relevant regional environmental board by 1 October 2005;

124.2. develop and sign an industrial accident prevention programme by 1 October 2005, if Paragraph 14 of these Regulations applies to the installation;

124.3. submit to the Environment State Bureau:

124.3.1. the industrial accident prevention programme – within a period of three months after the regional environmental board has informed the responsible person regarding whether the responsible person has correctly determined the presence of dangerous substances at the installation, if Paragraph 14 of these Regulations applies to the installation; and

124.3.2. a safety report – by 1 July 2006, if Paragraph 15 of these Regulations applies to the installation; and

124.4. sign and submit the civil protection plan of the installation to the relevant territorial division of a rescue service by 1 July 2006, if Paragraph 15 of these Regulations applies to the installation.

125. If by the day of the coming into force of these Regulations the responsible person of an installation has:

125.1. presented a submission regarding dangerous substances at the installation and an industrial accident prevention programme, then the responsible person does not need to present a submission regarding dangerous substances at the installation and a new industrial accident prevention programme, and decisions taken by the State Environmental Impact Assessment Bureau (as of 1January 2005 – the Environment State Bureau) shall be in effect, if Paragraph 14 of these Regulations applies to the installation; and

125.2. presented a submission regarding dangerous substances at the installation, a safety report and an installation emergency readiness plan, then the responsible person does not need to present a submission regarding dangerous substances at the installation, a new safety report and civil protection plan, and decisions (with regard to the safety report) taken by the State Environmental Impact Assessment Bureau (as of 1 January 2005 – the Environment State Bureau) and decisions (with regard to the installation emergency readiness plan) taken by a rescue service shall be in effect, if Paragraph 15 of these Regulations applies to the installation.

126. Cabinet Regulation No. 259 of 19 June 2001, Procedures for Industrial Accident Risk Assessment and Risk Reduction Measures (Latvijas Vēstnesis, [The Official Gazette of the Government of Latvia] 2001, No. 97), is repealed.

Informative Reference to European Union Directives

These Regulations contain legal norms arising from:

1) Council Directive 96/82/EC of 9 December 1996 on the control of major-accident hazards involving dangerous substances; and

2) Directive 2003/105/EC of the European Parliament and of the Council of 16 December 2003 amending Council Directive 96/82/EC on the control of major-accident hazards involving dangerous substances.

Prime Minister 				A. Kalvītis

Minister for Environment 			R. Vējonis

Annex 1

Cabinet Regulation No. 532

19 July 2005

# Dangerous Substances and the Qualifying Quantities thereof

1. The presence of a dangerous substance at an installation shall be determined by comparing the maximum quantity of dangerous substances at a production unit or installation with the corresponding minimum qualifying quantity. The dangerous substance is present at the production unit or installation if the maximum quantity of such dangerous substance at the production unit or installation has reached or may reach the minimum qualifying quantities indicated in this Annex, or if the quantity criterion of the dangerous substance (Qtotal) is greater than or equal to 1. The maximum quantity of the dangerous substance at a production unit shall be determined by adding up the maximum quantities of the dangerous substance at all the installations of the production unit that are located in a single territory.

2. In determining the maximum quantity of dangerous substances or in calculating the quantity criterion of dangerous substances, such dangerous substances shall be taken into account that simultaneously are present or may be present at an installation or at all the installations of a production unit that are located in a single territory in the following quantity:

2.1. is 2 % of the minimum qualifying quantity of the relevant substance or more; and

2.2. less than 2 % of the minimum qualifying quantity of the relevant substance, if the location of the dangerous substance at the installation is such that such dangerous substance may provoke an industrial accident.

3. A chemical product that contains dangerous chemical substances shall be dangerous if the concentration of the dangerous chemical substance in such chemical product is not less than the concentration specified in Cabinet Regulation No. 107 of 12 March 2002, Procedures for Classification, Labelling and Packaging of Chemical Substances and Chemical Products (hereinafter – Regulation No. 107). In handling such chemical product, the same requirements shall be complied with as in handling the relevant dangerous chemical substance.

4. If Table 1 or 2 of this Annex does not indicate the minimum qualifying quantity, then, in assessing the presence of a dangerous substance at a production unit or installation, the larger qualifying quantity shall be taken into account.

5. The maximum quantity of a dangerous substance at an installation for the dangerous substance indicated in Table 1 of this Annex shall be determined by adding up the largest quantities of such substance that are present or may be simultaneously present at the installation, or may arise as a result of uncontrollable chemical processes in raw materials, products, by-products, intermediate products and waste.

6. The maximum quantity of a dangerous substance at an installation for a group of dangerous substances (dangerous substances that are indicated in one Paragraph of Table 1 of this Annex) shall be determined by adding up all of the quantities of the dangerous substances belonging to the relevant group of dangerous substances (except polychlorodibenzodioxin or polychlorodibenzofuran – the quantities thereof shall be determined in accordance with Paragraphs 9 and 10 of this Annex).

7. Within the meaning of this Annex, a gas shall be any substance the absolute vapour pressure of which at temperature of 20 ° C that is equal to or greater than 101.3 kPa.

8. Within the meaning of this Annex, a liquid shall be any substance that does not correspond to the definition of gas and that is in a liquid physical state at temperature of 20° C and under standard pressure of 101.3 kPa.

Table 1

Qualifying Quantities for Dangerous Substances and for Groups of Dangerous Substances

| No. | Dangerous substances and groups of dangerous substances | Minimum qualifying quantity (in tonnes) | Maximum qualifying quantity (in tonnes) |
| --- | --- | --- | --- |
| 1. | Complex fertilisers containing ammonium nitrate, which also contain phosphates or potassium or both and which are capable of self-sustaining decomposition, if the nitrogen content therein ensured by ammonium nitrate is: - between 15.75 %2 and 24.5 %3 of the weight of the complex fertiliser, but the total content of combustible or organic materials does not exceed 0.4 %, or such complex fertiliser conforms to the requirements specified in the test referred to in Article 27 of Regulation (EC) No. 2003/2003 of the European Parliament and of the Council of 13 October 2003 relating to fertilisers (hereinafter – Parliament and Council Regulation No. 2003/2003) - does not exceed 15.75 %4 of the weight of the compound fertiliser, but the content of combustible materials is unrestricted | 5 000 | 10 000 |
| 2. | Ammonium nitrate-based fertiliser that complies with the requirements specified in the test referred to in Article 27 of the Parliament and Council Regulation No. 2003/2003: - fertiliser containing only ammonium nitrate; - complex ammonium nitrate fertiliser in which the nitrogen content ensured by the ammonium nitrate is: (a) more than 24.5 % of the weight of the complex ammonium nitrate fertiliser, except mixtures of ammonium nitrate with dolomite, limestone and/or calcium carbonate with a purity of at least 90 %; (b) more than 15.75 % of the weight of the complex ammonium nitrate fertiliser, if such fertiliser is a mixture of ammonium nitrate and ammonium sulphate; (c) more than 28.55 % of the weight of the complex ammonium nitrate fertiliser, if such fertiliser is a mixture of ammonium nitrate with dolomite, limestone and/or calcium carbonate with a purity of at least 90 %. | 1 250 | 5 000 |
| 3. | Ammonium nitrate and products and preparations containing ammonium nitrate and in which the nitrogen content ensured by ammonium nitrate is: – between 24.5 % and 28 % of the weight of the product or preparation and which contain not more than 0.4 % combustible substances; – more than 28 % of the weight of the product or preparation and which contain not more than 0.2 % combustible substances; - aqueous ammonium nitrate solutions in which the concentration of ammonium nitrate is more than 80 % of the weight of such solution | 350 | 2 500 |
| 4. | ‘off-specs’ material and fertilisers containing ammonium nitrate not fulfilling the denotation test, including: – raw materials, products, ancillary materials, intermediate products or preparations that have been rejected during the course of production; - chemical products and preparations containing ammonium nitrate, ammonium nitrate, complex ammonium nitrate fertiliser and fertilisers containing ammonium nitrate (not containing other essential constituents), if the user delivers or sends back such products and preparations to the manufacturer as a result of such products being non-compliant with the conditions indicated in Paragraphs 2 and 3 of this Table, returns them for temporary storage or submits such products and preparations for utilisation, recycling or treatment, in order for further utilisation of such products and preparations to be safe. the fertilisers indicated in the first indent of Paragraph 1 and in Paragraph 2 of this Table that do not comply with the requirements of the Parliament and Council Regulations No. 2003/2003, because such fertilisers do not comply with the test referred to in Paragraph 27 of this Regulation | 10 | 50 |
| 5. | Composite potassium-nitrate fertiliser containing potassium nitrate in prilled or granular form | 5 000 | 10 000 |
| 6. | Composite potassium-nitrate fertiliser containing potassium nitrate in crystalline form | 1 250 | 50 00 |
| 7. | Arsenic (V) oxide (diarsenic pentoxide), arsenic acid and its salts | 1 | 2 |
| 8. | Arsenic (III) oxide (diarsenic trioxide) arsenous acid and its salts |  | 0.1 |
| 9. | Bromine | 20 | 100 |
| 10. | Chlorine | 10 | 25 |
| 11. | Nickel powdered compounds: nickel (II) oxide (nickel monoxide), nickel (IV) oxide (nickel dioxide), nickel (II) sulfide (nickel disulfide), trinickel disulfide, nickel (III) oxide (dinickel trioxide) | – | 1 |
| 12. | Ethyleneimine | 10 | 20 |
| 13. | Fluorine | 10 | 20 |
| 14. | Formaldehyde (concentration is more than 90 %) | 5 | 50 |
| 15. | Hydrogen | 5 | 50 |
| 16. | Hydrogen chloride (liquefied gas) | 25 | 250 |
| 17. | Lead alkyl compounds | 5 | 50 |
| 18. | Liquefied extremely flammable gases (including liquefied hydrocarbon mixture obtained as a result of oil processing) or natural gas | 50 | 200 |
| 19. | Acetylene | 5 | 50 |
| 20. | Ethylene oxide | 5 | 50 |
| 21. | Propylene oxide | 5 | 50 |
| 22. | Methanol | 500 | 5 000 |
| 23. | 4,4-methylenebis (2-chloroaniline) and its salts, powdered | – | 0.01 |
| 24. | Methylisocyanate | – | 0.15 |
| 25. | Oxygen | 200 | 2 000 |
| 26. | Toluene diisocyanate | 10 | 100 |
| 27. | Carbonyl dichloride (phosgene) | 0.3 | 0.75 |
| 28. | Arsenic trihydride (arsine) | 0.2 | 1 |
| 29. | Phosphorus trihydride (phosphine) | 0.2 | 1 |
| 30. | Sulphur dichloride | 1 | 1 |
| 31. | Sulphur (VI) oxide (sulphur trioxide) | 15 | 75 |
| 32. | polychlorodibenzofurans or polychlorodibenzodioxins | – | 0.001 |
| 33. | The following carcinogens and/or dangerous chemical products that contain more than 5 % (per cent by weight) of one or several of the following carcinogenic substances: - 4-aminobiphenyl or its salts; - benzotrichloride; - benzidine or its salts; - bis-(chloromethyl) ether; - chloromethyl methyl ether; -1,2-dibromethane; - diethyl sulphate - dimethyl sulphate - dimethylcarbamoyl chloride; -1,2-dibromo-3-chloropropane; -1,2-dimethylhydrazine; - dimethylnitrosamine; - hexamethylphosphoric triamide; -hydrazine; - 2-naphthylamine or its salts; - 1,3-propanesultone; - 4-nitrodiphenyl | 0.5 | 2 |
| 34. | Petroleum products: (a) gasolines and naphthas; -{}-(b) kerosenes (including jet fuels); (c) gas oils (including diesel fuels, home heating oils and gas oil blending streams) | 2 500 | 25 000 |

Notes.

1. The capability of self-sustaining decomposition of the fertilisers containing ammonium nitrate or a complex fertiliser is determined by the UN Trough Test, which is described in the United Nations Recommendations on the Transport of Dangerous Goods: Manual of Tests and Criteria, Part II, subsection 38.2.

2. The nitrogen content 15.75 % (per cent by weight) corresponds to 45 % ammonium nitrate from the weight of the relevant fertiliser or another chemical product or preparation.

3. The nitrogen content 24.5 % (per cent by weight) corresponds to 70 % ammonium nitrate from the weight of the relevant fertiliser or another chemical product or preparation.

4. The nitrogen content 15.75 % (per cent by weight) corresponds to 45 % ammonium nitrate from the weight of the relevant product or another chemical product or preparation.

5. The nitrogen content 28 % (per cent by weight) corresponds to 80 % ammonium nitrate from the weight of the relevant product or another chemical product or preparation.

9. In order to determine the maximum quantities of polychlorodibenzofurans and polychlorodibenzodioxins, the following international toxic equivalent coefficients shall be used for each polychlorodibenzodioxin or polychlorodibenzofuran group:

9.1. 2,3,7,8-THDD (for 2,3,7,8-tetrachlorodibenzodioxins) – 1;

9.2. 1,2,3,7,8-PeCDD (for 1,2,3,7,8-pentachlorodibenzodioxins) – 0.5;

9.3. 1,2,3,4,7,8-HxHDD (for 1,2,3,4,7,8-hexachlorodibenzodioxins) – 0.1;

9.4. 1,2,3,6,7,8-HxHDD (for 1,2,3,6,7,8-hexachlorodibenzodioxins) – 0.1;

9.5. 1,2,3,7,8,9-HxHDD (for 1,2,3,7,8,9-hexachlorodibenzodioxins) – 0.1;

9.6. 1,2,3,4,6,7,8-HpHDD (for 1,2,3,4,6,7,8-heptachlorodibenzodioxins) – 0.01;

9.7. OHDD (for octachlorodibenzodioxins) – 0.001;

9.8. 2,3,7,8-THDF (for 2,3,7,8-tetrachlorodibenzofurans) – 0.1;

9.9. 2,3,4,7,8-PeHDF (for 2,3,4,7,8-pentachlorodibenzofurans) -0.5;

9.10. 1,2,3,7,8-PeHDF (for 1,2,3,7,8-pentachlorodibenzofurans) – 0.05;

9.11. 1,2,3,4,7,8-HxHDF (for 1,2,3,4,7,8-hexachlorodibenzofurans) – 0.1;

9.12. 1,2,3,7,8,9-HxHDF (for 1,2,3,7,8,9-hexachlorodibenzofurans) – 0.1;

9.13. 1,2,3,6,7,8-HxHDF (for 1,2,3,6,7,8-hexachlorodibenzofurans) – 0.1;

9.14. 2,3,4,6,7,8-HxHDF (for 2,3,4,6,7,8-hexachlorodibenzofurans) – 0.1;

9.15. 1,2,3,4,6,7,8-HpHDF (for 1,2,3,4,6,7,8-heptachlorodibenzofurans) – 0.01;

9.16. 1,2,3,4,7,8,9-HpHDF (for 1,2,3,4,7,8,9-heptachlorodibenzofurans) – 0.01; and

9.17. OHDF (for octachlorodibenzofurans) – 0.001.

10. The maximum quantity of polychlorodibenzofurans and polychlorodibenzodioxins at an installation shall be determined by multiplying the quantities of polychlorodibenzofurans or polychlorodibenzodioxins by the coefficients referred to in Paragraph 9 of this Annex and adding up the resulting outcomes.

11. The maximum quantity of a dangerous substance at an installation for a hazard class shall be determined or the qualifying quantities indicated in Table 2 of this Annex shall be used:

11.1. if the dangerous substance is not indicated in Table 1 of this Annex but is classified as dangerous (for example, dangerous chemical substance, dangerous chemical product, dangerous waste) or has been assigned the substance effects characterisations indicated in Table 2 of this Annex in accordance with Regulation No. 107 or other regulatory enactments that regulate operations with chemical substances and chemical products; or

11.2. if the chemical substance is not classified as dangerous but has such properties that may cause an industrial accident. Qualifying quantities shall be used taking into account the classification of the relevant chemical substance performed by a responsible person in accordance with Regulation No. 107 or other regulatory enactments that regulate operations with chemical substances and chemical products.

12. The maximum quantity of a dangerous substance at an installation for a hazard class shall be determined by adding up in each hazard class all the dangerous substances that conform to the instructions referred to in one Paragraph of Table 2 of this Annex.

13. If a dangerous substance, classified according to the properties thereof, conforms to several hazard classes, then in determining the qualifying quantities of the dangerous substance the class with numerically smaller qualifying quantities shall be selected.

14. If a dangerous substance, classified according to the properties thereof, conforms to several groups of dangerous substances, then in determining the qualifying quantities of the dangerous substance the group with numerically smaller qualifying quantities shall be selected.

Table 2

Qualifying Quantities for Hazard Classes

| No. | ## Hazard Class | Minimum qualifying quantity (in tonnes) | Maximum qualifying quantity (in tonnes) |
| --- | --- | --- | --- |
| 1. | Very toxic chemical substances or chemical products | 5 | 20 |
| 2. | Toxic chemical substances or chemical products | 50 | 200 |
| 3. | Chemical substances or chemical products that are strong oxidants | 50 | 200 |
| 4. | Explosive chemical substances, chemical products or articles (see Paragraphs 15, 16 and 17 of this Annex): |  |  |
| 4.1. | fall under UN/ADR1 Division 1.4 | 50 | 200 |
| 4.2. | fall under UN/ADR1 divisions 1.1, 1.2, 1.3, 1.5 or 1.6 and R2 or R3 substance effects characterisation | 10 | 50 |
| 5. | Flammable chemical substances or chemical products that conform to the characteristics referred to in Paragraph 18 of this Annex | 5 000 | 50 000 |
| 6. | Highly flammable chemical substances or chemical products: |  |  |
| 6.1. | that conform to the characteristics referred to in Paragraph 19 of this Annex | 50 | 200 |
| 6.2. | that conform to the characteristics referred to in Paragraph 20 of this Annex | 5 000 | 50 000 |
| 7. | Extremely flammable chemical substances or chemical products that conform to the characteristics referred to in Paragraph 21 of this Annex | 10 | 50 |
| 8. | Chemical substances or chemical products dangerous to the environment if the hazard characterisation thereof includes one of the following characterisations of the effects: |  |  |
| 8.1. | R50 – very toxic to aquatic organisms (including R50/53) | 100 | 200 |
| 8.2. | R51/53 - toxic to aquatic organisms, may cause long-term adverse effects in the aquatic environment | 200 | 500 |
| 9. | Any chemical substance or chemical product that is classified as dangerous, and the hazard characterisation of such chemical substance or chemical product is one of the following characterisations of the effects: |  |  |
| 9.1. | R14 – reacts violently with water, or R14/15 – reacts violently with water, liberating extremely flammable gases | 100 | 500 |
| 9.2. | R29 – contact with water liberates toxic gases | 50 | 200 |

Note.

1. In accordance with the European Agreement of the United Nations concerning the International Carriage of Dangerous Goods by Road, entered into on 30 September 1957, with amendments (hereinafter – UN/ADR).

15. The conditions indicated in Table 2, Sub-paragraphs 4.1 and 4.2 of this Annex apply to chemical substances, chemical products, explosives, pyrotechnic substances, as well as to articles containing explosives, pyrotechnic substances or other explosive chemical substances or chemical products. In assessing the presence of a dangerous substance at a production unit or installation and in applying the requirements of these Regulations:

15.1. the quantity of explosives, pyrotechnic substances or other explosive chemical substances or chemical products in an article shall be taken into account. If the quantity of explosives, pyrotechnic substances or other explosive chemical substances or chemical products in the article is not known, the entire article shall be considered explosive;

15.2. if both the UN/ADR classification and the substance effects characterisation R2 or R3 are known for an explosive chemical substance or chemical product, in determining the qualifying quantity of such substance or product, the qualifying quantity that corresponds to the UN/ADR classification shall be selected; and

15.3. if the UN/ADR classification is applied in relation to operations with dangerous substances at the installation, chemical substances and articles of Division 1.1 shall be considered capable of causing such mass explosion that virtually instantaneously affects almost all articles or the entire load of dangerous substance that is located in a tank or in another confined or closed equipment or structure, or in the entire storage area.

16. The qualifying quantities that are indicated in Table 2, Sub-paragraphs 4.1 and 4.2 of this Annex apply to the following explosive chemical substances, chemical products, articles or pyrotechnics:

16.1. chemical substances or chemical products that create a risk of explosion (in accordance with Regulation No. 107, substance effects characterisation – R2) as a result of shock, friction, fire or other sources of ignition;

16.2. chemical substances or chemical products that create a high risk of explosion (in accordance with Regulation No. 107, substance effect characterisation – R3) as a result of shock, friction, fire or other sources of ignition;

16.3. chemical substances, chemical products or articles that in accordance with UN/ADR and Cabinet Regulation No. 435 of 5 August 2003, Regulations regarding the Carriage of Dangerous Goods, correspond to Class 1; and

16.4. pyrotechnics that are substances or mixtures of substances that are utilised in the production of heat, light, sound, gas, smoke or a combination of such effects through a non-detonating self-sustained exothermic chemical reaction.

17. Chemical substances, chemical products and articles, which in accordance with the UN/ADR classification correspond to Class 1, shall be divided into the following divisions:

17.1. Division 1.1 – ‘Chemical substances and articles which have a mass explosion hazard’. A mass explosion is an explosion, which virtually instantaneously affects almost the all articles or the entire load of a dangerous substance that is located in the entire dangerous cargo;

17.2. Division 1.2 – ‘Chemical substances and articles which have a projection hazard but not a mass explosion hazard’;

17.3. Division 1.3 – ‘Chemical substances and articles which have a fire hazard and either a minor blast hazard or a minor projection hazard or both, but not a mass explosion hazard, including the combustion of which gives rise to considerable radiant heat, or which burn one after another, producing minor blast and/or projection effects or both’;

17.4. Division 1.4 – ‘Chemical substances and articles which present only a slight risk in the event of ignition or initiation during carriage’. The effects are largely confined to the package and no projection of fragments of appreciable size or range is to be expected. An external fire shall not cause virtually instantaneous explosion of virtually the entire contents of the package;

17.5. Division 1.5 - ‘Very insensitive chemical substances having a mass explosion hazard which are so insensitive that there is very little probability of initiation or of transition from burning to detonation under normal conditions of carriage’. As a minimum requirements – such substances shall not explode in the external fire test; and

17.6. Division 1.6 – ‘Extremely insensitive articles which do not have a mass explosion hazard.  Such articles contain only extremely insensitive detonating substances and demonstrate a negligible probability of accidental initiation or propagation. The risk of explosion is limited to the explosion of a single article.’

18. The qualifying quantities that are indicated in Table 2, Paragraph 5 of this Annex apply to flammable chemical substances or chemical products in a liquid physical state (flammable liquids) that facilitate burning and the flash point of which is between 21 ° C and 55 ° C (in accordance with Regulation No. 107, the substance effects characterisation – R10).

19. The qualifying quantities that are indicated in Table 2, Sub-paragraph 6.1 of this Annex apply to the highly flammable chemical substances or chemical products in a liquid physical state (highly flammable liquids):

19.1. that may heat and ignite upon contact with air at normal ambient temperature without input of energy (in accordance with Regulation No. 107, substance effects characterisation – R17); and

19.2. the flash point of which is lower than 55 ° C and which under increased pressure remain in a liquid physical state, create a risk of accident and may cause an industrial accident under particular conditions of the technological process (for example, high pressure or high temperature).

20. The qualifying quantities that are indicated in Table 2, Sub-paragraph 6.2 of this Annex apply to highly flammable chemical substances or chemical products the flash point of which is lower than 21° C and which are not extremely flammable (in accordance with Regulation No. 107, substance effects characterisation – R11, Sub-paragraph 4.1.2).

21. The qualifying quantities that are indicated in Table 2, Paragraph 7 of this Annex apply to the following extremely flammable chemical substances or chemical products in a liquid or gaseous physical state (extremely flammable gases and liquids):

21.1. liquid chemical substances or liquid chemical products the flash point of which is lower than 0 ° C and the boiling point or the initial boiling point of which (if there are intervals in the boiling process) at normal pressure is 35 ° C or lower (in accordance with Regulation No. 107, substance effects characterisation – R12, Sub-paragraph 3.1);

21.2. gases which are flammable in contact with air at normal ambient temperature and pressure (in accordance with Regulation No. 107, substance effects characterisation – R12, Sub-paragraph 3.2) and are in a gaseous physical state or in a physical state in which the temperature is higher than the critical temperature and the pressure – greater than the critical pressure. Critical temperature shall be a temperature exceeding which it is not possible to liquefy the gas or the vapour of a dangerous substance regardless of pressure. Critical pressure shall be the pressure that is required to liquefy a gas that has the critical temperature; and

21.3. flammable and highly flammable liquid chemical substances or liquid chemical products that are produced, used, handled or maintained at a temperature that is higher than the boiling point of such chemical substances or chemical products.

22. The quantity criterion of dangerous substances shall be calculated so that in determining the presence of dangerous substances or the requirements to be set for a production unit in accordance with these Regulations, the combined hazard of such dangerous substances which have similar dangerous properties or effects shall be taken into account. In determining the quantity criterion of dangerous substances, the following shall be utilised:

22.1. the qualifying quantity corresponding to the relevant dangerous substance or group of dangerous substances indicated in Table 1 of this Annex; and

22.2. the qualifying quantity corresponding to the relevant hazard class, if the dangerous substance is not indicated in Table 1 of this Annex but is classified as dangerous.

23. The quantity criterion of dangerous substances shall be utilised in assessing the overall hazard that is related to toxicity, flammability and eco-toxicity. The quantity criterion of dangerous substances shall be determined three times – separately assessing toxicity, flammability and eco-toxicity.

24. The quantity criterion of dangerous substances shall be calculated together for the following dangerous substances that are, or may be, at an installation or at all the installations of a production unit that are located in a single territory:

24.1. for the chemical substances and chemical products indicated in Table 1 of this Annex, which in accordance with the classification are toxic or very toxic, as well as for chemical substances and chemical products that belong to the hazard classes indicated in Table 2, Paragraph 1 and 2 of this Annex;

24.2. for the chemical substances and chemical products indicated in Table 1 of this Annex, which in accordance with the classification are oxidising, explosive, flammable, highly flammable or extremely flammable, as well as chemical substances and chemical products that belong to the hazard classes indicated in Table 2, Paragraph 3, Sub-paragraphs 4.1 and 4.2, Paragraph 5, Sub-paragraphs 6.1 and 6.2, and Paragraph 7 of this Annex; and

24.3. for the chemical substances and chemical products indicated in Table 1 of this Annex, which in accordance with the classification are dangerous for the environment (R 50 (including R50/53) or R51/53), as well as for chemical substances and chemical products that belong to the hazard classes indicated in Table 2, Sub-paragraphs 8.1 and 8.2 of this Annex.

25. If the quantity criterion of dangerous substances, which is calculated for the substances referred to in Sub-paragraphs 24.1, 24.2 and 24 of this Annex, is greater than or equal to 1, the requirements of these Regulations shall apply to an installation.

26. In calculating the quantity criterion of dangerous substances, only such dangerous substances or groups of dangerous substances indicated in Table 1 of this Annex shall be taken into account the maximum quantities of which are less than the relevant qualifying quantities.

27. The quantity criterion of dangerous substances shall be calculated by utilising the following formula:

Qtotal = q1/Q1 + q2/Q2 + q3/Q3 + ... + qn/Qn , where

Qtotal is the quantity criterion of dangerous substances;

qi (q1, q2, q3 … qn) – the maximum quantity in tonnes for the relevant dangerous substance or group of dangerous substances indicated in Table 1 of this Annex, or for the hazard class indicated in Table 2 of this Annex;

Qi (Q1, Q2, Q3 ... Qn) – the relevant minimum or maximum qualifying quantity in tonnes indicated in Table 1 or 2 of this Annex for the dangerous substance, group of dangerous substances or hazard class; and

n – the number of dangerous substances, groups of dangerous substances or classes of dangerous substances included in the calculation of the relevant quantity criterion of dangerous substances.

28. If the quantity criterion of dangerous substances, which has been calculated using the minimum qualifying quantities, is greater than or equal to 1, the requirements of these Regulations apply to an installation, including:

28.1. if the quantity criterion of dangerous substances, which has been calculated using the minimum qualifying quantities, is greater than or equal to 1 and the quantity criterion of dangerous substances, which has been calculated using the maximum qualifying quantities, is less than 1, a responsible person shall draw up an industrial accident prevention programme; and

28.2. if the quantity criterion of dangerous substances, which has been calculated using the maximum qualifying quantities, is greater than or equal to 1, a responsible person shall draw up a safety report and a civil protection plan of the installation.

Minister for Environment 			R. Vējonis

Annex 2

Cabinet Regulation No. 532

19 July 2005

Submission regarding Dangerous Substances at an Installation

1. Name of the production unit,

| names of the installation or all the installations at the production unit |  |
| --- | --- |

| 2. Address: |  |  |  |  |
| --- | --- | --- | --- | --- |
| 2.1. legal address |  |  |  |  |
| 2.2. location |  |  |  |  |
| 2.3. registration number in the Commercial Register |  |  |  |  |
| of the owner or owners of the production unit |  |  |  |  |

2.4. cadastral number of

| the property on which the production unit or installation is located |  |
| --- | --- |

3. Owner of the production unit or owners of the capital company (which owns the production unit) who own at least 5 % of the equity capital of the capital company:

3.1. if the owner of the production unit is a natural person:

| 3.1.1. given name |  |  |  |  |
| --- | --- | --- | --- | --- |
| 3.1.2. surname |  |  |  |  |
| 3.1.3. firm name and legal address, |  |  |  |  |
| if the natural person is an individual merchant |  |  |  |  |

| 3.1.4. telephone number |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 3.1.5. fax number |  |  |  |  |  |  |
| 3.1.6. e-mail address |  |  |  |  |  |  |
| 3.2. if the owner of the production unit is a commercial company: |  |  |  |  |  |  |
| 3.2.1. firm name |  |  |  |  |  |  |
| 3.2.2. legal address |  |  |  |  |  |  |
| 3.2.3. telephone number |  |  |  |  |  |  |
| 3.2.4. fax number |  |  |  |  |  |  |
| 3.2.5. e-mail address |  |  |  |  |  |  |

4. Land owner:

4.1. if the landowner is a natural person:

| 4.1.1. given name |  |  |  |  |
| --- | --- | --- | --- | --- |
| 4.1.2. surname |  |  |  |  |
| 4.1.3. firm name and legal address, |  |  |  |  |
| if the land owner is an individual merchant |  |  |  |  |

| 4.1.4. telephone number |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.1.5. fax number |  |  |  |  |  |  |
| 4.1.6. e-mail address |  |  |  |  |  |  |
| 4.2. if the land owner is a legal person: |  |  |  |  |  |  |
| 4.2.1. firm name |  |  |  |  |  |  |
| 4.2.2. legal address |  |  |  |  |  |  |
| 4.2.3. telephone number |  |  |  |  |  |  |
| 4.2.4. fax number |  |  |  |  |  |  |
| 4.2.5. e-mail address |  |  |  |  |  |  |

5. Responsible person:

5.1. if the responsible person is a natural person:

| 5.1.1. given name |  |  |  |  |
| --- | --- | --- | --- | --- |
| 5.1.2. surname |  |  |  |  |
| 5.1.3. firm name and legal address, |  |  |  |  |
| if the responsible person is an individual merchant |  |  |  |  |

|  | 5.1.4. telephone number |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 5.1.5. fax number |  |  |  |  |  |  |
|  | 5.1.6. e-mail address |  |  |  |  |  |  |
|  | 5.2. if the responsible person is a legal person: |  |  |  |  |  |  |
|  | 5.2.1. firm name; |  |  |  |  |  |  |
|  | 5.2.2. legal address |  |  |  |  |  |  |
|  | 5.2.3. telephone number |  |  |  |  |  |  |
| 5.2.4. fax number |  |  |  |  |  |  |  |
| 5.2.5. e-mail address |  |  |  |  |  |  |  |

6. Information regarding the manager of the installation, if such person is not the responsible person:

| 6.1. given name |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 6.2. surname |  |  |  |  |  |  |
| 6.3. telephone number |  |  |  |  |  |  |
|  | 6.4. fax number |  |  |  |  |  |
| 6.5. e-mail address |  |  |  |  |  |  |

7. Information that is necessary in order to identify dangerous substances at the installation or at all installations of the production unit that are located in a single territory, and the classification or the categories of dangerous substances:

7.1. the trade names and the names of dangerous chemical substances or chemical products according to the IUPAC nomenclature

7.2. the names of the dangerous chemical substances that are contained in the chemical product

7.3. formulae or structural formulae of the dangerous chemical substances

7.4. the CAS numbers of the dangerous chemical substances

7.5. classification and labelling of the dangerous substances or dangerous chemical products

7.6. quantities of particular dangerous substances (maximum and average) in accordance with inventory or project data (if the production unit or the installation has not been put into service)

7.7. physical states of the dangerous substances

7.8. the maximum quantities of dangerous substances specified in accordance with Annex 1 of these Regulations:

7.8.1. for a dangerous substance or a group of dangerous substances

7.8.2. for hazard class

7.9. the quantity criterion of dangerous substances specified in accordance with Annex 1 of these Regulations

7.10. the presence of dangerous substances at the installation or at all installations of the production unit located in a single territory, as specified in accordance with Annex 1 of these Regulations

| 8. A description regarding the activities to be performed or planned activities |  |
| --- | --- |
| at the installation or at all the installations of the production unit that are located in a single territory |  |

9. A description of all the installations of the production unit that are located in a single territory or a description of the territory and the adjacent area of the installation, indicating the factors that may provoke or promote the occurrence of an industrial accident or aggravate the consequences thereof, including:

| 9.1. the location of dangerous substances |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 9.2. the location of dangerous equipment |  |  |  |  |  |  |
| 9.3. registration of the dangerous equipment (place and date) |  |  |  |  |  |  |
| 9.4. other sources of industrial accident risk and the location thereof |  |  |  |  |  |  |
| 9.5. external factors that may cause an industrial accident or aggravate the |  |  |  |  |  |  |
| consequences thereof, the nature, location and the potential impact of such factors |  |  |  |  |  |  |
| 9.6. potentially endangered territories and a schematic depiction thereof. |  |  |  |  |  |  |

Minister for Environment 			R. Vējonis

Annex 3

Cabinet Regulation No. 532

19 July 2005

# Criteria for Industrial Accident Assessment and Provision of Information

1. The State Environmental Service shall classify an industrial accident as major and provide information to international organisations regarding each accident that has occurred at an installation to which these Regulations apply if the industrial accident conforms to at least one of the following criteria:

1.1. a fire which has been caused by or which involves dangerous substances the quantity of which is at least 5 % of the maximum qualifying quantities indicated in Annex 1 of these Regulations;

1.2. an explosion of one or several dangerous substances, which has been caused by or which involves dangerous substances the quantity of which is at least 5 % of the maximum qualifying quantities indicated in Annex 1 of these Regulations;

1.3. leakage of one or several dangerous substances, which has been caused by or which involves dangerous substances the quantity of which is at least 5 % of the maximum qualifying quantities indicated in Annex 1 of these Regulations;

1.4. an industrial accident caused by dangerous substances, as a result of which:

1.4.1. the death of a person has occurred;

1.4.2. at least six persons have been injured at the installation and such persons have been hospitalised for at least 24 hours;

1.4.3. at least one person has been injured outside the installation and such person has been hospitalised for at least 24 hours;

1.4.4. residential houses outside the installation have been damaged and are unfit for use as a result of the industrial accident;

1.4.5. evacuation or temporary isolation of persons has taken place for a period exceeding two hours, if the outcome of multiplying the number of persons by the number of evacuation or isolation hours is not less than 500; or

1.4.6. the supply of drinking water, electricity or gas, or the provision of telephone services, has been interrupted for more than two hours, if the outcome of multiplying the number of persons who have been affected by the referred to interruption by the number of hours is not less than 1 000;

1.5. an industrial accident caused by dangerous substances, which causes immediate harm to the environment with long-term or serious consequences, contaminating or otherwise damaging:

1.5.1. land ecosystems with surface area of not less that 0.5 hectares in specially protected nature territories, micro-reserves or protection zones specified for the purposes of nature protection;

1.5.2. widespread land ecosystems, including land utilised for agriculture, with area of not less than 10 hectares;

1.5.3. the freshwater environment in a river or canal with length of not less than 10 km;

1.5.4. the freshwater environment in a lake or pond with area of not less than one hectare;

1.5.5. the freshwater environment in a river delta with area of not less than two hectares;

1.5.6. the marine environment at the seacoast, in coastal waters or in the open sea with area of not less than two hectares; or

1.5.7. groundwater with area of not less than one hectare;

1.6. an industrial accident caused by dangerous substances, which has caused the following damages to property:

1.6.1. damage to the property of the installation in the amount of not less than two million euros; or

1.6.2. damage to property outside the installation in the amount of not less than 0.5 million euros; or

1.7. an industrial accident caused by dangerous substances, which creates or may create transboundary impact.

2. International organisations shall be provided with information also regarding undesirable events or industrial accidents caused by other types of dangerous substances if after the examination and assessment of such events or accidents, new information of a technical nature has been acquired that may help prevent other industrial accidents or reduce the undesirable consequences thereof.

Minister for Environment 				R. Vējonis