Republic of Latvia

Cabinet

Regulation No. 59

Adopted 5 February 2008

Regulations regarding the Amount of Co-financing from the State Budget and the Procedures for the Granting thereof for Energy Efficiency Measures in Residential Houses

Issued pursuant to

Section 27.2, Paragraph four

of the Law On Assistance in Solving

Apartment Matters

I. General Provisions

1. These Regulations prescribe the procedures by which and the amount in which the State shall co-finance the energy efficiency measures of multi-apartment residential houses, as well as the costs referable to the energy efficiency measures, evaluation criteria and the supervision of the utilisation of the State budget funds.

2. The State co-financing for the energy efficiency measures shall be granted to the following projects:

2.1. the energy audit of a multi-apartment residential house – in the amount of LVL 200; and

2.2. the renovation of a multi-apartment residential house – 20% of the total expenses to be supported for the renovation project.

3. The State shall provide assistance to the owners of residential houses in conformity with the funds provided for in the State budget for the current year for such purpose.

II. Procedures by which a Submission for the Receipt of the 
State Co-financing shall be Registered

4. In order to receive the State co-financing for the energy efficiency measures, a person authorised by the owners of a multi-apartment residential house (hereinafter – authorised person) shall submit a submission, as well as shall carry out other activities related to the receipt of the State co-financing. The decision regarding the authorisation of the relevant person shall be taken at a general meeting of apartment owners and shall be entered in the minutes. When concluding an authorisation contract, the extent of the granted authorisation shall be indicated.

5. In order to receive the State co-financing for the energy audit from the State budget funds from the following year, the authorised person shall submit a submission (Annex 1) to the Construction, Energy and Housing State Agency (hereinafter – Agency) until 30 December of the current year. The following documents shall be attached to the submission:

5.1. a copy of the minutes of the general meeting of apartment owners, in which a decision to carry out an energy audit of a multi-apartment residential house has been entered into, as well as copies of the minutes and contract referred to in Paragraph 4 of these Regulations; and

5.2. a delivery and acceptance deed of a residential house regarding the transfer of the administration rights of the residential house to the society of apartment owners or to a person authorised by the mutual contract, if the residential house has been privatised in accordance with the Law On Privatisation of State and Local Government Residential Houses.

6. Upon the submission of the document copies referred to in Sub-paragraph 5.1 of these Regulations, the originals thereof shall be provided.

7. The authorised person (legal person) shall be entitled to submit the submission referred to in Paragraph 5 of these Regulations, if he or she does not have tax debts or State compulsory social insurance contribution debts.

8. If the documents referred to in Paragraph 5 of these Regulations are submitted in a hard copy format, they shall be bound together (bound with a string) and the pages shall be numbered.

9. The Agency shall evaluate the conformity of the authorised person with the requirements of Paragraphs 4 and 7 of these Regulations, and shall take one of the following decisions, within a time period of 10 working days from the submission of the submission:

9.1. to register the submission in the register of the State co-financing programme for the relevant year, if the submission and the documents attached thereto conform with the requirements of these Regulations; or

9.2. to refuse to register the submission in the register of the State co-financing programme for the relevant year, if the submission and the documents attached thereto do not conform with the requirements of these Regulations or false information has been provided.

10. The decision referred to in Paragraph 9 of these Regulations shall be notified in writing by the Agency to the submitter of the submission within a time period of five working days after the taking thereof.

11. If, when evaluating the submission, it has been determined that all documents referred to in Paragraph 5 of these Regulations have not been submitted, within a time period of 10 working days from the day of the submission of the submission, the Agency shall send a request for the information to the authorised person, indicating the time period for the submission of the documents and, accordingly, shall extend the time period for the taking of the decision.

12. In order to receive the State co-financing for the renovation of a multi-apartment residential house from the State budget funds from the following year, the authorised person shall submit a submission (Annex 2) to the Agency until 30 December of the current year. The following documents shall be attached to a submission:

12.1. a copy of the minutes of the general meeting of apartment owners, in which the decision to carry out a renovation of a multi-apartment residential house has been entered into, as well as copies of the minutes and contract referred to in Paragraph 4 of these Regulations;

12.2. a delivery and acceptance deed of a residential house regarding the transfer of the administration rights of the residential house to the society of apartment owners or to a person authorised by the mutual contract, if the residential house has been privatised in accordance with the Law On Privatisation of State and Local Government Residential Houses; and

12.3. a copy of the energy audit report in accordance with Annex 3 to these Regulations.

13. Upon the submission of the document copies referred to in Sub-paragraphs 12.1 and 12.3 of these Regulations, the originals thereof shall be provided.

14. The authorised person (legal person) shall be entitled to submit the submission referred to in Paragraph 12 of these Regulations, if he or she does not have tax debts or State compulsory social insurance contribution debts.

15. If the documents referred to in Paragraph 12 of these Regulations are submitted in a hard copy format, they shall be bound together (bound with a string) and the pages shall be numbered.

16. The Agency shall evaluate the conformity of the authorised person with the requirements of Paragraphs 4 and 14 of these Regulations, and shall take one of the following decisions, within a period of time of 10 working days from the day of the submission of the submission:

16.1. to register the submission in the register of the State co-financing programme for the relevant year, if the submission and the documents attached thereto conform with the requirements of these Regulations; or

16.2. to refuse to register the submission in the register of the State co-financing programme for the relevant year, if the submission and the documents attached thereto do not conform with the requirements of these Regulations or false information has been provided.

17. The decision referred to in Paragraph 16 of these Regulations shall be notified in writing by the Agency to the submitter of the submission within a time period of five working days from the taking thereof.

18. If, when evaluating the submission, it has been determined that all the documents referred to in Paragraph 12 of these Regulations have not been submitted, within a time period of 10 working days from the day of the submission of the submission, the Agency shall send the request of information to the authorised person, indicating the time period for the submission of the documents and, accordingly, shall extend the time period for the taking of the decision.

III. Procedures by which the Documents for the Renovation of a Multi-apartment Residential Houses shall be Submitted and Assessed

19. If the submission has been registered in the register of the State co-financing programme, the authorised person shall submit the following documents to the Agency until 15 May of the current year:

19.1. a construction permit for the performance of renovation work of the residential house;

19.2. a copy of the procurement contract regarding the performance of construction work and a copy of the estimate attached thereto;

19.3. an energy audit report (in hard copy format or in electronic form), if the relevant information is not at the disposal of the Agency;

19.4. a calculation (estimate) of the development of building design, as well as of the costs of the management of the project;

19.5. a calendar schedule of the performance of the construction work; and

19.6. a decision of the general meeting of apartment owners, in which the following shall be indicated:

19.6.1. renovation work to be carried out; and

19.6.2. the costs of the renovation work to be carried out.

20. Within a time period of 25 days after the end of the time period for the submission of the submissions, an assessment commission (hereinafter – commission), established by order of the Minister for Economics, shall carry out the assessment of the project in conformity with the assessment criteria referred to in Annex 4 to these Regulations, as well as shall determine the financial amount of eligible expenses and shall prepare an opinion. Representatives from the Ministry of Economics, the Agency, the Union of Local and Regional Governments of Latvia and the Association of the Cities of Latvia shall be in the commission.

21. The project shall conform to the assessment criteria, if it has acquired at least 20 points and has not received less than five points in each assessment criteria.

22. The State co-financing share (in LVL) to be granted for each project shall be determined on the basis of the estimate of eligible expenses of the project, the submitted documents certifying the expenses and the procurement documentation.

23. After the evaluation of all projects, the commission shall arrange the projects in the descending order of the points acquired in the assessment and shall count the total State co-financing requested for the projects conforming to the points criteria. If the total amount of costs to be supported of the referred to projects exceeds the amount of the State co-financing granted for the relevant year, the commission shall additionally indicate in the opinion how many projects may be financed in the relevant year, observing the amount of funds intended for this purpose in the State budget for the current year.

24. The projects shall be supported in the order of the arrangement of the projects according to the points acquired in the assessment, starting from the project that has acquired the most points.

25. If it has been determined that two or more projects have an identical point score, the projects shall be arranged, taking into consideration the number of points acquired in a separate criterion (energy efficiency).

26. After the evaluation of the projects, the commission shall provide an opinion to the Agency. On the basis of the opinion of the commission, the Agency shall take a decision regarding the conformity of each project with the assessment criteria within a time period of five days. The amount of the costs to be supported and the serial number shall be indicated in addition to the projects that conform with the assessment criteria, but in the case referred to in Paragraph 23 of these Regulations also whether the amount of the State co-financing granted for the relevant year is sufficient for the co-financing of the specific project.

27. Upon taking a decision, the conditions of Paragraphs 21, 22, 23, 24 and 25 of these Regulations shall be binding to the Agency.

28. The Agency shall send the decision taken to an authorised person within a time period of 10 days.

29. If, after the results of the evaluation of projects, the total amount of costs to be supported is less than the State co-financing available in the relevant year, the Agency shall invite the authorised persons, the submissions of whom have been registered in the relevant year but the documents referred to in Paragraph 19 of these Regulations have not been submitted, to submit the referred to documents and shall determine the time period for the submission thereof.

IV. Procedures for Granting and Transfer of Co-financing

30. 30. If the submission for the receipt of co-financing for the energy audit is registered, the authorised person shall submit the following documents to the Agency:

30.1. a copy of the contract regarding the performance of the energy audit; and

30.2. a copy of the energy audit report in accordance with Annex 3 to these Regulations.

31. Within a time period of 20 days after the receipt of the documents referred to in Paragraph 30 of these Regulations, the Agency shall take a decision regarding the amount of the State co-financing for the energy audit.

32. The granted co-financing shall be recounted, on the basis of the order by the director of the Agency, within a time period of five days after the coming into force of the decision of the Agency regarding the State co-financing for the energy audit to a person authorised.

33. The State co-financing for renovation shall be transferred as follows:

33.1. 20% from the costs of the building design development - within a time period of 30 days after the submission of the construction permit and the bill of costs to the Agency; and

33.2. the remaining sum for the works performed – in parts within a time period of 20 days after the completion of the stage of the relevant work and after the delivery and acceptance deed of these works (signed by the building supervisor) and the submission of the bill of costs to the Agency.

V. Eligible Expenses

34. Within the framework of the energy audit the eligible expenses shall be as follows:

34.1. the salary of the energy auditor;

34.2. transport costs; and

34.3. the costs of the preparation of a report and thermographic analysis.

35. Within the framework of the renovation of a multi-apartment house, the eligible expenses shall be as follows:

35.1. the costs for the preparation of a building design;

35.2. the costs of an energy audit, unless it has been carried out with the support of the State or local government;

35.3. the costs of the supervision of construction;

35.4. the costs for the reduction of energy resource consumption of a building:

35.4.1. for the heat insulation of the coverings of the delimiting structures of buildings;

35.4.2. for the isolation of the hot water pipelines, heating system and the pipelines thereof, as well as the cables to individual floors;

35.4.3. for the exchange of heaters existent in the building; and

35.4.4. the costs that ensure the fulfilment of the energy efficiency improvement measures, specified in the energy audit report; and

35.5. the costs for the renewal or establishment of the structural parts of a building or technical installations of a building;

35.5.1. for the renewal and adjustment of the roof, facade, stairs, internal and external corridors for the persons with movement disorders, for the renewal of a lift, for the renewal or exchange of windows and doors; and

35.2.2. for the renewal or establishment of electrical installations, fire safety installations, and ventilation systems.

VI. Closing Provision

36. The State co-financing for the energy efficiency measures from 2008-2010 shall be provided, observing the conditions of Section 27.2, Part 1.1 of the Law On Assistance in Solving Apartment Matters.

Prime Minister 		I.Godmanis

Minister for Economics 	K.Gerhards

Annex 1

Cabinet

Regulation No. 59

5 February 2008

Submission regarding the Receipt of the State Co-financing for the 
Energy Audit in Year _______

(given name, surname (for a natural person) or name (for a legal person) of the authorised person)

(personal identity number (for a natural person) or registration number (for a legal person))

I. Location for the Implementation of the Project

| Address of the location for the implementation of the project |  |  |
| --- | --- | --- |
| Local government |  |  |
| Planning region (mark the appropriate) | Kurzeme |  |
|  | Latgale |  |
|  | Zemgale |  |
|  | Vidzeme |  |
|  | Riga |  |
|  | Riga Region |  |

II. List of the Submitted Documents

| No. | Submitted document | Submitted document |  |
| --- | --- | --- | --- |
|  |  | original | copy |
| 1. | A statement in which the calculated payments for the services, which are related to the utilisation of an apartment property, and the payments settled have been indicated |  |  |
| 2. | The minutes of the general meeting of apartment owners, in which the decision to carry out the energy audit of the multi-apartment residential house has been indicated |  |  |
| 3. | The minutes of the general meeting of apartment owners, in which it has been entered into that the relevant person is authorised to submit a submission, as well as to carry out other activities related to the receipt of the State co-financing |  |  |
| 4. | The entered into authorisation contract |  |  |
| 5. | The delivery and acceptance deed of a residential house regarding the transfer of administration rights of the residential house to the society of apartment owners or to a person authorised by the mutual contract (for residential houses that have been privatised in accordance with the Law On Privatisation of State and Local Government Residential Houses) |  |  |

III. Certification of an Authorised Person

I certify that:

1. at the moment of the submission of a submission:

1.1. the service provider is not a related party within the meaning of Cabinet Regulation No. 179 of 13 March 2007, Regulations regarding Procurement Procedures for Projects Financed by Commissioning Parties;

1.2. the authorised person has not been declared insolvent, is not in the process of liquidation and the economic activity thereof is not suspended or discontinued (for legal persons); and

1.3. the authorised person (legal person) does not have tax debts and/or State compulsory social insurance contribution debts;

2. this project is not financed/co-financed and has not been financed/co-financed from other European Union financial resources, as well as State budget funds;

3. in the case of the affirmation of the project, the submission of this project shall not be submitted for the financing/co-financing from other European Union financial resources, as well as State budget funds; and

4. the State co-financing has not been granted to the multi-apartment residential house, for which the submission of the project has been prepared, for the renovation or reconstruction thereof.

| Authorised person (representative thereof) |  |
| --- | --- |
|  | (given name, surname) |
| Signature* |  |
| Date |  |
|  | (dd/mm/yyyy) |

Note.

* Shall not be completed if the electronic document has been drawn up in conformity with the regulatory enactments regarding the drawing up of electronic documents.

Minister for Economics 	K.Gerhards

Annex 2

Cabinet

Regulation No. 59

5 February 2008

Submission regarding the Receipt of the State Co-financing for the Renovation of a Multi-apartment Residential House in Year ______

(given name, surname (for a natural person) or name (for a legal person) of the authorised person)

(personal identity number (for a natural person) or registration number (for a legal person))

I. Location for the Implementation of the Project

| Address of the location for the implementation of the project |  |  |
| --- | --- | --- |
| Local government |  |  |
| Planning region (mark the appropriate) | Kurzeme |  |
|  | Latgale |  |
|  | Zemgale |  |
|  | Vidzeme |  |
|  | Riga |  |
|  | Riga Region |  |

| II. Planned Duration for the Implementation of the Project |  |  |  |
| --- | --- | --- | --- |
|  |  | (in complete months) |  |

III. Financing Plan

| Total financing of project (LVL) | State co-financing (LVL/%) | Provisions of apartment owners (LVL/%) | Loan issued by a commercial company (LVL/%) | Local government co-financing (LVL/%) | Other (LVL/%) |
| --- | --- | --- | --- | --- | --- |

IV. Measures to be Implemented

(in accordance with the measures indicated in the energy audit)

|  | A | B | C |
| --- | --- | --- | --- |
| Type of measure |  |  |  |

V. List of the Submitted Documents

| No. | Submitted document | Submitted document |  |
| --- | --- | --- | --- |
|  |  | original | copy |
| 1. | A statement in which the calculated payments for the services, which are related with the utilisation of an apartment property, and the payments settled have been indicated |  |  |
| 2. | The minutes of the general meeting of apartment owners, in which the decision to carry out the renovation of the multi-apartment residential house has been entered into |  |  |
| 3. | The minutes of the general meeting of apartment owners, in which the decision that the relevant person is authorised to submit a submission, as well as to carry out other activities related to the receipt of the State co-financing have been entered into |  |  |
| 4. | The entered into authorisation contract |  |  |
| 5. | Energy audit report (if it is not at the disposal of the Agency) |  |  |
| 6. | The delivery and acceptance deed of a residential house regarding the transfer of administration rights to the society of apartment owners or to a person authorised by the mutual contract (for residential houses that have been privatised in accordance with the Law On Privatisation of State and Local Government Residential Houses) |  |  |

VI. Certification of an Authorised Person

I certify that:

1. at the moment of the submission of a submission:

1.1. the service provider is not a related party within the meaning of Cabinet Regulation No. 179 of 13 March 2007, Regulations regarding Procurement Procedures for Projects Financed by Commissioning Parties;

1.2. the authorised person has not been declared insolvent, is not in the process of liquidation and the economic activity thereof is not suspended or discontinued (for legal persons); and

1.3. the authorised person (for a legal person) does not have tax debts and/or State compulsory social insurance contribution debts;

2. this project is not financed/co-financed and has not been financed/co-financed from other European Union financial resources, as well as State budget funds;

3. in the case of the affirmation of the project, the submission of this project shall not be submitted for the financing/co-financing from other European Union financial resources, as well as State budget funds; and

4. the State co-financing has not been granted to the multi-apartment residential house, for which the submission of the project has been granted, for the renovation or reconstruction thereof.

| Authorised person (representative thereof) |  |
| --- | --- |
|  | (given name, surname) |
| Signature* |  |
| Date |  |
|  | (dd/mm/yyyy) |

Note.

* Shall not be completed if the electronic document has been drawn up in conformity with the regulatory enactments regarding the drawing up of electronic documents.

Minister for Economics 	K.Gerhards

Annex 3

Cabinet

Regulation No. 59

5 February 2008

Energy audit report of a building

# Photography of the facade of the house

# Address of the HOUSE

CONTENTS

Part 1 Basic information regarding the supervisor

Part 2 Basic information regarding the object audited

A Residential house

B Supply and distribution of heat and hot water

C Data regarding the energy consumption

Part 3 Energy consumptions of the building and CO2 emission

Part 4 Expenses for the energy resources

Part 5 Photographic documentation of the survey of the building (thermogram)

Part 6 Proposal of the renovation project of the building (recommended complex of measures)

Part 7 Energy rating of the building and the prognosis of the change thereof

| Report No. |  |  |
| --- | --- | --- |
| Identification of the building | address |  |
|  | number of apartments |  |
|  | total area of the building |  |
| Energy auditor | given name, surname |  |
|  | organisation |  |
|  | licence number |  |
|  | registration number |  |
|  | issuer |  |
|  | telephone number |  |
|  | signature |  |
| Dates | the report has been prepared |  |
|  | the building has been tested |  |

Part 1 Additional Information regarding the Supervisor

| Supervisor |  |  |
| --- | --- | --- |
| 1. | Name |  |
| 2. | Registration number |  |
| 3. | Administrative address |  |
| 4. | Contact telephone |  |

Part 2 Basic Information regarding the Object Audited

Residential Building

| General information |  |  |  |
| --- | --- | --- | --- |
| 1. | Residential dwelling’s: a) number of the standard project type; and b) constructive solution (if there is no type number) |  |  |
| 2. | Total number of stories (the existence of a roof storey, mezzanine floor, basement floor, technical floor shall be indicated in addition to the standard residential stories) |  |  |
| 3. | Number of stairwells (staircases) |  |  |
| 4. | Apartments | number |  |
|  |  | total useful area (m2) |  |
|  |  | height of premises (m) |  |
| 5. | Other premises (shops, attic, basement) | area (m2) |  |
|  |  | height of the premises (m) |  |
| 6. | Total area to be heated (m2) |  |  |
| 7. | Year when the building has been put into service |  |  |
| 8. | Total dimensions of the dwelling | length (m) |  |
|  |  | width (m) |  |
|  |  | height (m) |  |
| 9. | Other information (for example, the existence of thoroughfares) |  |  |

| External walls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10. | Name | Construction materials | Thickness of the layers (mm) | Total area (m2) | Heat transmission coefficient (W/(m2K)) |
|  | End walls |  |  |  |  |
|  | Facade walls |  |  |  |  |
| 11. | Other information |  |  |  |  |

| Attic (if any) |  |  |
| --- | --- | --- |
| 12. | Materials, thickness (mm) of the covering construction and thermal insulation existent under the attic |  |
| 13. | Heat transmission coefficient of covering (W(m2K)) |  |
| 14. | Area (m2) |  |
| 15. | Height of a room (m) |  |
| 16. | Technical state |  |

| Roof |  |  |  |
| --- | --- | --- | --- |
| 17. | Solution of roof covering (combined, gabled) |  |  |
| 18. | Materials, thickness (mm) of thermal insulation of covering (if there is no attic) |  |  |
| 19. | Heat transmission coefficient of covering (W/(m2K)) |  |  |
| 20. | Area (m2) |  |  |
| 21. | Other information |  |  |

| Windows and doors of loggias/balconies |  |  |  |
| --- | --- | --- | --- |
| 22. | Types, constructive solution | Heat transmission coefficient (W/(m2K) | Total area (m2) |
| 23. | Other information |  |  |

| Doors |  |  |  |
| --- | --- | --- | --- |
| 24. | Types, constructive solution | Heat transmission coefficient W/(m2K) | Total area (m2) |
| 25. | Other information |  |  |

| Basement and thoroughfares (if any) |  |  |  |
| --- | --- | --- | --- |
| 26. | Dimensions of the basement | area (m2) |  |
|  |  | height (m) |  |
| 27. | Technical state of the basement |  |  |
| 28. | Covering construction of the basement, thickness of materials (mm) |  |  |
| 29. | Heat transmission coefficient of the basement covering (W/(m2K)) |  |  |
| 30. | Material of the basement floor construction (if to be heated) |  |  |
| 31. | Heat transmission coefficient of the basement floor (W/(m2K)) (if to be heated) |  |  |
| 32. | Material of the construction of the basement walls (if to be heated) |  |  |
| 33. | Heat transmission coefficient of the basement walls (W/(m2K)) (if to be heated) |  |  |
| 34. | Technical state of the thoroughfare |  |  |

B Supply and Distribution of Heat and Hot Water

| ## Supply/Production of Heat |  |  |  |  |
| --- | --- | --- | --- | --- |
| 35. | Thermal energy supply system |  |  | centralised heat supply |
|  |  |  |  | local heat supply |
| 36. | Boiler | model |  |  |
|  |  | year of production |  |  |
|  |  | type of heating fuel |  |  |
|  |  | efficiency coefficient |  |  |

| Heat Distribution – Heating System |  |  |  |
| --- | --- | --- | --- |
| 37. | Heating system |  | one pipe |
|  |  |  | two pipes |
| 38. | Type of heating point |  | conditional connection scheme |
|  |  |  | independent connection scheme |

| 39. | Control and accounting of thermal energy supply in apartments |  |  |  | are present, equipment: |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | are not present |
| 40. | Heat exchanger of heating |  |  |  | is present, equipment: |
|  |  |  |  |  | is not present |
| 41. | Technical state of the pipe insulation |  |  |  |  |
| Hot Water Distribution System |  |  |  |  |  |
| 42. | Average temperature of the hot water supply (C) |  |  |  |  |
|  | Cold water inflow temperature (C) |  |  |  |  |
| 43. | Preparation of hot water |  |  | preparation in the heating point |  |
|  |  |  |  | centralised supply |  |
| 44. | Type of the hot water distribution system |  |  | without circulation |  |
|  |  |  |  | with circulation |  |
| 45. | Technical state of the pipe insulation |  |  |  |  |
| Ventilation |  |  |  |  |  |
| 46. | Type of ventilation system |  |  | natural |  |
|  |  |  |  | forced |  |
| 47. | Other information |  |  |  |  |
| Meters |  |  |  |  |  |
| 48. | Thermal energy meter |  |  |  | is installed, date of installation: |
|  |  |  |  |  | is not installed |
| 49. | Total hot water consumption meter |  |  |  | is installed, date of installation: |
|  |  |  |  |  | is not installed |
| 50. | Hot water meters have been installed in the apartments | number: |  |  |  |
|  |  | in % of all apartments: |  |  |  |
| 51. | Cold water meters have been installed in the apartments | number: |  |  |  |
|  |  | in % of all apartments: |  |  |  |
| 52. | Other information |  |  |  |  |
| Tariffs and Collection of Payments |  |  |  |  |  |
| 53. | Thermal energy tariff at the moment of the performance of an audit (in LVL/MWh) |  |  |  |  |
| 54. | Principle for the distribution of expenses for heating |  |  | according to LVL/m2 |  |
|  |  |  |  | other variant (specify which) |  |
| 55. | Other information |  |  |  |  |

C Data regarding the Supply of Energy

| 56. | Thermal energy consumption for the heating of premises in the previous years |  |  | Calendar year | Consumption (MWh) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | 2007 |  |
|  |  |  |  | 2006 |  |
|  |  |  |  | 2005 |  |
|  |  |  |  | 2004 |  |
| 57. | Thermal energy supply for the preparation of hot water in the previous years |  |  | Calendar year | Consumption (MWh) |
|  |  |  |  | 2007 |  |
|  |  |  |  | 2006 |  |
|  |  |  |  | 2005 |  |
|  |  |  |  | 2004 |  |
| 58. | Electricity consumption in the premises for common use in the previous years |  |  | Calendar year | Consumption (MWh) |
|  |  |  |  | 2007 |  |
|  |  |  |  | 2006 |  |
|  |  |  |  | 2005 |  |
|  |  |  |  | 2004 |  |
| Other information |  |  |  |  |  |

Part 3 Energy Consumption of the Building and CO2 Emission

| 1. | Thermal energy consumption for the heating of premises in the previous period of heating | total (MWh) |  | year |  |
| --- | --- | --- | --- | --- | --- |
|  |  | specific (kWh/m2) |  |  |  |
| 2. | Thermal energy consumption for the preparation of hot water in the previous year | total (MWh) |  | year |  |
|  |  | specific (kWh/m2) |  |  |  |
| 3. | Electricity consumption in the premises for common use for the previous year | total (MWh) |  | year |  |
|  |  | specific (kWh/m2) |  |  |  |
| 4. | Amount of CO2 emission from the thermal energy consumption in the building - for a full previous year | type of heating fuel of a heat plant |  | year |  |
|  |  | total (tonnes) |  |  |  |
|  |  | specific (kg/m2) |  |  |  |
| 5. | Standardised thermal energy consumption for heating in the previous year (kWh/m2) |  |  | year |  |
| Definitions |  |  |  |  |  |
| 1. | Total consumption – the total consumption of a building for the whole previous year |  |  |  |  |
| 2. | Specific consumption – the total consumption, re-calculated per one square meter of the building’s area to be heated |  |  |  |  |
| 3. | Standardised thermal consumption – the total thermal consumption of a house, which has been re-calculated to the assumed standard year in accordance with Cabinet Regulation No, 376 of 23 August 2001, Regulations regarding the Latvian Construction Standard LBN 003-01 Construction Climatography (203 days in the heating season, +18oC in the apartments, the average air temperature - 0oC) |  |  |  |  |
| 4. | CO2 emission is especially dangerous for the ecosystem of the planet. The increased amount thereof in the atmosphere causes the reduction of the Ozone Layer and the greenhouse effect. It originates in the process of burning fossil fuel in the production of electricity and thermal energy. CO2 emission is the amount of CO2, the source of which is the heating energy consumption in your building. The unit of measurement of the amount of CO2 is kg/m2 per year |  |  |  |  |

Part 4 Expenses for Energy Resources

| Expenses |  | Tariff (LVL/MWh) | Tariff (LVL/m2 per month) |
| --- | --- | --- | --- |
| 1. | Heating |  |  |
| 2. | Hot water |  |  |
| 3. | Electricity |  |  |

Part 5 Photographic Documentation of the Survey of the Building (Thermogram)

Part 6 Proposal of the Renovation Project of the Building (recommended complex of measures)

| No. | Measure | Investment in LVL (1) | Energy and financial savings |  |  | Refund period | Priority of the performance of a measure* (5) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | kWh/m2 per year (2) | % from the existent heat consumption | (LVL/per year) (3) | years (4) |  |
| 1. |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |

Notes.

1. * - A group measures shall be indicated as the first, after that the - B and C group measures.

2. (1) – The total approximate price of the measures, on the basis of the estimate prepared and submitted by the contract holder, including VAT.

3. (2) – Savings, in comparison with the standard year (duration of the heating season – 203 days, the average air temperature in the heating season - 0°C). Actual savings depend upon the management of the heating system and the action of the users. If it shall be assumed that the base temperature inside (t = 18oC) does not change after the introduction of energy efficiency measures – the energy consumption deduction shall be less, if the temperature in the building increases.

4. (3) – The prognosis of the guaranteed savings, on the basis of the tariff of the previous season. If the heating tariff increases after the introduction of the energy efficiency measures, the actual saving shall be greater than the expected one.

5. (4) – Refund period shall be a period of time that is necessary so that the introduced energy efficiency measure would cover the capital investment.

6. (5) – Priority of the performance of measures: A – shall be carried out as soon as possible in order to reduce the danger, to stop damage or to achieve noticeable savings; B – shall be carried out within a few years (other damage is possible if carried out later); or C – shall be considered within a time period of the following 5-10 years.

Part 7 Energy Rating of the Building and the Prognosis for of the Change thereof

| Housing Agency | Heat consumption (kWh/m2 per year) | The present situation, standardised consumption per year (kWh/m2) | Prognosis after the implementation of the energy efficiency measure of priority A (kWh/m2 per year) | Prognosis after the implementation of the energy efficiency measures of priority A and B) (kWh/m2 per year) | Prognosis after the implementation of the energy efficiency measures of priority A, B and C (kWh/m2 per year) |
| --- | --- | --- | --- | --- | --- |
| A | <15 |  |  |  |  |
| B | 15–45 |  |  |  |  |
| C | 46–75 |  |  |  |  |
| D | 76–90 |  |  |  |  |
| E | 91–105 |  |  |  |  |
| F | 106–120 |  |  |  |  |
| G | 121–135 |  |  |  |  |
| H | 136–150 |  |  |  |  |
| I | 151–165 |  |  |  |  |
| J | 166–180 |  |  |  |  |
| K | 181–195 |  |  |  |  |
| L | 196–225 |  |  |  |  |
| M | 226– 270 |  |  |  |  |
| N | >270 |  |  |  |  |

Note.

Energy resource saving shall be forecasted in accordance with the proposals of the energy audit, energy plan division, and it shall be determined as the deduction of the standardised energy consumption in one multi-apartment house, which is measured as kWh/m2 per year and is assigned to the standard year with the duration of heating for 203 days, assuming that the average air temperature is 0oC and the temperature inside is + 18oC.

Minister for Economics 	K.Gerhards

Annex 4

Cabinet

Regulation No. 59

5 February 2008

Project Assessment Criteria for the Receipt of Co-financing for the Renovation of Multi-apartment Houses

| No. | Criterion | Maximum number of points |
| --- | --- | --- |
| 1. | Planned saving of energy and (or) heating fuel (MW/h on the area to be heated) (the energy of residential house to be assessed and (or) the saving of heating fuel in relation to the saving of such residential house, which participates in the evaluation in the relevant year and which has the greatest saving, multiplied by 50) | 50 |
| 2. | The amount of a debt in % to the providers of management and public utility service providers (up to 4% - 15 points, from 4 to 7% - 10 - points, from 7 to 10% - 5 points) | 15 |
|  | Total: | 65 |

Minister for Economics 	K.Gerhards