Republic of Latvia

Cabinet

Regulation No. 695

Adopted 29 August 2006

Regulations Regarding Permits for Increasing Electricity Production Capacities or the Introduction of New Production Equipment

Issued pursuant to

Section 22, Paragraph one of the

Electricity Market Law

1. These Regulations prescribe the requirements to be met so that an electricity producer (hereinafter – applicant) could receive a permit for increasing  electricity production capacities or the introduction of new production equipment (hereinafter – permit), as well as the procedures for the issuance, cancellation and extension of the permit validity period.

2. An applicant shall complete an application for the receipt of a permit for increasing electricity production capacities or the introduction of new production equipment (hereinafter – application) (Annex) and submit it to the ministry responsible for the energy sector (hereinafter – ministry). The following shall be appended to the application:

2.1. a copy of the applicant’s merchant’s registration certificate; and

2.2. a statement of the electricity system operator regarding the technical possibilities to accept the produced electricity in the system, to which it is intended to connect the increased or new capacity of electricity production.

3. The ministry shall, within one month, examine the submitted documents and take a decision regarding the issuance of a permit.

4. If it is not possible to take a decision regarding the issuance of a permit within one month due to objective reasons, the ministry shall extend the term for examination of the application in accordance with the procedures specified in the Administrative Procedure Law.

5. An applicant is entitled to make changes to the application until the taking of the decision. The applicant shall explain the necessary changes in free form and shall submit the explanation to the ministry together with the specified application.

6. If the information indicated in the submitted documents is incomplete or inaccurate, the ministry shall, not later than within 20 days after receipt of the application, inform the applicant regarding the detected deficiencies in accordance with the procedures specified in the Administrative Procedure Law and specify the deadline for the elimination of deficiencies.

7. If the applicant does not provide all the necessary information or documents within the term specified by the ministry, the ministry shall take a decision regarding refusal to grant a permit.

8. The Ministry shall cancel the issued permit if the applicant requests so or if he or she has terminated commercial activities.

9. The period of validity of a permit shall be:

9.1. three years if the ministry has allowed to introduce new electricity production equipment or to increase electricity production capacities by one megawatt or less; or

9.2. five years if the ministry has allowed to introduce new electricity production equipment or to increase electricity production capacities by more than one megawatt.

10. An applicant is entitled to request an extension of the validity period of a permit three months prior to the expiry date of the permit, providing information regarding the process of implementation of a project of increasing electricity production capacities or the introduction of new production equipment and a justification why it is not possible to implement the project within the term specified in the permit.

11. The ministry shall send the permits, in which it is allowed to introduce new electricity production equipment or to increase electricity production capacities by more than one megawatt, without delay to the Public Utilities Commission and the operator of the electricity transmission system.

12. The ministry shall aggregate the permits, in which it is allowed to introduce new electricity production equipment or to increase electricity production capacities by one megawatt or less, and once a year (by 31 March) shall send the aggregated information to the Public Utilities Commission and the operator of the electricity transmission system.

Prime Minister 					A. Kalvītis

Acting for the Minister for Economics –

Minister for Finance 					O. Spurdziņš

Annex

Cabinet Regulation

No. 695

29 August 2006

Application for the Receipt of Permit for 
Increasing Electricity Production Capacities or 
the Introduction of New Production Equipment

On the basis of Paragraph 2 of Cabinet Regulation No. 695 of 29 August 2006, Regulations Regarding Permits for Increasing Electricity Production Capacities or the Introduction of New Production Equipment,

|  | submits application |
| --- | --- |
| (firm name of the merchant) |  |

for the increase of electricity production capacities or the introduction of new production equipment.

1. Information regarding the applicant:

| 1.1. registration number in the Commercial Register |  |
| --- | --- |
| 1.2. legal address |  |
| 1.3. authorised person (given name, surname, position) |  |
| 1.4. telephone number of the authorised person |  |
| 1.5. fax number (if any) |  |
| 1.6. e-mail address (if any) |  |

2. Information regarding existing electricity production capacities, which it is intended to increase*:

| 2.1. address of the power plant |  |
| --- | --- |

2.2. system operator, to the system of which the power plant is connected

2.3. type of power plant (mark as appropriate with an x)

| Condensation power plant | Cogeneration power plant | Wind power plant | Hydroelectric power station | Power plant of a different type |
| --- | --- | --- | --- | --- |

If “power plant of a different type” is marked, indicate the type ______________________

2.4. operating data of the power plant in the preceding year:

2.4.1. the installed electricity production capacity __________MW

2.4.2. the produced amount of electricity _______________ MWh

2.4.3. the amount of electricity transferred into the network _______________ MWh

2.4.4. the type of the heating fuel used _______________________

2.4.5. the heating fuel consumption _________________________

(If a power plant uses several types of heating fuel, information regarding each type of heating fuel shall be provided)

2.4.6. ** the installed heat energy production capacity __________ MW

2.4.7. ** the amount of produced heat energy _______________ MWh

3. Information regarding the planned new electricity production equipment***:

3.1. type of power plant (mark as appropriate with an x)

| Condensation power plant | Cogeneration power plant | Wind power plant | Hydroelectric power station | Power plant of a different type |
| --- | --- | --- | --- | --- |

If “power plant of a different type” is marked, indicate the type ______________________

3.2. the planned location of the power plant:

3.2.1. administrative territory _______________________________________

3.2.2. address (if known) _________________________________________

3.3. system operator, to the system of which it is planned to connect the power plant

________________________________________________________________

3.4. the planned electricity production capacity to be installed __________MW

3.5. the planned amount of electricity production per year _______________ MWh

3.6. the planned amount of electricity transferred into the network per year _______________ MWh

3.7. the planned heating fuel and calorific value thereof ___________________

3.8. the planned consumption of heating fuel ____________________

(If it is planned to use several types of heating fuel in the power plant, information regarding each type of heating fuel shall be provided)

3.9. ** the planned heat energy production capacity _______________ MW

3.10. ** the planned amount of heat energy production _______________ MWh

| Authorised official of the merchant |  |
| --- | --- |
|  | (position, signature and full name) |

Date_____________________________

| Prepared by |  | Telephone |  |
| --- | --- | --- | --- |
|  | (signature and full name) |  |  |

Acting for the Minister for Economics –

Minister for Finance 					O. Spurdziņš

* To be completed if it is planned to increase the existing capacities.

** To be completed for cogeneration power plants.

*** To be completed only if it is intended to install new electricity production equipment.