Republic of Latvia

Cabinet

Regulation No. 1048

Adopted 16 December 2008

Regulations for the Supply and Use of Natural Gas

Issued pursuant to

Section 42.1, Paragraph one and

Section 42.3

of the Energy Law and

Section 22, Paragraph five of the Law On Regulators of Public Utilities

I. General Provisions

1. These Regulations prescribe:

1.1. the procedures by which the energy supply merchant (hereinafter – system operator) shall supply and the energy user (hereinafter – user) shall use natural gas, the responsibility of the user and the owner of a gasified object, as well as the procedures by which and the cases in which the system operator may discontinue the supply of natural gas to those users who have not paid for the received natural gas or have not fulfilled other obligations with respect to the system operator;

1.2. the procedures by which the system operator shall determine the actual amount of the consumed natural gas, as well as the amount of compensation and the procedures for calculation thereof, if the system operator establishes that the user has violated these Regulations or the contract regarding the supply of natural gas, and therefore the amount of consumption of natural gas registered has been reduced for the user or an opportunity to consume natural gas free of charge has been created; and

1.3. the amount of late payment interest which the user shall pay the system operator for each day of overdue payment.

2. Terms used in these Regulations:

2.1. permitted maximum consumption of natural gas per hour – the greatest consumption of natural gas that may be used by the user in accordance with the contract entered into by and between the system operator and the user regarding the supply of natural gas;

2.2. internal system of the natural gas supply – natural gas pipelines, locking devices, natural gas devices and equipment located in structures and buildings;

2.3. proprietary border of the natural gas supply system – the place of division of ownership and responsibility between the natural gas supply systems of the system operator and the user;

2.4. natural gas consumption meter – a settlement accounting meter with the maximum natural gas consumption measurement limit of up to 16 cubic metres per hour;

2.5. gasified object – a building, structure, apartment or premises, the internal system of the natural gas supply of which has been put into service and which has been connected to the natural gas supply system;

2.6. natural gas supply system of the user – the aggregate of natural gas pipelines, locking devices, gas devices, equipment and other technical installations arranged on the user’s side of the proprietary border for the supply of natural gas to the user;

2.7. settlement period – a period of time for which the payments are settled;

2.8. settlement accounting meter – a meter for the commercial accounting or a system of meters for the control and accounting for the commercial settlements of the amount of the natural gas consumed, load and natural gas parameters; and

2.9. normal cubic meter (nm3) – the amount of the consumed natural gas recorded with a settlement accounting meter that has been calculated in conformity with the specified parameters of the ground state of natural gas (temperature 20°C, pressure 1.01325 x 105 Pa).

3. Natural gas shall be supplied to the user in accordance with these Regulations and the contract entered into by and between the system operator and the user regarding the supply of natural gas. If a person, who uses natural gas, has not entered into the contract referred to, the system operator may discontinue the supply of natural gas without prior notification thereof.

4. Additional provisions and conditions, which are not referred to in these Regulations, may be included in the contract regarding the supply of natural gas upon the agreement of the parties.

5. Such place shall be determined as the proprietary border of the natural gas supply system in gasified objects, which is located immediately after the introductory locking device, if a border deed has not been attached to the contract, in which another proprietary border of the natural gas supply system is determined.

6. The user shall take a decision regarding the safety of the supply of natural gas necessary for him or her – if required, he or she shall use other fuel during the time of the interruption of the natural gas supply.

7. If a continuous supply of fuel is necessary in conformity with the technological process of the equipment of the user, the user shall use other fuel during interruption of the natural gas supply.

8. The maximum permitted consumption of natural gas per hour, exceeding the amount specified in the contract regarding the supply of natural gas, may be increased only with the permission of the system operator after relevant amendments to the referred to contract have been made.

9. The construction, reconstruction, repair and technical maintenance and servicing of the natural gas supply system of the user shall be financed by the user. The user shall be responsible for the safety of his or her own natural gas supply system and shall ensure the technical maintenance, servicing and repair of the natural gas networks and natural gas equipment in the ownership, possession or use thereof.

10. The system operator shall connect a new system of objects to be gasified to the natural gas supply system in accordance with the connection provisions approved by the Public Utilities Commission (hereinafter – regulator) after the user has entered into a contract for the connection of natural gas.

11. Upon the request of the user, the system operator shall advise the user regarding the installation, technical maintenance of the natural gas supply system, the accounting of natural gas, the settlement of payments for natural gas and the quality thereof.

II. Installation and Technical Maintenance of the Settlement Accounting Meters and Natural Gas Consumption Meters

12. In order to settle payments with the system operator for the natural gas supplied and received, all natural gas supply systems of the users shall be equipped with the settlement accounting meters or natural gas consumption meters.

13. The settlement accounting meters and natural gas consumption meters shall be the property of the user (this condition shall not apply to household users). The costs related to the purchase, installation, change, repair and maintenance of the settlement accounting meter and natural gas consumption meter shall be covered by the owners thereof.

14. The system operator has the right, at its own expense, to install a settlement accounting meter or a natural gas consumption meter for the user, as well as to equip the settlement accounting meter or natural gas consumption meter with a telemetric or telemechanic system for the automated remote reading of data and for the use of readings in commercial accounts for natural gas.

15. The settlement accounting meters and natural gas consumption meters shall be installed in accordance with the building design of the supply of natural gas or the conceptual design of technical solution.

16. Such settlement accounting meters and natural gas consumption meters shall be used for the accounting of the consumption of natural gas, which conform with the regulatory enactments regarding the metrological requirements for the means of measurement.

17. The settlement accounting meters and natural gas consumption meters shall be verified repeatedly during operation in accordance with the regulatory enactments regarding the procedures by which the type-approval, verification of the means of measurement and market supervision shall be performed (the periodicity of verification, which has been determined in the regulatory enactments regarding the list of the means of measurement subject to State metrological control, shall be observed).

18. If the natural gas supply system of the user is equipped with such a settlement accounting meter or natural gas consumption meter, which does not conform with the metrological requirements for the means of measurement specified in the regulatory enactments or with the requirements specified by the system operator, the system operator may calculate the amount of the used natural gas on the basis of the maximum consumption of natural gas per hour permitted for the user.

19. The user may request in writing from the system operator the inspection of the readings of the settlement accounting meter or natural gas consumption meter during the period of operation of the referred to devices. The system operator shall perform the relevant inspection at the inspection authority. The expenses related to the inspection shall be covered by the user. If damage has occurred to the settlement accounting meter or natural gas consumption meter due to the fault of the system operator, the expenses related to the inspection shall be covered by the system operator.

20. After the installation, repair or inspection, the settlement accounting meters or natural gas consumption meters shall be accepted into service in the presence of the user by the system operator or an authorised representative thereof. The system operator or an authorised representative thereof shall check the accuracy of installation and assembly, metrological documentation and notes of the referred to installations, shall seal the places of connection and shall draw up a deed thereof (this shall not apply to household users). The deed shall be signed by representatives of the user and the system operator.

21. The user is prohibited from interfering with the operation of the settlement accounting meter and natural gas consumption meter and the telemetric and telemechanic systems connected thereto.

22. The user shall inform the system operator within 24 hours (for example, by telephone, using the telephone numbers published by the system operator) regarding the faults detected in the operation of the settlement accounting meter or natural gas consumption meter.

23. The user may install the control equipment in his or her own natural gas supply system in addition to the settlement accounting meter or natural gas consumption meter. The control equipment shall be the property of the user and the installation thereof need not be co-ordinated with the system operator. The control equipment shall be installed in the natural gas supply system of the user, behind the settlement accounting meter or natural gas consumption meter.

24. The user shall co-ordinate the changes in the connection circuits of the settlement accounting meter or natural gas consumption meter and the change, relocation, repair and inspection of the referred to devices with the system operator.

25. If the user is using natural gas as fuel for road transport, a separate settlement accounting meter for such natural gas consumption shall be required. If the user has not installed a separate settlement accounting meter for the consumption of natural gas intended for road transport, the system operator may discontinue the supply of natural gas to the user without prior notification thereof.

III. Rights and Duties of a System Operator

26. In accordance with the contract regarding the supply of natural gas (hereinafter – contract), the system operator shall ensure the supply of natural gas to the user up to the proprietary border of the natural gas supply system.

27. The system operator shall supply natural gas in conformity with the amount specified in the contract. The permissible deviation in the amount of the supply of natural gas and quality parameters shall not differ from that specified in the contract.

28. In the cases referred to in Paragraph 43 of these Regulations, as well as if the natural gas supply is interrupted for longer than 24 hours and the user has been notified thereof, the system operator shall supply the unsupplied amount of natural gas to the user at any period of time acceptable for the user for the price that is effective on the day of supply. If the user has made a prepayment, the system operator shall repay the received prepayment, upon the written request of the user. If the supply of natural gas has been interrupted due to the fault of the system operator, the system operator shall cover the losses caused to the user according to the procedures specified in the contract.

29. The system operator shall examine the submission of the user regarding the interruptions of the natural gas supply or inappropriate quality thereof and shall, within 10 days, provide a written reply to the user.

30. The duty of the system operator is to renew the supply of natural gas in the shortest technically possible time.

31. The actual time period of the interruption of the natural gas supply shall be determined in conformity with the readings of the settlement accounting meters. The system operator and the user shall register the actual time period of the interruption of the supply of natural gas in the relevant documentation of the registration of submissions, indicating the reasons for the interruption of the supply of natural gas (this shall not apply to household users).

32. The system operator shall be responsible for the maintenance of a natural gas emergency service, the material and technical provision thereof and the development of a plan for the elimination of the consequences of an emergency situation (measures for the protection of human beings and the environment shall also be included), as well as for an operative elimination of the consequences of an emergency situation.

33. If the system operator determines non-compliance of the installation or operation of the natural gas supply system and natural gas equipment of the user with the requirements of the regulatory enactments determining the installation and operation of natural gas supply systems and equipment, it shall inform the owner of the relevant building (structure) or an authorised person thereof.

IV. Rights and Duties of a User

34. The owner of a building (structure) shall be responsible for the natural gas supply system existing in the relevant building (structure) and the operation thereof. The user shall be responsible for the natural gas supply system existing in his or her own property or use and the operation thereof.

35. If necessary, after the co-ordination with the system operator, the user may change the consumption mode of natural gas specified in the contract.

36. The user has the following duties:

36.1. to maintain the natural gas supply system of the user in running order and to ensure the technical maintenance thereof in accordance with LVS 445:2003/A1:2004 Operation and technical maintenance of natural gas distribution and consumer supply systems with max. operation pressure 1.6 MPa (16 bar);

36.2. to ensure the preservation of the installed settlement accounting meters, natural gas consumption meters, telemetric and telemechanic systems connected thereto and seals (seals may be only be removed by the system operator), as well as to notify the system operator regarding the damage observed to the settlement accounting meters, natural gas consumption meters, telemetric or telemechanic systems and seals within 24 hours;

36.3. to observe the consumption mode of natural gas as specified in the contract;

36.4. to ensure an access without hindrance for the authorised representatives of the system operator to the natural gas supply systems, settlement accounting meters and natural gas consumption meters of the users at any time of the day (the requirement regarding access at any time of the day shall not apply to household users), and to permit the installation of additional telemetric or telemechanic systems for the automated remote readings of the natural gas settlement accounting meter and meter;

36.5. to register the data regarding the amount of natural gas used according to the procedures specified in the contract and to notify the system operator thereof, as well as to settle payments within the time period and in the amount specified in the contract;

36.6. if a leakage of natural gas or an emergency situation has occurred in the natural gas supply of the user, to disconnect the damaged natural gas supply networks, installations and equipment of the user without delay and to inform the system operator thereof;

36.7. to co-ordinate with the system operator the disconnection, repair of the natural gas supply system (also the natural gas pipelines through which natural gas is supplied to other users) and connection thereof after the repair, as well as the connection of new natural gas supply systems;

36.8. to observe the limitations specified in the protective zones of the natural gas pipelines of the system operator or another user and to permit free access and arrival to them in order to repair, connect or disconnect the natural gas supply system or to carry out an examination thereof; and

36.9. to immediately notify the natural gas emergency service of the system operator regarding the interruption of the natural gas supply.

37. If natural gas of a non-conforming quality has been received, the user shall, without delay, but not later than within the relevant working day, inform the system operator thereof.

38. The user shall be responsible if the supply of natural gas to other users is impeded due to his or her fault.

39. The user has the following rights:

39.1. within one month to submit a complaint to the system operator regarding unjustified requests of the persons authorised by the system operator in the field of the use of natural gas and, within one month, to receive a reply regarding the submitted complaint;

39.2. to receive information at least 30 days in advance from the system operator regarding the natural gas tariffs and settlement of payments for natural gas; and

39.3. to receive information from the system operator regarding an unplanned interruption of the natural gas supply and the possible time for the renewal of the natural gas supply.

V. Discontinuance and Limitation of the Supply of Natural Gas

40. The system operator is entitled to immediately discontinue the supply of natural gas, if:

40.1. an emergency situation has occurred in the natural gas supply system and the user does not observe the specified restrictions of the consumption of natural gas or an energy crisis has been announced in accordance with the Energy Law;

40.2. the user has arbitrarily taken off or damaged the settlement accounting meters, natural gas consumption meters or seals, or the telemetric or telemechanic systems connected thereto;

40.3. the user has connected the natural gas equipment in an inappropriate place – it is located before the settlement accounting meter or natural gas consumption meter;

40.4. there is damage to the natural gas supply system of the user that may cause an emergency situation and accidents or may disturb the supply of natural gas to other users;

40.5. the user does not allow the representative of the system operator to control the operation of the natural gas supply system of the user and the operation of the settlement accounting meter or natural gas consumption meter; or

40.6. the user has arbitrarily connected to his or her own natural gas supply system a new natural gas supply system or natural gas device or equipment or the natural gas supply system, device and equipment of another user.

41. The system operator, by warning at least five working days in advance, may discontinue the supply of natural gas to the user in the following cases:

41.1. the specified time period of validity of the contract has not been extended;

41.2. the natural gas supply system of the user has been equipped with such settlement accounting meters or natural gas consumption meters, which do not conform with the metrological requirements specified in regulatory enactments or with technical requirements specified by the system operator; or

41.3. the user does not settle payments regarding the natural gas received within the specified time periods or has not paid the prepayment, if such has been specified for the user.

42. The system operator is not responsible for the interruption of the supply of natural gas, if it has been caused by the malfunction of the safety equipment of the natural gas supply system, the action or inaction of the user or third persons.

43. The system operator shall warn the user in writing regarding discontinuance of the supply of natural gas due to an urgent or planned disconnection of the natural gas supply systems not later than five working days in advance. If, within five working days after the announcement of the warning, the time of disconnection of the natural gas supply systems is not co-ordinated, the system operator shall determine this time independently (if possible, choosing such time when the user does not use natural gas) and shall notify the user thereof. The user shall be warned repeatedly regarding the time for the disconnection of the natural gas supply systems 24 hours prior to the disconnection of these systems (this shall not apply to household users).

44. In order to perform emergency measures for the elimination of an emergency situation and damage, the system operator has the right to disconnect the natural gas supply systems of the user. Prior to that, the system operator shall warn the user summarily, but afterwards shall notify the user regarding the reason for the interruption of the supply of natural gas.

45. The system operator shall not be responsible for the interruptions of the supply of natural gas and losses, which have occurred to the user due to the interruption of the supply of natural gas, if the system operator has discontinued the supply of natural gas to the user in accordance with Chapter V of these Regulations.

VI. Settlement of Payments for the Received Natural Gas

46. The user shall settle payments for the received natural gas in accordance with the contract and the procedures for the settlement of payments approved by the system operator. The procedures for the settlement of payments shall provide that the user shall read the readings of the settlement accounting meter and the natural gas consumption meter and notify them to the system operator. The procedures for the settlement of payments, as well as amendments thereto shall be published by the system operator in the newspaper Latvijas Vēstnesis [the official Gazette of the Government of Latvia] and on its Internet home page, not later than 30 days prior to the coming into effect thereof.

47. The system operator shall sell natural gas to the user for the tariffs that have been approved in accordance with the Law On Regulators of Public Utilities and the Energy Law.

48. The system operator is responsible for a correct application of the natural gas tariffs.

49. The system operator shall inform the user regarding the coming into effect of the natural gas tariffs not later than 30 days in advance. The system operator shall publish the natural gas tariff in the newspaper Latvijas Vēstnesis and on its Internet home page. This condition shall not apply to natural gas which is used as fuel for road transport.

50. If the natural gas tariff has changed and the user, according to the procedures specified by the system operator, after the coming into effect of the changes in the natural gas tariff, does not notify of the readings of the settlement accounting meters or natural gas consumption meters, the system operator may write out the payment documents in conformity with the new tariff.

51. The settlement of payments for the natural gas consumed in each gasified object shall be made by the user in accordance with the natural gas tariff. The natural gas tariff shall be determined for each gasified object individually. As regards several gasified objects of one user, which are interconnected with a single internal system of the natural gas supply of the relevant user and are located at one address, such natural gas tariff shall be applied in the settlement of payments, which has been determined according to the total consumption of natural gas of the relevant gasified objects.

52. As regards the merchant, whwich provides centralised heat supply services in the local government administrative territory, and it is certified by the relevant local government, such natural gas tariff shall be applied in the settlement of payments, which has been determined according to the total consumption of natural gas of the gasified objects of the heat supply merchant in the relevant local government administrative territory.

53. If the amount of the consumed natural gas of the user is accounted with the settlement accounting meter, the consumed amount of natural gas shall be determined in normal cubic metres. If the amount of the consumed natural gas of the user is accounted with the natural gas consumption meter, the consumed amount of natural gas shall be determined in cubic metres. The user shall settle payments in accordance with the readings of the settlement accounting meter or natural gas consumption meter.

54. In order to ensure a possibility to inspect the settlement accounting meters or natural gas consumption meters and equipment and to read the readings, the referred to devices shall be freely accessible, they shall not be blocked and it is prohibited to place objects on them.

55. If due to technical reasons the natural gas consumption meter or settlement accounting meter has not been installed on the proprietary border of the natural gas supply system, the loss of gas in the networks of natural gas (if such has arisen) from the proprietary border of the natural gas supply system up to the place of the installation of the natural gas consumption meter or settlement accounting meter shall be determined according to the following calculations:

55.1. if the settlement accounting meter or natural gas consumption meter has been installed on the side of the system operator before the proprietary border, the losses of natural gas, which have occurred in the section between the place of the installation of the settlement accounting meter or natural gas consumption meter and the proprietary border, shall be deducted from the amount of the natural gas supplied to the user; or

55.2. if the settlement accounting meter or natural gas consumption meter has been installed on the side of the user before the proprietary border, the losses of natural gas, which have occurred in the section between the place of the installation of the settlement accounting meter or natural gas consumption meter and the proprietary border, shall be added to the total amount of the natural gas supplied to the user.

56. If the system operator establishes a violation of these Regulations or the contract, due to which the amount of consumption of the natural gas registered for the user has been reduced or the opportunity of consuming natural gas free of charge has been created, the user shall pay the system operator for the natural gas used, as well as compensation.

57. The system operator shall calculate the amount of natural gas used as a result of the violation, taking into account the actual consumption of natural gas in a similar time period or on the basis of the maximum permitted consumption of natural gas per hour, if it is not possible to determine the actual amount of natural gas consumed in a similar time period (it shall not apply to household users).

58. The system operator shall determine the compensation provided for in Paragraph 56 of these Regulations by multiplying the amount of the calculated used natural gas with the tariff in double the extent of the amount.

59. If it is not possible to determine precisely from what period the amount of the natural gas consumption registered has been reduced or the opportunity to consume natural gas free of charge has been created, the date of the last check or installation of the settlement accounting meter or natural gas consumption meter (the period referred to shall not exceed two years) shall be considered as the beginning of the period.

60. If in accordance with the violation referred to in Paragraph 56 of these Regulations the natural gas supply of the user is discontinued, the natural gas supply shall be restored to the user after he or she has paid the system operator for the amount of the consumed natural gas calculated by the system operator and compensation, as well as the costs associated with the discontinuation and restoration of the natural gas supply.

61. If the settlement accounting meters or natural gas consumption meters have been damaged or disconnected in order to repair or inspect them, the amount of natural gas received daily shall be determined in conformity with the average load of the devices and equipment of natural gas in a similar period of time or shall be calculated in conformity with the permissible maximum consumption of natural gas per hour.

62. If natural gas is used illegally, as well as if the user repeatedly prevents the access to the settlement accounting meters or natural gas consumption meters, the system operator is entitled to request the user to make changes in the natural gas supply system or to relocate the settlement accounting meters or natural gas consumption meters to a place co-ordinated with the system operator.

63. The system operator is entitled to request the user to carry out partial settlement of payments, if it has been provided for in the contract.

64. If the user repeatedly delays the payments for the natural gas received, the system operator is entitled to determine an advance payment in the amount of the average payment per month.

65. The user shall pay the system operator late payment interest – 0.15% of the unpaid amount per day, for each day of overdue payment.

66. If a mistake has been detected in the payment documents or the reading of the settlement accounting meter or the natural gas consumption meter has been read incorrectly, the user shall notify the system operator thereof within 10 working days from the day of the occurrence of the mistake. The submission regarding the inspection of the settlement accounting meter or natural gas consumption meter or the mistake in the payment document shall not exempt the user from the duty to settle payments within the determined time period.

67. The system operator shall, within 10 working days after the receipt of a written submission of the user, inspect the calculations and, if necessary, also the readings of the settlement accounting meter or natural gas consumption meter. The user shall be notified of the results of the inspection.

68. If a mistake has been detected in the accounts or calculations for the received natural gas, the system operator shall make a recalculation for the last accounting period or time period, starting from the previous day of the inspection of the settlement accounting meter or natural gas consumption meter.

69. If the user has handed over the natural gas device or equipment to another person and has not informed the system operator thereof, the user shall be responsible for the payment of the received natural gas until the day when a contract with the new user has been entered into.

70. The system operator is entitled to make a recalculation of the received natural gas for the time period when the flow of natural gas is less than the least permissible measurement limit of the settlement accounting meter of the user (the lowest guaranteed measurement limit determined according to the meter passport), presuming that the amount of flow is equal to the lowest permissible measurement limit, if it has not been provided for otherwise in the contract.

71. The user is entitled to request interruption of the supply of natural gas for a time period not longer than two years, without suspending the validity of the contract. The expenses that are related to the interruption and restoration of the natural gas supply shall be covered by the user.

VII. Use of Natural Gas in Households

72. The household user and the owner of a gasified object shall observe the requirements of these Regulations, insofar as it is not specified otherwise in these Regulations.

73. The household user is permitted to use natural gas equipment (for example, for heating, for ventilation, for the heating of hot water, for the preparation of food and for road transport), if it has been installed in accordance with the building design or technical circuit of the supply of natural gas.

74. The owner of a building, flat or premises and the household user shall not be allowed to connect the natural gas supply system of another user to his or her own natural gas supply system or to interrupt the independent use of the natural gas, by disconnecting the natural gas equipment arbitrarily, without the permission of the system operator.

75. The household user shall be responsible for the correct and safe use of the natural gas equipment.

76. If the household user is a renter of the system of gasified objects, the user and the owner of the object shall be responsible for the observance of the requirements referred to in Paragraph 36 of these Regulations.

77. The responsible tenant, who is determined by the owner of the residential building or flat, shall settle payments for natural gas in shared flats where the consumption of natural gas is accounted by one natural gas consumption meter. The tenants shall mutually settle payments for the received natural gas in conformity with the procedures specified by the owner of the building or flat.

78. In order to install, change or control the settlement accounting meter or natural gas consumption meter, as well as the telemetric and telemechanic systems, and to read the readings, the representatives of the system operator have the right, by presenting a service identification document where such right is indicated, to access the natural gas supply system of the household user from 8 o’clock in the morning until 9 o’clock in the evening. The household user and the owner of the building shall ensure the access of the representatives of the system operator to the natural gas supply system in order to carry out the referred to works.

79. If it is impossible to access the natural gas supply system of the user at the time referred to in Paragraph 78 of these Regulations, upon the request of the system operator, the household user shall notify of the earliest possible time for the control, installation and change of the natural gas consumption meters or settlement accounting meters.

80. If it is impossible to access the natural gas supply system, natural gas consumption meter or settlement accounting meter of the household user or the household user has not notified of the possible day for the installation, change or control of the natural gas consumption meters or settlement accounting meters according to the procedures specified in Paragraph 79 of these Regulations, the system operator may discontinue the supply of natural gas to the relevant user, by warning the user in writing five days in advance, or may in future calculate the amount of natural gas consumed on the basis of the maximum possible consumption of natural gas per hour of the relevant equipment of the user or in accordance with the differentiated consumption norms specified according to the procedures for the settlement of payments specified by the system operator.

81. If the installation, repair or servicing of the settlement accounting meter or natural gas consumption meter due to the fault of the household user may not take place at the specified time, the household user shall cover the costs for the repeated visits of the system operator in order to ensure the installation, repair or servicing of the natural gas settlement accounting meter or natural gas consumption meter.

82. If the household user uses natural gas arbitrarily or hinders the representatives authorised by the system operator from accessing the natural gas supply system of the relevant user, the representatives authorised by the system operator have the right to request help from law enforcement institutions.

83. If an owner of a gasified object enters into a residential tenancy contract with a tenant, the owner of the gasified object shall inform the tenant that a contract should be entered into with the system operator within five working days.

84. The household user shall settle payments with the system operator for the relevant accounting period by the twelfth date of the following accounting period.

85. If payments for natural gas have not been made within 20 days from the period for the settlement of payments and if the household user has not paid the prepayment (if such has been specified), the system operator is entitled to discontinue the supply of natural gas to the household user, warning the user of this at least five days in advance.

86. The supply of natural gas shall be restored to the household user within five working days after the household user has completely paid for the natural gas consumed, the late-payment interest and has covered the costs for the disconnection and restoration of the supply of natural gas, calculated by the system operator.

87. The system operator shall calculate the amount of natural gas used as a result of the violation referred to in Paragraph 56 of these Regulations for the household user in accordance with the procedures for the settlement of payments approved by the system operator specified for the differentiated consumption norms of natural gas.

88. If the household user, when reading the readings of natural gas consumption, completing the payment documents and settling payments has made a mistake, the system operator shall make a recalculation in the following accounting period after receipt of a written submission from the household user.

89. All disagreements between the system operator and the household user regarding the payment debts for the natural gas used and other losses to the system operator related to the use of natural gas shall be settled by a court in accordance with the procedures specified by law.

90. The household user has the following duties:

90.1. within 20 working days after the end of the accounting period, to settle payments for natural gas in conformity with the procedures for the settlement of payments, approved by the system operator. The period for the settlement of payments shall be one calendar month;

90.2. to cover the costs that are related to the losses caused to the system operator, if the household user has made changes in the leads of the natural gas pipelines for the natural gas consumption meter or settlement accounting meter, or has damaged the referred to leads, natural gas consumption meter, settlement accounting meter or seals;

90.3. if the contract is terminated upon the initiative of the household user, to notify the system operator thereof 10 working days in advance and after the discontinuance of the use of natural gas – to settle payments for the received natural gas within five working days; and

90.4. if the household user (the owner of a gasified object) wishes to terminate the contract and discontinue the supply of natural gas to a gasified object, the household user (the owner of the gasified object) shall cover the costs related to the discontinuance of the supply of natural gas, which have occurred for the system operator.

91. The household user has the following rights:

91.1. to receive natural gas from the system operator in conformity with the contract;

91.2. to request from the system operator information regarding the payments performed, natural gas tariffs and settlement of payments for natural gas, as well as to inspect and compare the readings of the settlement accounting meter or natural gas consumption meter (the relevant household user does not have the right to request information regarding other household users);

91.3. to change the internal natural gas supply system of the household user, if a written consent from the owner of the residential building has been received and technical provisions for the natural gas supply of the system operator are not necessary for such change; and

91.4. to request from the system operator information regarding the unplanned interruptions of the natural gas supply and the restoration of the natural gas supply.

92. A system operator has the following duties:

92.1. to supply natural gas up to the proprietary border of the natural gas supply system;

92.2. within 10 working days after receipt of a submission of the household user regarding a mistake in the settlement of payments or incorrect reading or indication of natural gas consumption meter or settlement accounting meter, to inspect the calculations and, if necessary, also the readings of the natural gas consumption meter or settlement accounting meter. The household user shall be notified of the results of the inspection; and

92.3. at least five working days prior to the commencement of the repair of the natural gas networks, to warn the household user directly or through the owner of the building (a person authorised thereof) regarding the interruption of the supply of natural gas.

93. The system operator has the following rights:

93.1. to specify the average monthly amount of prepayment, if the household user does not observe the procedures for the settlement of payments approved by the system operator and does not perform payments on time for the natural gas received;

93.2. to discontinue the supply of natural gas to the household user if:

93.2.1. the natural gas equipment for the natural gas pipeline has been connected arbitrarily;

93.2.2. the household user has illegally used natural gas, damaged the natural gas consumption meter or settlement accounting meter, the telemetric or telemechanic systems connected thereto, the natural gas consumption meter, settlement accounting meter or the seals of the natural gas pipelines;

93.2.3. the household user has not provided the opportunity for the system operator to install a natural gas consumption meter or settlement accounting meter for the accounting of the received natural gas;

93.2.4. the technical state of the internal natural gas supply system may cause an emergency situation, explosion, fire or accident;

93.2.5. the household user with his or her own actions has repeatedly and deliberately prevented the activity and access of the representatives, authorised by the system operator, to the natural gas consumption meters or settlement accounting meters and the internal natural gas supply system in order to control the use of natural gas in the examination;

93.2.6. the household user does not fulfil the provisions of the contract;

93.3. to calculate the late-payment interest; and,

93.4. to unilaterally terminate the contract and to discontinue the supply of natural gas to the household user, if the household user has lost the property rights or rental rights of the gasified object.

94. The owner of a residential and non-residential building has the following duties:

94.1. to maintain in order the internal natural gas supply systems of the household user so that the household user would be able to receive natural gas continuously from the system operator;

94.2. to ensure periodical checks and cleaning of the ventilation systems and smoke flues of the gasified premises;

94.3. to maintain in order the entry compression of the engineering communications led into the cellars of the buildings and to ensure the ventilation of the cellars;

94.4. to immediately notify the natural gas emergency service of the system operator regarding a leak of natural gas and to ensure the admission of the employees of the natural gas emergency service of the system operator into the premises in order to eliminate the possible emergency situation; and

94.5. to immediately notify the system operator regarding the disconnection of the gasified objects from the natural gas supply or the lease thereof.

95. The owner of a residential or non-residential building has the following rights:

95.1. to request from the system operator information regarding the payments for the received natural gas of the household users located in the building, as well as the contracts entered into by them and the fulfilment of the contracts;

95.2. to request that the system operator discontinues the supply of natural gas, if a reconstruction or renovation of the internal natural gas pipeline systems of the building or of the building is carried out in conformity with the building design and the received building permit;

95.3. upon ensuring access to the natural gas supply system of the user, as well as the natural gas meter and the settlement accounting meter, to request that the system operator discontinues the supply of natural gas to the natural gas devices and equipment located in the building, if:

95.3.1. the installed natural gas equipment does not conform with the requirements of the construction standards and the technical state of the natural gas equipment does not conform with the requirements of the safety provisions; and,

95.3.2. the household user violates the provisions of the safe use of natural gas and this may cause an emergency situation and accidents involving humans.

VIII. Closing Provision

96. Cabinet Regulation No. 99 of 12 February 2008, Regulations for the Supply and Use of Natural Gas (Latvijas Vēstnesis, 2008, No. 26) is repealed.

Prime Minister 			I. Godmanis

Minister for Economics 		K. Gerhards